| NPRR Number | 1063 | NPRR Title | Dynamic Rating Transparency |
| --- | --- | --- | --- |
| Date Posted |  | January 25, 2021 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 3.10.8.4, ERCOT Responsibilities Related to Dynamic Ratings |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) requires ERCOT to post information related to Dynamic Rating requests and approvals to the Market Information System (MIS) Secure Area. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Dynamic Rating changes can have a significant impact on congestion costs. Posting the proposed information will increase transparency of these changes and thereby improve Market Participants’ ability to assess and hedge risk. |  |

| Sponsor |  |
| --- | --- |
| Name | Seth Cochran |
| E-mail Address | cochran@dc-energy.com |
| Company | DC Energy Texas |
| Phone Number | 512-971-8767 |
| Cell Number |  |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-Mail Address | Jordan.Troublefield@ercot.com |
| Phone Number | 512-248-6521 |

Market Rules Notes

None

Proposed Protocol Language Revision

3.10.8.4	ERCOT Responsibilities Related to Dynamic Ratings

(1)	ERCOT shall provide a system to accept and implement Dynamic Ratings or temperatures to be applied to rating tables for each hour in the Day-Ahead and in the Operating Hour.  ERCOT shall also:

(a)	Provide software and processes that allow secure access for TSPs and Market Participants and that maintains a log of data provided and the actions of the TSP and ERCOT, to implement the Dynamic Ratings as described above;

(b)	Use Dynamic Ratings for alarming, compliance with ERCOT and NERC requirements, and SCED purposes in both Real-Time operations and operational planning;

(c) 	Approve or reject the new Dynamic Rating request within 24 hours of receipt;

(d)       Post Dynamic Rating requests submitted through the NOMCR process on the MIS Secure Area within one Business Day.  The posting will include the Transmission Element name, new requested rating limits, and the requested effective date;

(e)       Post Dynamic Rating requests referenced in paragraph (d) above that are approved by ERCOT on the MIS Secure Area as soon as practicable.  The posting will include the Transmission Element name, new approved rating limits, and the planned effective date; and

(f)	Implement the approved Dynamic Rating automatically within 24 hours of approval.

(2)	ERCOT shall provide a system to implement Dynamic Ratings and to obtain monthly expected ambient air temperatures to be applied to rating tables for the CRR Network Models.  Temperatures applied to the rating tables shall be determined using the same method as described in item (3)(f) of Section 7.5.5.4, Simultaneous Feasibility Test.  Transmission Elements that have Dynamic Ratings implemented in the Network Operations Model must have Dynamic Ratings in the CRR Network Models.

(3)	ERCOT shall identify additional Transmission Elements that have a high probability of providing significant added economic efficiency to the ERCOT market through Dynamic Rating and request such Dynamic Ratings from the associated TSP.  ERCOT shall post annually the list of the Transmission Elements and identify if the TSP has agreed to provide the rating on the MIS Secure Area.