## Slide 1
Modeling of Unregistered Distribution Generation Data
Joel Koepke
Manager, Grid Coordination Support and Dev.
3/30/2021

## Slide 2: Unregistered Distribution Generation (UDG) Data at ERCOT
Fundamental Questions to Determine Modeling Approach:
  Which ERCOT systems need the data?
  How far in advance could this data realistically be provided?
  What is the best way to manage this data over time?
  How should the data be submitted and at what frequency?
  Where does similar data reside?

## Slide 3: Model Types at ERCOT
System can be represented by two model types
Operations Model
Additional detail
“Real-time” use cases
Necessary when incorporating telemetry
Planning Model
Reduced detail
“Future” use cases
Useful to envision potential changes

## Slide 4: Modeling Data Flow at ERCOT
Operations Data is Converted to the Planning Model
Changes < Year Out
Changes > Year Out
Energy Management System
Market Management System
Forecasting
SSWG Case Building
RPG and LTSA Activities

## Slide 5: Step 1 – Consistent Representation in the Planning Model
SSWG case building processes will be used to consistently represent UDG in the Planning model
SSWG Cases
UDG data will not be in the Operations model
Modeling changes will be submitted to update UDG representation

## Slide 6: Step 1 – Proposed Timeline
From ongoing discussions at SSWG:
In SSWG March meeting, SSWG agreed that it was possible to determine a consistent UDG modeling method that would be used by all TSPs moving forward.
Agreed upon method will be implemented in the 21SSWG Update 1 Build

## Slide 7: Step 2 - Data Submittals to the Operations Model
Data will be submitted into the Operations model via a standard processes
UDG MWs will be requested by fuel type and/or technology at the substation level

## Slide 8: Step 2 - Applying UDG MWs from Substation to Load
Operations-centric use cases require UDG MWs to be associated to the load transformers within substations.
UDG MWs will be assigned to loads based off of their modeled distribution factors

## Slide 9: Step 2 - UDG Representation in Planning Cases
UDG data will originate from the Operations Modeling Application
UDGs MWs will be aggregated and represented using generator models
Aggregations will be done based on fuel type and technical specifications
Generators will be connected via an equivalent impedance to the transmission-level POI
Operations data is translated into representative generator models

## Slide 10: Step 2 – Next Steps
Collect the UDG modeling information for Operations
Model UDG information in NMMS
Once the Topology Processor is updated to aggregate the UDG modeling for Planning:
  Coordinate with SSWG a transition timeframe so that TSP load forecasting methodologies can be updated to no longer reflect UDG information
  Determine the SSWG case that will reflect the aggregated UDG modeling