## Slide 1
Unregistered DG Workshop
Bill Blevins
Director Grid Coordination
02-12-2021

## Slide 2: Workshop Agenda
Introduction- Bill Blevins
Planning Data requirements – John Bernecker
Planning Model builds and Data Paths Joel Koepke
Operations Forecasting and data requirements – Jeff Billo
DER status and possible actions – Clayton Stice
Summary and Next steps – Bill Blevins

## Slide 3: Background for Distribution-Related Efforts
2012 Profile Working Group
  TDSPs to provide information on DG by ESIID
2015 DREAMTF Whitepaper* – Aimed at Market Participation
  http://www.ercot.com/content/wcm/key_documents_lists/72724/ERCOT_DER_Whitepaper_082015.doc
2017 ERCOT Reliability Impacts and Recommended Changes**
  DER Reliability Impacts (ercot.com)
2017 Resource Definition Task Force***
  Define and update ERCOT Resource Framework
2018-2019 Rules
  NPRR-866 Mapping SODG for Operations awareness and visibility**
  NPRR-917 SODG to receive Nodal pricing to align operation with Reliability signals**
  NPRR-891 Provide Annual summary of all DG in NOIEs to ERCOT**
  NPRR-889 Replace “non-modeled” term with Settlement Only***
  NPRR-957 Create Terms for Energy Storage Resources***
2019-2020 DGR workshops
  NPRR 1016/RRGRR-026/NOGRR-212 Create Rules for DGR/DESR*
  PGRR-082 Implement new “Small Generator” process for Resources
2021 TAC Winter Storm Issues

## Slide 4: Total Framework DER related activities
BESTF
DGR Workshops
NPRR 889
NPRR 866
NPRR 917
NPRR
891
DGR Workshops

## Slide 5: Workshop focus area
2015
2016
2017
2018
2019
2020
2021
2022
2023

## Slide 6: Workshop Purpose of discussions
Communicate and update ERCOT goals for Unregistered Distributed Generation (UDG) data collection
    ERCOT wants to avoid the planning and operational impacts from lack of information about the remaining DG growth which could result in:
    Planning studies and project recommendations being incorrect or unsure
    Operational decisions being too conservative (or not conservative enough)
    Situational Awareness issues for operators
  Step 1 Implement a common practice in the SSWG manual for handling UDG by Midyear 2021.
  Step 2 develop means to collect information for UDG information and use it in Operations and Planning processes and systems within ERCOT region.
  Step 3 provide the output of this information through ERCOT systems for use as needed.

## Slide 7: Workshop Next Steps
Collect input form TSPs
Report to TAC
Schedule future workshop
Develop approach to address Step 1 and Step 2 for ERCOT region related to UDG data collection and uses in Ops and Planning
Step 3 Develop means for providing the output of UDG collection from ERCOT systems as needed.