## Slide 1: Congestion Management Working Group
April 7, 2021

## Slide 2: NSA Active and NSA Inactive Constraints Reports, Post-NPRR 951 Implementation
As a follow-up to the CMWG discussion in December, ERCOT discussed the changes that could be made to the Network Security Analysis (NSA) reports
Background:
NPRR951 added MVA ratings and flows to the NSA Active and Inactive Constraints reports
The reports were updated during the system release on August 7
  Market Notice M-A072820-1 NPRR, issued July 28
The new values reflect the desired ask in NPRR951, but there is some ambiguity in these, and other, values, which could be cleaned up

## Slide 3: NSA Active and NSA Inactive Constraints Reports, Post-NPRR 951 Implementation
Potential Issues:
The SCED Rating in MW takes two things into account simultaneously
  MVA -> MW data conversion
  System Operator discount to the ratings being sent to SCED
  What can’t be seen is how much of the enforced MW limit is due to each of these items individually.
The Percent Violation column doesn’t specify what value that column is calculating
The column headings in the report do not clearly communicate the data contained within those columns
Proposed Changes:
1) Adding a Percent Violation column heading (adding %)
2) Splitting the SCED rating and MW column, which is a combination of the MW and the discount factor ERCOT operators apply

## Slide 4: NSA Active and NSA Inactive Constraints Reports, Post-NPRR 951 Implementation
Proposed Solution:
ERCOT can submit an internal Request for Change (RFC) to make the two proposed changes
WMS action is not required

## Slide 5: Next Meeting: April 19
NPRR 1063, Dynamic Rating Transparency
ETT CREZ Outages
TAC Action Item Assignment

## Slide 6: Questions?