## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: Jimmy Jackson, CPS
ROS
April 1st, 2021

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 03/10/2021
  ERCOT Reports
  Texas RE update
  February Cold Weather Event Discussion

## Slide 4: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 471 MW/0.1 Hz
IMFR Performance currently 1076.58 MW/0.1Hz

## Slide 5: Frequency Control Report
February 2021

## Slide 6: CPS1 Performance

## Slide 7: RMS1 Performance of ERCOT Frequency

## Slide 8: Frequency Profile Analysis

## Slide 9: Time Error Corrections

## Slide 10: ERCOT Total Energy
Notes: 28,982,244 MWh

## Slide 11: ERCOT Total Energy from Wind Generation
Notes: 5,999,684 MWh

## Slide 12: ERCOT % Energy from Wind Generation
Notes: 20.70%

## Slide 13: ERCOT Total Energy from Solar Generation
Notes: 660,966 MWh

## Slide 14: ERCOT % Energy from Solar Generation
Notes: 2.28%

## Slide 15
Questions?