## Sheet1
ERCOT Polled Settlement |  |  |  | Reason for Submittal
MDAS Configuration Form |  |  |  |  | Y / N
Version 6.1 3-31-2021 |  |  |  | New Installation
Form Completion Date |  |  |  | New Meter
TDSP Project Name |  |  |  | New Multiplier
TDSP Project # |  |  |  | New Phone #
Site Information: |  |  |  | New Password
TDSP |  |  |  | Other
Facility Name |  |  |  | If other, provide comments below
Unit or Load Name
The Unit or Load Name provided here should be identical to the name specified on the EPS Metering
Design Proposal Metering Facility Details form.
Meter Information
Serial Number |  |  | Comments
Primary/Backup/Only
# of Channels programmed in Meter
Device Type1
Device ID2
DST Option (Y/N)3
IP Address (if applicable)
Phone Number (including area code)
Line Sharing Device(Y/N)
If Yes - Port Number
Baud Rate
Read/Write Password
Read Only Password
Reader Password (if applicable)
Channel Information
Channel # | 1 | 2 | 3 | 4 | 57 | 67
Unit of Measure | kWh | kVARh | kVARh | kWh | kWh | kWh
Register ID4
Meter Multiplier
Pulse Multiplier
Number of Dials5
Flowing (Into or Out-Of) ERCOT6 | Out-Of | Out-Of | Into | Into | Out-Of | Out-Of
Legend
1 Spell out type & be specific; i.e. Schlumberger Q1000, ABB ION 8500, Siemens 2510, Transdata Mark V, .. Etc.
2 Unique meter number/unit ID programmed into the meter.
3 Does the meter automatically adjust the interval data and event timestamps for DST?
4 Register Identifier assigned during meter programming (May not be applicable to all manufacturers).
5 Number of digits (excluding decimal values) retrieved from the meter register. Used for rollover determination.
6 Does this channel record energy flowing into or out-of ERCOT.
7 Channel only used when a telemetry signal from the resource owner is provided to determine auxiliary Load.
For ERCOT Use Only
RID: __________________________________________________________________________________
Revisions to the EPS MDAS Configuration Form shall be made according to the approval process as prescribed in the Settlement Metering Guide Section 3.4, EPS Metering Facility Processes and Forms.