## Slide 1: DWG Report to ROS
ROS Meeting
April 1st, 2021

## Slide 2: DWG Update
DWG WebEx meeting held on 3/23/2021
2021 DWG Flatstart case has been posted
Subsequent Stability Book posting is changed to June 2021 for TSPs to include the latest UFLS survey data

## Slide 3: MOD-026/027 Update
Per Planning Guide and DWG Procedure Manual, a Resource Entity shall submit new or updated dynamic data within 30 days of the update
Per NERC MOD-26/27, Generator Owners need to verify the models and data and provide the data to its Transmission Planner
With support from TSPs, ERCOT tracks the MOD-026/27 verifications/updates and the corresponding RARF updates
For 2020 Q3 and Q4, only 4 out of 19 (21%) model updates were submitted to RARF/RIOO

## Slide 4: DWG Open Action Items
Inverter-Based Resource Issue 3, Voltage Ride-Through
  Waiting on IEEE P2800 standard draft development (expected end of 2021)
  Does ROS have any further direction to DWG in the meantime?
Inverter-Based Resource Issue 4, Dynamic Models
  Addressed with PGRR075 and PGRR085
  PGRR075 – dynamic model quality requirement
  PGRR085 – dynamic model improvements
Southern Cross Directives, Directive 9
  DWG completed the review of the Directive 9 assessment results. No further action is expected.