| Date: | April 6, 2021 |
| --- | --- |
| To: | Board of Directors |
| From: | Clif Lange, Technical Advisory Committee (TAC) Chair |
| Subject: | Non-Unanimous Revision Requests Recommended by TAC for Approval |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date: April 13, 2021 Item No.: 4.1

##### Issue: ##### Consideration of the following Revision Requests (Nodal Protocol Revision Request (NPRR) and Other Binding Document Revision Request (OBDRR)) recommended for approval by TAC (with opposing votes recorded): - NPRR1060, Improvements to ERS Testing Requirements and Other ERS Items; and - OBDRR027, Clarify Implementation Timeline for OBDRR023.

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote; (ii) for NPRRs, ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability; and (iii) ERCOT supports the revision request. - NPRR1060, Improvements to ERS Testing Requirements and Other ERS Items [ERCOT] Revision Description: This NPRR makes a number of revisions pertaining to Emergency Response Service (ERS), including: 1) Modifying and adding language related to the testing of ERS Resources, sites that participate in more than one ERS Resource, and availability determinations; 2) Simplifying the process for notifying ERCOT of planned maintenance and self-testing for ERS Generators, in order to align the process with requirements for ERS Loads; 3) Clarifying language related to metering requirements for ERS Generators; 4) Clarifying language related to the performance of co-located ERS Generators; and 5) Adding language to address how ERCOT will treat ERS Resources with missing meter data for purposes of availability calculations. Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. TAC Decision: On 3/24/21, TAC voted via roll call to recommend approval of NPRR1060 as recommended by PRS in the 3/11/21 PRS Report. There was one opposing vote from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. - OBDRR027, Clarify Implementation Timeline for OBDRR023 [ERCOT] Revision Description: This OBDRR clarifies the implementation timeline for OBDRR023, Related to NPRR984, Change ERS Standard Contract Terms. As originally approved, the effective date for OBDRR023 was stated as “February 1, 2021 and upon system implementation of NPRR984.” NPRR984 will be implemented on October 1, 2021; accordingly, the effective date stated in OBDRR023 lacked clarity as it referenced two different dates. This clarifies that OBDRR023 will be implemented over two separate dates: a partial implementation on February 1, 2021, and implementation of the remaining language on October 1, 2021. Additionally, this OBDRR further clarifies that the footnote added by OBDRR023 in Section E, ERS Expenditure Limit, which is applicable only to the 2021 Emergency Reserve Service (ERS) budget year, will be deleted as of December 1, 2021, the start of the 2022 ERS budget year. Proposed Effective Date: April 16, 2021 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. TAC Decision: On 3/24/21, TAC voted via roll call to recommend approval of OBDRR027 as submitted, and the Impact Analysis for OBDRR027. There was one opposing vote from the IPM (Morgan Stanley) Market Segment. The TAC Reports and Impact Analyses for these Revision Requests are included in the ERCOT Board meeting materials. In addition, these Revision Requests (NPRR and OBDRR) and supporting materials are posted on the ERCOT website.

##### Key Factors Influencing Issue: The PRS discussed the issues, and submitted a report to TAC regarding NPRR1060. The TAC discussed the issues and recommended approval of OBDRR027.

##### Conclusion/Recommendation: As more specifically described above, TAC recommends that the ERCOT Board approve NPRR1060 and OBDRR027.

ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

BOARD OF DIRECTORS RESOLUTION

WHEREAS, after due consideration of the alternatives, the Board of Directors (Board) of Electric Reliability Council of Texas, Inc. (ERCOT) deems it desirable and in the best interest of ERCOT to approve the following Nodal Protocol Revision Requests (NPRR) and Other Binding Document Revision Request (OBDRR) recommended for approval by TAC:

- NPRR1060, Improvements to ERS Testing Requirements and Other ERS Items; and

- OBDRR027, Clarify Implementation Timeline for OBDRR023.

THEREFORE, BE IT RESOLVED, that the ERCOT Board hereby approves NPRR1060 and OBDRR027.

CORPORATE SECRETARY’S CERTIFICATE

I, Vickie G. Leady, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its April 13, 2021 urgent meeting by teleconference, the ERCOT Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ___ day of April 2021.

______________________________

Vickie G. Leady

Assistant Corporate Secretary