## Slide 1
<number>
Profiling Working Group
Update to RMS
April 4, 2021
Leadership: Sam Pak (Oncor)
Sheri Wiegand (TXU)
Notes: <number>

## Slide 2: Discussion Topics
Transition Planning for LPGRR068, Add BUSLRG and BUSLRGDG Profile Types
  To allow for market readiness, implementation to occur no earlier than February 1, 2022
  SMT impacts of new BUSLRG and BUSLRGDG profiles are being evaluated. Working closely in coordination with JDOA and SMT on impact assessments.
  Potential AMS/IDR Workshop in Fall of 2021
  TDSPs have provided updates to the AMS/IDR Matrix on transition planning and data accessibility
<number>

## Slide 3: AMS/IDR Matrix Update Question 14
<number>
14. Transition Plan to move existing eligible BUSHI/MED/LO/IDRRQ to BUSLRG profile once available |  |  | 
ONCOR | CNP | AEP | TNMP
Oncor plans to transition all applicable BUSIDRRQ to a respective BUSHI/MED/LO profile during 2021. Once BUSLRG is available all respective ESIs will transition to BUSLRG within 1-2 meter cycles on cycle date. | Not applicable at this time due to billing determinant requirements | Prior to BUSLRG availability, AEP will transition BUSIDRRQ to applicable BUSHI/MED/LO load profile based on the LPG Profile Decision Tree. Once BUSLRG is available all respective ESIs will transition to BUSLRG within 1-2 meter cycles on the cycle date. | TNMP does not plan to transition to BUSHI/MED/LO profiles and will transition from BUSIDRRQ to BUSLRG within 1-2 meter cycles on cycle date.

## Slide 4: AMS/IDR Matrix Update Question 15
<number>
15. ACCESS TO INTERVAL DATA REP of Record/Non-REP of Record/3rd parties–registered brokers/aggregators |  |  | 
ONCOR | CNP | AEP | TNMP
Internal project to allow all parties access to BUSLRG profiled ESIs interval data via CRIP For non-ROR, LOA is required for authorization to download data Oncor project is planned for an EOY (2021) implementation | Existing process will continue: email requests to Usage.Req@centerpointenergy.com LOA remains a requirement for authorization to access data for non-ROR requests | For Non-ROR & 3rd Parties: IDR interval data is available via AEP Usage Hub (Non-Residential Historical Usage Portal) utilizing electronic LOA request method. For ROR: IDR interval data is available via 867_03IDR transaction and AEP Usage Hub. | For Non-ROR & 3rd Parties, interval data will be available through TNMP portal utilizing electronic LOA method. For ROR, interval data will be made available through TNMP portal and 867_03 transaction. Regardless of meter type (AMS or IDR), interval data will be provided via Portal LOA remains a requirement for authorization to access data for non-ROR requests

## Slide 5: 2021 RES Annual Validation
<number>

## Slide 6: 2021 BUS Annual Validation
<number>

## Slide 7: Next PWG Meeting
<number>
Next PWG meeting:
May 12, 2021 @ 9:30 AM
Agenda Items:
  Annual Validation Updates
  Items related to LPGRR068, Add BUSLRG and BUSLRGDG Profile Types:
    SMT Impacts
    Future Market Workshop
  2020 UFE Analysis Report Review
PWG Meeting Page:
http://www.ercot.com/committee/pwg