Board Report

	NOGRR Number
	219
	NOGRR Title
	Related to NPRR1045, Transmission Operator Definition and Designation

	Date of Decision
	April 13, 2021

	Action
	Approved

	Timeline 
	Normal

	Effective Date
	May 1, 2021 (Section 1.4, Definitions) 

Upon system implementation (remaining language)

	Priority and Rank Assigned
	Not applicable

	Nodal Operating Guide Sections Requiring Revision 
	1.3.1, Introduction

1.4, Definitions

4.5.3.4, Load Shed Obligation

	Related Documents Requiring Revision/Related Revision Requests
	Nodal Protocol Revision Request (NPRR) 1045, Transmission Operator Definition and Designation

Transmission Operator Designation Form

	Revision Description
	This Nodal Operating Guide Revision Request (NOGRR) removes the definition of Transmission Operator (TO) from the Nodal Operating Guide because it is being moved to the ERCOT Protocols by NPRR1045.  This NOGRR also clarifies existing language relating to Load shed obligations and removes the Load Shed Table from the Nodal Operating Guide.  Instead, the Load Shed Table will be posted on the ERCOT website.  

	Reason for Revision
	[image: image1.wmf]

X

  Addresses current operational issues.

[image: image2.wmf]

  Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board).

[image: image3.wmf]

  Market efficiencies or enhancements

[image: image4.wmf]

  Administrative

[image: image5.wmf]

  Regulatory requirements

[image: image6.wmf]

  Other:  (explain)

(please select all that apply)

	Business Case
	The definition of TO, obligation to designate a TO, and the process and requirements relating to the designation of a TO are more appropriately located in the ERCOT Protocols, which address responsibilities relating to registration.  

This NOGRR would require that ERCOT post the Load Shed Table on the ERCOT website and deletes the Load Shed Table from the Nodal Operating Guide because the need to submit a NOGRR to amend the Load Shed Table creates unnecessary delay in ERCOT’s ability to maintain the Load Shed Table in accordance with changes that are submitted regarding TO designations.  This NOGRR also requires ERCOT to issue a Market Notice when it updates the Load Shed Table based on its annual review of TO Load shed responsibilities and when it receives a properly completed TO designation form that will result in changes to the Load Shed Table.  

	ROS Decision
	On 10/8/20, ROS unanimously voted via roll call to table NOGRR219 and refer the issue to OWG.  All Market Segments were participated in the vote.

On 1/7/21, ROS unanimously voted via roll call to recommend approval of NOGRR219 as amended by the 12/16/20 ERCOT comments.  All Market Segments participated in the vote.

On 2/4/21, ROS unanimously voted via roll call to endorse and forward to TAC the 1/7/21 ROS Report and the Impact Analysis for NOGRR219.  All Market Segments participated in the vote.

	Summary of ROS Discussion
	On 10/8/20, there was no discussion.

On 1/7/21, there was no discussion.

On 2/4/21, there was no discussion.

	TAC Decision
	On 3/24/21, TAC unanimously voted via roll call to recommend approval of NOGRR219 as recommended by ROS in the 2/4/21 ROS Report with a recommended effective date of 5/1/21 for language in Section 1.4, and upon system implementation for all remaining language.  All Market Segments participated in the vote.

	Summary of TAC Discussion
	On 3/24/21, participants acknowledged the need for the removal of the TO definition from Section 1.4 to correspond with implementation of NPRR1045 in order to prevent conflicting definitions between the Protocols and Nodal Operating Guide.

	ERCOT Opinion
	ERCOT supports approval of NOGRR219.

	Board Decision
	On 4/13/21, the ERCOT Board approved NOGRR219 as recommended by TAC in the 3/24/21 TAC Report.


	Sponsor

	Name
	Douglas Fohn

	E-mail Address
	Douglas.Fohn@ercot.com 

	Company
	ERCOT

	Phone Number
	512-275-7447

	Cell Number
	

	Market Segment
	Not Applicable


	Market Rules Staff Contact

	Name
	Phillip Bracy

	E-Mail Address
	Phillip.Bracy@ercot.com

	Phone Number
	512-248-6917


	Comments Received

	Comment Author
	Comment Summary

	ERCOT 121620
	Modified the deadline for Market Notices related to Load Shed Table revisions as proposed in paragraph (3) of Section 4.5.3.4

	ERCOT 031521
	Requested bifurcated implementation for NOGRR219


	Market Rules Notes


Please note that the baseline language in Section 4.5.3.4 has been updated to reflect the incorporation of the following NOGRRs into the Nodal Operating Guide:
· NOGRR222, Administrative Changes for February 1, 2021 Nodal Operating Guide – Load Shed Table (incorporated 2/1/21)

· NOGRR224, Administrative Changes for March 1, 2021 Nodal Operating Guide – Load Shed Table (incorporated 3/1/21)
	Proposed Guide Language Revision


1.3.1
Introduction

(1)
A request to make additions, edits, deletions, revisions, or clarifications to these Operating Guides, including any attachments and exhibits to these Operating Guides, is called a Nodal Operating Guide Revision Request (NOGRR).  Except as specifically provided in other sections of these Operating Guides, Section 1.3, Process for Nodal Operating Guide Revision, shall be followed for all NOGRRs.  ERCOT Members, Market Participants, Public Utility Commission of Texas (PUCT) Staff, the Reliability Monitor, the North American Electric Reliability Corporation (NERC) Regional Entity, the Independent Market Monitor (IMM), ERCOT, and any other Entities are required to utilize the process described herein prior to requesting, through the PUCT or other Governmental Authority, that ERCOT make a change to these Operating Guides, except for good cause shown to the PUCT or other Governmental Authority.

(2)
The “next regularly scheduled meeting” of the Reliability and Operations Subcommittee (ROS), the Technical Advisory Committee (TAC), or ERCOT Board shall mean the next regularly scheduled meeting for which required Notice can be timely given regarding the item(s) to be addressed, as specified in the appropriate ERCOT Board or committee procedures.
(3)
The ROS shall ensure that the Operating Guides are compliant with the ERCOT Protocols.  As such, the ROS will monitor all changes to the ERCOT Protocols and initiate any NOGRRs necessary to bring the Operating Guides in conformance with the ERCOT Protocols.  The ROS will also initiate a Nodal Protocol Revision Request (NPRR) if such a change is necessary to accommodate a proposed NOGRR prior to proceeding with that NOGRR.
(4)
Throughout the Operating Guides, references are made to the ERCOT Protocols.  ERCOT Protocols supersede the Operating Guides and any NOGRR must be compliant with the Protocols.  The ERCOT Protocols are subject to the revision process outlined in Protocol Section 21, Revision Request Process.

(5)
ERCOT may make non-substantive corrections at any time during the processing of a particular NOGRR.  Under certain circumstances, however, the Operating Guides can also be revised by ERCOT rather than using the NOGRR process outlined in Section 1.3.

(a)
This type of revision is referred to as an “Administrative NOGRR” or “Administrative Changes” and shall consist of non-substantive corrections, such as typos (excluding grammatical changes), internal references (including table of contents), improper use of acronyms, references to ERCOT Protocols, PUCT Substantive Rules, the Public Utility Regulatory Act (PURA), NERC regulations, Federal Energy Regulatory Commission (FERC) rules, etc., and revisions for the purpose of maintaining consistency between Section 1.3 and Protocol Section 21.  
(b)
ERCOT shall post such Administrative NOGRRs to the ERCOT website and distribute the NOGRR to ROS at least ten Business Days before implementation.  If no Entity submits comments to the Administrative NOGRR in accordance with paragraph (2) of Section 1.3.3.3, ROS Review and Action, ERCOT shall implement it according to paragraph (4) of Section 1.3.5, Nodal Operating Guide Revision Implementation.  If any ERCOT Member, Market Participant, PUCT Staff, the Reliability Monitor, the NERC Regional Entity, the IMM, or ERCOT submits comments to the Administrative NOGRR, then it shall be processed in accordance with the NOGRR process outlined in Section 1.3. 
(6)
ERCOT may make modifications to the Operating Guides for the purpose of maintaining duplicate language between the Protocols and the related sections of the Operating Guides.

(a)
This type of revision is referred to as an “Alignment NOGRR” and shall consist of changes to align language in the Protocols with related language in the Operating Guides.  The following Operating Guide sections may only be modified by an Alignment NOGRR: 

(i)
Section 4.5.3.3, EEA Levels. 
(b)
ERCOT shall post Alignment NOGRRs to the ERCOT website and distribute the Alignment NOGRR to ROS within five Business Days of ERCOT Board approval of the related Nodal Protocol Revision Request (NPRR).  Alignment NOGRRs shall be implemented according to paragraph (5) of Section 1.3.5, rather than using the NOGRR process outlined in Section 1.3, and are exempt from the NOGRR comment process described in paragraph (2) of Section 1.3.3.3.
1.4
Definitions 



	




4.5.3.4
Load Shed Obligation

(1)
Each TO shall take and direct actions to ensure that ERCOT Load shed instructions are effectuated.  Each DSP shall comply with any reasonable instruction given by its TO to effectuate Load shed obligations.   
(2)
Percentages for Level 3 Load shedding will be based on the previous year’s TSP peak Loads, as reported to ERCOT, and will be reviewed by ERCOT and revised annually or as otherwise appropriate to reflect any new or changed TO designation.  ERCOT shall maintain a Load Shed Table posted on the ERCOT website that reflects each TO’s total Load shed obligation.
(3)
Following ERCOT’s annual peak Load review or ERCOT’s receipt of any new or changed TO designation, ERCOT shall post any anticipated revisions to the Load Shed Table on the ERCOT website.  ERCOT shall issue a Market Notice announcing the posting of the  revisions at least ten  days prior to the effective date of the revisions or as soon as practicable if ERCOT determines there is a need to correct the Market Notice less than ten days before the effective date.

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	


* Lamar County Electric Cooperative is a registered TO not on the ERCOT Hotline.  City of Garland receives all their calls.





219NOGRR-13 Board Report 041321
Page 3 of 7
PUBLIC


_1674366954.unknown

_1674366955.unknown

_1674366952.unknown

_1674366953.unknown

_1674366951.unknown

_1674366950.unknown

