APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, March 4, 2021 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Cochran, Seth | DC Energy |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Farhangi, Anoush | Demand Control 2 |  |
| Goff, Eric | OPUC | Alt. Rep. for Shawnee Claiborn-Pinto |
| Greer, Clayton | Morgan Stanley |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Marr, Daniel | LCRA |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Simpson, Lori | Exelon |  |
| Smith, Chase | Southern Power Co |  |
| Staples, Boone | Tenaska Power Services |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

The following proxy was assigned:

- Resmi Surendran to Seth Cochran

| - Guests: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Albers, David | Brazos Electric Cooperative |  |  |  |  |
| Alford, Anthony | CenterPoint Energy |  |  |  |  |
| Ainspan, Malcolm | NRG |  |  |  |  |
| Beckman, Dwight | Brazos Electric Cooperative |  |  |  |  |
| Bell, Brad | Solar Proponent |  |  |  |  |
| Benson, Mariah | PUCT |  |  |  |  |
| Blakey, Eric | Just Energy |  |  |  |  |
| Brandin, Samuel | Able Grid Energy |  |  |  |  |
| Burke, Tom | Invenergy |  |  |  |  |
| Burnett, Ben | CenterPoint Energy |  |  |  |  |
| Chatlani, Varsha | Boston Energy |  |  |  |  |
| Cook, Tim | CTT |  |  |  |  |
| Cortinas, Cesar | Brownsville PUB |  |  |  |  |
| Coultas, Ann | Enel |  |  |  |  |
| Cripe, Ramsey | Schneider Engineering |  |  |  |  |
| Danielson, Christian | EPE Consulting |  |  |  |  |
| Detelich, David | CPS Energy |  |  |  |  |
| Dewitt, Charles | PEC |  |  |  |  |
| DiPastena, Philip | DME |  |  |  |  |
| Donohoo, Kenneth | EPE Consulting |  |  |  |  |
| Downey, Marty | Jupiter Power |  |  |  |  |
| Farris, Wes | NRG |  |  |  |  |
| Floyd, Rickey | Oncor |  |  |  |  |
| Galliguez, Percy | Brazos Electric Cooperative |  |  |  |  |
| Greaff, Venona | Oxy |  |  |  |  |
| Gross, Blake | AEP |  |  |  |  |
| Guo, Chenyan | Lone Star Transmission |  |  |  |  |
| Hanson, Kevin | National Grid |  |  |  |  |
| Hayden, Mario | Enel Green Power |  |  |  |  |
| Haymann, Andrew | LCRA TSC |  |  |  |  |
| Henry, Mark | Texas Reliability Entity |  |  |  |  |
| Henson, Martha | Oncor |  |  |  |  |
| Hithersay, Brian | BEPC |  |  |  |  |
| Hua, Ling | Clearway Energy |  |  |  |  |
| Huynh, Thuy | Potomac Economics |  |  |  |  |
| Jablonski, Edward | LCRA |  |  |  |  |
| Jackson, Jimmy | CPS Energy |  |  |  |  |
| Jewell, Michael | Jewell and Associates |  |  |  |  |
| Johnson, Anthony | CenterPoint Energy |  |  |  |  |
| Jolly, Emily | LCRA |  |  |  |  |
| Jung, Sam | Oncor |  |  |  |  |
| Karlik, John | Austin Energy |  |  |  |  |
| Khan, Naved | LCRA |  |  |  |  |
| Lewis, Peter | LCRA |  |  |  |  |
| Keenan, Matthew | Enel |  |  |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |  |  |  |
| Kota, Naga | National Grid Renewables |  |  |  |  |
| KPRCTV |  |  |  |  |  |
| KSAT News |  |  |  |  |  |
| Lee, Jim | AEP |  |  |  |  |
| Martin, Collin | Oncor |  |  |  |  |
| Mathew, Biju | LCRA |  |  |  |  |
| Mathew, Shirley | Austin Energy |  |  |  |  |
| McCamant, Frank | McCamant Consulting |  |  |  |  |
| Mercado, David | CenterPoint Energy |  |  |  |  |
| Miller, Alexandra | EDF Renewables |  |  |  |  |
| Morris, Sandy | Customized Energy Solutions |  |  |  |  |
| Mulholland, Chad | NRG |  |  |  |  |
| Nagarajan, Ramya | CTT |  |  |  |  |
| Narvarte, John | NBU |  |  |  |  |
| Oberski, Nicholas | LCRA |  |  |  |  |
| O’Shea, Monika | Woodmac |  |  |  |  |
| Pappu, Ajay | Invenergy |  |  |  |  |
| Penney, David | Texas Reliability Entity |  |  |  |  |
| Powell, Christian | PEC |  |  |  |  |
| Preas, Dylan | LCRA |  |  |  |  |
| Pressler, Glenn | CPS Energy |  |  |  |  |
| Price, Chris | 61 Commoodities |  |  |  |  |
| Pyka, Greg | Schneider Engineering |  |  |  |  |
| Rainwater, Kim | LCRA |  |  |  |  |
| Ranaweera, Aruna | Hecate Energy |  |  |  |  |
| Reid, Walter | Advanced Power Alliance |  |  |  |  |
| Roberts, Vincent | TNMP |  |  |  |  |
| Roth, Werner | PUCT |  |  |  |  |
| Sams, Bryan | Calpine |  |  |  |  |
| Sandidge, Clint | Calpine Solutions |  |  |  |  |
| Sauter, Megan | Oncor |  |  |  |  |
| Schwarz, Brad | Sharyland |  |  |  |  |
| Shumate, Walt |  |  |  |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |  |  |  |
| Smith, Caitlin | AB Power Advisors |  |  |  |  |
| Snyder, John | Clearway Energy |  |  |  |  |
| Turner, Mina | AEP |  |  |  |  |
| STEC |  |  |  |  |  |
| Varnell, John | Tenaska |  |  |  |  |
| Velasquez, Ivan | Oncor |  |  |  |  |
| Walke, Pranil | Calpine |  |  |  |  |
| Weldy, Christopher | Oncor |  |  |  |  |
| White, Lauri | AEP Texas |  |  |  |  |
| Williams, Scot | Oncor |  |  |  |  |
| Williams, Wes | BTU |  |  |  |  |
| Wittmeyer, Bob | Longhorn Power |  |  |  |  |
| Woods, Brad | Texas Reliability Entity |  |  |  |  |
| Yater, J-M | CenterPoint Energy |  |  |  |  |
| Yu, Joel | Enchanted Rock |  |  |  |  |
| ERCOT Staff: |  |  |  |  |  |
| Albracht, Brittney |  |  |  |  |  |
| Anderson, Connor |  |  |  |  |  |
| Anderson, Troy |  |  |  |  |  |
| Bernecker, John |  |  |  |  |  |
| Billo, Jeff |  |  |  |  |  |
| Blevins, Bill |  |  |  |  |  |
| Boren, Ann |  |  |  |  |  |
| Bracy, Phil |  |  |  |  |  |
| Butler, Luke |  |  |  |  |  |
| Chen, Jian |  |  |  |  |  |
| Cheng, Yong |  |  |  |  |  |
| Clifton, Suzy |  |  |  |  |  |
| Daryabak, Mehdi |  |  |  |  |  |
| Du, Pengwei |  |  |  |  |  |
| Garcia, Freddy |  |  |  |  |  |
| Gnanam, Prabhu |  |  |  |  |  |
| Han, Minnie |  |  |  |  |  |
| Hartmann, Jimmy |  |  |  |  |  |
| Huang, Fred |  |  |  |  |  |
| Jenkins, Darrell |  |  |  |  |  |
| Jones, Dan |  |  |  |  |  |
| Jowlabar, Nicholas |  |  |  |  |  |
| Kadel, Nemica |  |  |  |  |  |
| Kane, Erika |  |  |  |  |  |
| Khodabakhsh, Fred |  |  |  |  |  |
| Lee, Alex |  |  |  |  |  |
| Maggio, Dave |  |  |  |  |  |
| Mago, Nitika |  |  |  |  |  |
| Matlock, Robert |  |  |  |  |  |
| Meier, Eric |  |  |  |  |  |
| Miller, Megan |  |  |  |  |  |
| Mohanadha,Thinesh Devadhas |  |  |  |  |  |
| Martinez, Adam |  |  |  |  |  |
| Meier, Eric |  |  |  |  |  |
| Ngai, Chris |  |  |  |  |  |
| Phillips, Cory |  |  |  |  |  |
| Sanchez, Daniel |  |  |  |  |  |
| Sanchez, Lilia |  |  |  |  |  |
| Schmall, John |  |  |  |  |  |
| Solis, Stephen |  |  |  |  |  |
| Stice, Clayton |  |  |  |  |  |
| Teixeira, Jay |  |  |  |  |  |
| Thompson, Chad |  |  |  |  |  |
| Thompson, Lori |  |  |  |  |  |
| Troublefield, Jordan |  |  |  |  |  |
| Upadhyay, Aditi |  |  |  |  |  |
| Wang, Shawn |  |  |  |  |  |
| Williams, Leslie |  |  |  |  |  |
| Wolf, Craig |  |  |  |  |  |
| Woodfin, Dan |  |  |  |  |  |
| Xiao, Hong |  |  |  |  |  |
| Yan, Ping |  |  |  |  |  |
| Zhang, Wen |  |  |  |  |  |

Unless otherwise indicated, all Market Segments were participating in the vote(s).

Chase Smith called the March 4, 2021 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

There were no changes to the agenda.

- Technical Advisory Committee (TAC) Request: List of ROS Related Items from February 2021 Weather Event (see Key Documents)

- Eric Blakey summarized the TAC request to ROS to develop a prioritized list of ROS related items from the February 2021 Extreme Weather event for consideration at the March 5, 2021 Special TAC Meeting and highlighted the ERCOT priority items identified in the March 2, 2021 email sent to TAC Representatives from Bill Magness regarding “ERCOT Initial Priorities for February 2021 Extreme Winter Weather Event Issues”.  Mr. Smith presented the draft ROS list.  Market Participants discussed the issues and offered clarifications to the list.

- Approval of Meeting Minutes (see Key Documents)

- February 4, 2021

Market Participants reviewed the February 4, 2021 ROS Meeting minutes.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

- ERCOT Reports (see Key Documents)

- Operations Report

- System Planning Report

- Mr. Smith noted the January 2021 Operations Report and January 2021 System Planning Report were posted.   There were no questions or comments from Market Participants.

Generic Transmission Constraint (GTC) Update

ERCOT Staff provided an update on GTC activities.

Resource Registration Glossary Revision Request (RRGRR) 021 Transient Security Assessment Tool (TSAT) Update

Prabhu Gnanam summarized the TSAT requirement effective August 1, 2020, presented the Real-Time TSAT user-defined model development status as of February 16, 2021, and reviewed the timeline and implementation plan.  In response to Market Participants questions, Mr. Gnanam stated that if all the models are submitted by November 1, 2021 ERCOT will still need six months to implement the Real-Time TSAT.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1063, Dynamic Rating Transparency

Seth Cochran summarized NPRR1063.  Bill Blevins offered to review modifications to current reports to maximize efficiencies in posting the requested information.  Market Participants requested additional time to review the issues.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NPRR1064, Identification of Chronic Congestion

Freddy Garcia summarized NPRR1064.  Market Participants requested review of the issues by the Network Data Support Working Group (NDSWG) and Operations Working Group (OWG).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents)

NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

David Mercado summarized the 2/3/21 CenterPoint LCRA comments to NPRR979.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification

ROS took no action on this item.

Review of ROS Revision Requests (see Key Documents)

Impact Analyses

RRGRR028, Transformer Impedance Clarifications

Jay Teixeira summarized the 3/3/21 ERCOT comments to RRGRR028.  Troy Anderson summarized the additional 3/3/21 ERCOT comments to RRGRR028 and the alternative schedule for development of the Impact Analysis for RRGRR028.  Market Participants requested additional time to review the issues.  ROS took no action on this item.

Language Review

Nodal Operating Guide Revision Request (NOGRR) 223, Add Phasor Measurement Recording Equipment Requirement to Modified Generating Facilities in Interconnection Process – Waive Notice

ERCOT Staff noted the need to waive notice due to administrative error.  Mr. Teixeira summarized NOGRR223 and requested review of the issues by the OWG.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

Planning Guide Revision Request (PGRR) 073, Related to NPRR956, Designation of Providers of Transmission Additions

PGRR088, Include Financial Security Amount in the Monthly Generator Interconnection Status Report

NOGRR215, Limit Use of Remedial Action Schemes

ROS took no action on these items.

NOGRR199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Other Binding Document Revision Request (OBDRR) 025, Clarification for the RRS Limit on Individual Non-Thermal Generation Resources

Chad Mulholland reviewed PDCWG activities.  Mr. Mulholland announced the anticipated withdrawal of OBDRR025, noting that a more holistic review of grid reliability is needed and that following completion of the ERCOT study to evaluate the need for limitations on Resources providing Responsive Reserve Service (RRS) using Primary Frequency Response (PFR), a new OBDRR is anticipated to be submitted.

Steady State Working Group (SSWG) (see Key Documents)

SSWG Procedure Manual

Chenyan Guo presented the SSWG Procedure Manual.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Eric Goff moved to approve the Combined Ballot as follows:

- To approve the February 4, 2021 ROS Meeting minutes as submitted

- To request PRS continue to table NPRR1063

- To request PRS continue to table NPRR1064 to allow for review by NDSWG and OWG

- To endorse NPRR979 as amended by the 2/3/21 CenterPoint LCRA comments

- To waive notice, to table NOGRR223 and refer the issue to OWG

- To recommend approval of NOGRR199 as amended by the 1/22/20 CenterPoint Energy Comments

- To approve the SSWG Procedure Manual as presented

Cyrus Reed seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Dynamic Working Group (DWG) (see Key Documents)

Sam Jung reviewed DWG activities, including the intent to request ERCOT to replace the current planning model software with Siemens Power Technologies Inc. (PTI) Power System Simulator for Engineering (PSSE) v35 for the 2022/23 DWG Flat Start Case Build, to have v35 compatible models by July 1, 2022, and to notify Resource Entities that may need to provide updated models as necessary.

Other Business

Unregistered Distributed Generation (DG) Workshop I

Clayton Stice announced that ERCOT anticipates rescheduling the Unregistered DG Workshop I for the end of March 2021, noted it would be an opportunity for Transmission and/or Distribution Service Providers (TDSPs) and Non-Opt-In Entities (NOIEs) to assist ERCOT in assessing the availability of data and its utility in system planning, and stated that future workshops would be open to a broader audience.

No Report

- Black Start Working Group (BSWG)

- NDSWG

- Operations Training Working Group (OTWG)

- OWG

- Planning Geomagnetic Disturbance Task Force (PGDTF)

- Planning Working Group (PLWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned the March 4, 2021 ROS meeting 11:17 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- http://www.ercot.com/calendar/2021/3/4/214005-ROS