| RMGRR Number | 164 | RMGRR Title | Related to NPRR1062, Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report |
| --- | --- | --- | --- |
| Date of Decision |  | March 24, 2021 |  |
| Action |  | Tabled |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation of Nodal Protocol Revision Request (NPRR) 1062, Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Retail Market Guide Sections Requiring Revision |  | 7.13, Interval Data Recorder Meter Removal and Installation Process (delete) 7.13.1, Interval Data Recorder Meter Optional Removal Process (delete) 7.13.1.1, Customer Request for Removal of Interval Data Recorder Meter (delete) 7.13.1.2, Interval Data Recorder Optional Removal Request Form (delete) 7.13.1.3, Transmission and/or Distribution Service Provider Processing (delete) 7.13.2, Interval Data Recorder Meter Installation Process (delete) 7.13.2.1, Interval Data Recorder Meter Requirement Report (delete) 7.13.2.2, Mandatory Interval Data Recorder Installation Process (delete) 7.13.2.3, Optional Interval Data Recorder Installation Request Process (delete) 7.13.2.4, Interval Data Recorder Installation Request Form (delete) 9, Appendix H1, Interval Data Recorder (IDR) Meter Optional Removal Request Form 9, Appendix H2, Interval Data Recorder (IDR) Meter Installation Request Form |  |
| Related Documents Requiring Revision/Related Revision Requests |  | NPRR1062 |  |
| Revision Description |  | This Retail Market Guide Revision Request (RMGRR) eliminates the entirety of Section 7.13 and all associated language from Section 9, Appendix H1 and Appendix H2. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Section 7.13 was created prior to the implementation of Advanced Metering Systems (AMSs) to define the business rules and processes to be followed when transitioning an Interval Data Recorder (IDR) Meter to a Non-Interval Data Recorder (NIDR) Meter. With the advent of AMS, customers seeking IDR Meter removals will now be transitioned to an AMS profile type which includes 15-minute interval data rather than an NIDR meter which only allows monthly meter reads. Furthermore, NPRR877, Use of Actual Interval Data for IDR ESI IDs for Initial Settlement, which was approved by the ERCOT Board on August 7, 2018, clearly defines the process to be followed when transitioning IDR Meters to an AMS Load Profile ID. |  |
| RMS Decision |  | On 2/2/21, RMS voted unanimously via roll call to recommend approval of RMGRR164 as submitted. All Market Segments participated in the vote. On 3/2/21, RMS voted unanimously via roll call to endorse and forward to TAC the 2/2/21 RMS Report and the Impact Analysis for RMGRR164. All Market Segments participated in the vote. |  |
| Summary of RMS Discussion |  | On 2/2/21, there was no discussion. On 3/2/21, there was no discussion. |  |
| TAC Decision |  | On 3/24/21, TAC voted unanimously via roll call to table RMGRR164. All Market Segments participated in the vote. |  |
| Summary of TAC Discussion |  | On 3/24/21, participants expressed the desire to table RMGRR164 awaiting NPRR1062. |  |
| ERCOT Opinion |  | ERCOT supports approval of RMGRR164. |  |

| Sponsor |  |
| --- | --- |
| Name | Randy Roberts |
| E-mail Address | Randy.Roberts@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3943 |
| Cell Number | (512) 913-7648 |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-Mail Address | Jordan.Troublefield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Guide Language Revision

(b)	If the request does not meet the Protocol requirements, the CR shall inform the Customer that the request cannot be honored, per paragraph (3) of Section 7.13.1.3, Transmission and/or Distribution Service Provider Processing.

(

ERCOT Retail Market Guide

Section 9: Appendices

- Appendix H1:  Intentionally Left Blank

TBD

- Appendix H1

Intentionally Left Blank

ERCOT Retail Market Guide

Section 9: Appendices

- Appendix H2:  Intentionally Left Blank

TBD

- Appendix H2

TDSP = Transmission and/or Distribution Service Provider

Intentionally Left Blank