## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for March 2021

## Slide 2: Non-IRR GREDP < 85% – March 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 239 | 67 | 82 | 1.35 | 81.71
Unit 240 | 10 | 82 | 1.03 | 12.20
Unit 242 | 58 | 72 | 1.81 | 80.56
Unit 251 | 24 | 34 | 2.15 | 70.59

## Slide 3: IRR Summary – March 2021
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 88.88 | 78.19 | 81.64
GREDP Median (%) | 95.70 | 85.18 | 88.92
Average MW Error | 4.25 | 4.63 | 4.60
Median MW Error | 4.12 | 4.72 | 4.59
Total Intervals Scored | 152,987 | 59,657 | 59,086
100+ Intervals Scored | 123 | 144 | 60
Total Intervals Scored Average | 572.99 | 727.52 | 984.77

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 4,642 | 4,785 | 2.93 | 97.01
Unit 3 | 4,291 | 4,303 | 6.75 | 99.72
Unit 4 | 3,990 | 3,995 | 4.12 | 99.87
Unit 6 | 3,031 | 3,170 | 4.19 | 95.62
Unit 7 | 2,941 | 2,985 | 3.53 | 98.53
Unit 8 | 2,865 | 2,954 | 2.98 | 96.99
Unit 9 | 2,913 | 2,952 | 3.17 | 98.68
Unit 10 | 2,849 | 2,907 | 3.08 | 98.00
Unit 11 | 2,859 | 2,870 | 2.92 | 99.62
Unit 12 | 2,726 | 2,812 | 2.20 | 96.94
Unit 13 | 2,686 | 2,754 | 3.32 | 97.53
Unit 14 | 2,612 | 2,711 | 2.12 | 96.35
Unit 15 | 2,645 | 2,671 | 3.67 | 99.03
Unit 16 | 2,431 | 2,497 | 2.19 | 97.36
Unit 18 | 2,284 | 2,296 | 3.59 | 99.48
Unit 21 | 2,193 | 2,244 | 5.14 | 97.73
Unit 24 | 2,047 | 2,053 | 1.64 | 99.71
Unit 25 | 2,015 | 2,051 | 7.69 | 98.24

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 26 | 1,968 | 2,022 | 3.87 | 97.33
Unit 27 | 1,939 | 1,977 | 5.23 | 98.08
Unit 28 | 1,939 | 1,977 | 2.71 | 98.08
Unit 30 | 1,816 | 1,898 | 3.82 | 95.68
Unit 31 | 1,836 | 1,865 | 4.59 | 98.45
Unit 32 | 1,753 | 1,842 | 2.87 | 95.17
Unit 34 | 1,721 | 1,740 | 2.35 | 98.91
Unit 35 | 1,615 | 1,636 | 2.43 | 98.72
Unit 36 | 1,586 | 1,606 | 1.40 | 98.75
Unit 40 | 1,400 | 1,441 | 3.92 | 97.15
Unit 43 | 1,173 | 1,216 | 5.57 | 96.46
Unit 44 | 1,192 | 1,214 | 0.00 | 98.19
Unit 46 | 1,085 | 1,138 | 3.02 | 95.34
Unit 47 | 1,087 | 1,129 | 5.66 | 96.28
Unit 49 | 1,098 | 1,107 | 1.19 | 99.19
Unit 50 | 1,074 | 1,092 | 2.55 | 98.35
Unit 55 | 992 | 1,007 | 1.88 | 98.51
Unit 56 | 972 | 1,004 | 3.82 | 96.81

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 63 | 917 | 921 | 2.80 | 99.57
Unit 64 | 889 | 916 | 1.52 | 97.05
Unit 66 | 845 | 866 | 6.78 | 97.58
Unit 67 | 847 | 866 | 1.34 | 97.81
Unit 71 | 823 | 841 | 10.55 | 97.86
Unit 73 | 811 | 833 | 3.20 | 97.36
Unit 75 | 728 | 738 | 9.89 | 98.64
Unit 78 | 707 | 715 | 5.10 | 98.88
Unit 80 | 696 | 699 | 4.27 | 99.57
Unit 86 | 548 | 549 | 5.36 | 99.82
Unit 88 | 485 | 485 | 3.57 | 100.00
Unit 89 | 484 | 484 | 4.07 | 100.00
Unit 91 | 464 | 479 | 4.25 | 96.87
Unit 92 | 459 | 478 | 1.73 | 96.03
Unit 96 | 386 | 387 | 3.33 | 99.74
Unit 99 | 330 | 341 | 3.12 | 96.77
Unit 100 | 320 | 331 | 4.36 | 96.68
Unit 103 | 285 | 296 | 7.82 | 96.28

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 105 | 283 | 286 | 3.75 | 98.95
Unit 109 | 221 | 229 | 4.17 | 96.51
Unit 113 | 191 | 196 | 3.80 | 97.45
Unit 114 | 167 | 169 | 1.42 | 98.82
Unit 115 | 168 | 169 | 2.23 | 99.41
Unit 117 | 150 | 151 | 5.72 | 99.34
Unit 121 | 124 | 126 | 4.87 | 98.41
Unit 122 | 110 | 113 | 4.75 | 97.35
Unit 123 | 105 | 107 | 2.33 | 98.13

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – March 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,741 | 5,476 | 3.96 | 50.05
Unit 5 | 3,038 | 3,244 | 4.73 | 93.65
Unit 17 | 2,167 | 2,384 | 1.89 | 90.90
Unit 19 | 2,097 | 2,274 | 1.77 | 92.22
Unit 20 | 1,700 | 2,266 | 6.43 | 75.02
Unit 22 | 1,939 | 2,184 | 5.82 | 88.78
Unit 23 | 1,699 | 2,077 | 2.47 | 81.80
Unit 29 | 1,249 | 1,961 | 5.92 | 63.69
Unit 33 | 1,615 | 1,781 | 7.43 | 90.68
Unit 37 | 1,374 | 1,515 | 2.41 | 90.69
Unit 38 | 1,380 | 1,499 | 2.37 | 92.06
Unit 39 | 818 | 1,443 | 3.94 | 56.69
Unit 41 | 1,037 | 1,247 | 8.12 | 83.16
Unit 42 | 1,153 | 1,235 | 2.81 | 93.36
Unit 45 | 1,120 | 1,199 | 5.84 | 93.41
Unit 48 | 707 | 1,126 | 9.62 | 62.79
Unit 51 | 1,024 | 1,082 | 4.00 | 94.64
Unit 52 | 969 | 1,047 | 2.46 | 92.55

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – March 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 53 | 959 | 1,042 | 5.17 | 92.03
Unit 54 | 930 | 1,016 | 2.39 | 91.54
Unit 57 | 802 | 985 | 6.82 | 81.42
Unit 58 | 791 | 962 | 5.82 | 82.22
Unit 59 | 679 | 961 | 7.75 | 70.66
Unit 60 | 875 | 935 | 6.79 | 93.58
Unit 61 | 736 | 928 | 5.41 | 79.31
Unit 62 | 848 | 926 | 4.55 | 91.58
Unit 65 | 838 | 903 | 5.99 | 92.80
Unit 68 | 336 | 864 | 5.52 | 38.89
Unit 69 | 732 | 859 | 5.29 | 85.22
Unit 70 | 780 | 843 | 6.60 | 92.53
Unit 72 | 759 | 834 | 5.39 | 91.01
Unit 74 | 64 | 780 | 5.20 | 8.21
Unit 76 | 566 | 731 | 4.49 | 77.43
Unit 77 | 398 | 722 | 9.80 | 55.12
Unit 79 | 537 | 712 | 3.62 | 75.42
Unit 81 | 625 | 687 | 4.71 | 90.98

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – March 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 82 | 520 | 679 | 5.00 | 76.58
Unit 83 | 602 | 637 | 4.16 | 94.51
Unit 84 | 487 | 611 | 3.06 | 79.71
Unit 85 | 334 | 553 | 5.35 | 60.40
Unit 87 | 435 | 496 | 1.17 | 87.70
Unit 90 | 437 | 482 | 4.31 | 90.66
Unit 93 | 372 | 467 | 4.64 | 79.66
Unit 94 | 237 | 401 | 1.97 | 59.10
Unit 95 | 327 | 393 | 4.43 | 83.21
Unit 97 | 258 | 377 | 5.57 | 68.44
Unit 98 | 318 | 352 | 4.87 | 90.34
Unit 101 | 296 | 330 | 5.63 | 89.70
Unit 102 | 284 | 306 | 4.12 | 92.81
Unit 104 | 266 | 288 | 3.54 | 92.36
Unit 106 | 257 | 280 | 3.90 | 91.79
Unit 107 | 212 | 249 | 3.48 | 85.14
Unit 108 | 230 | 245 | 3.93 | 93.88
Unit 110 | 190 | 219 | 3.08 | 86.76

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – March 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 111 | 200 | 212 | 2.01 | 94.34
Unit 112 | 170 | 204 | 3.16 | 83.33
Unit 116 | 119 | 164 | 1.25 | 72.56
Unit 118 | 133 | 148 | 5.93 | 89.86
Unit 119 | 122 | 135 | 2.45 | 90.37
Unit 120 | 114 | 128 | 5.40 | 89.06