## Slide 1: Wholesale Market Working Group Emergency Conditions List
David Detelich
Murali Sithuraj

## Slide 2: Near Term Items
Item Number | Originating Entity | Item Description
7 | ERCOT/ROS | DER Registration: Expand registration and Real-Time data requirements for all types of resources beyond current modeling requirements (e.g., distribution-level resources) to enhance situational awareness for planning and operational purposes.*
35 | ROS | Procedures during Natural Gas Supply Emergency: Review current procedures and communication requirements between ERCOT, TOs, QSEs, and REs during a natural gas supply failure and assess if changes are warranted. Consider/discuss possible Protocol requirement for blackstart units to have onsite fuel specifically reserved for blackstart operations. (Oncor/Collin Martin)
49 | ROS | Energy Emergency Alert: Review EEA rules and assess if any changes are warranted.
99 | WMS | Review converge of ORDC & PRC during the event.
100 | WMS | How did batteries providing FFR perform? Were FFR providers allowed to charge and if not, what penalties did they get charged?

## Slide 3: Long Term Items
Item Number | Originating Entity | Item Description
44 | ROS | Ancillary Service Products: Review existing ancillary service products and determine if existing suite of products and amounts is adequate based on lessons learned from the February 2021 winter weather event.
46 | ROS | Station Service: Consider rule changes for turning off station service load at resources that are unavailable during EEA conditions.
83 | WMS | Should there be a minimum market notice & timeline for design changes that impact prices so as to allow MPs time for hedging?
84 | WMS | Should TCEQ exempt MWs be priced at a floor of $1500/MWh or higher? If ERCOT RUCs the resource, how is the resource compensated for lost opportunity of using the emissions limit during other scarcity time Vs the RUCed time?
85 | WMS | How did exceptional fuel price process work?

## Slide 4: Long Term Items
Item Number | Originating Entity | Item Description
89 | WMS | Should there be different PRC EEA trigger point for winter and summer given potential for different events?
90 | WMS | Are the existing suite of Ancillary Service products and quantities adequate to ensure reliability or are changes needed?
91 | WMS | Could fast frequency response play a bigger role?
92 | WMS | Should the Reliability Must Run (RMR) processes be extended to units proposed for seasonal mothball? Are the RMR and Must Run Alternative study and processes sufficient or are changes to study parameters, such as winter peak-, planned/forced outage-, or resource dispatch-scenarios, needed?
95 | WMS | What were the costs, benefits, and constraints of dual fuel and fuel storage? Are there potential market incentives based on lessons learned from this event?
96 | WMS | How did DR perform? Should UFR deployed beyond the period of it obligation be compensated for the deployment? Should A/S Imbalance Charge to deployed Load Resources be revisited?

## Slide 5: Awaiting Legislative Direction
Item Number | Originating Entity | Item Description
71 | WMS | Should there be make whole payments for extremely high fuel costs during EEA3?
72 | WMS | How do we ensure that generation resources are being compensated for firm fuel arrangements?

## Slide 6: Outside the Stakeholder Purview
Item Number | Originating Entity | Item Description
56 | WMS | Improve situational awareness by identifying all NG infrastructure that is critical for power plants, Identifying firm and non-firm supply power plants. Should payments for NG storage closer to NG plants be considered to avoid counting a major supply on long haul transport?