DRAFT

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, April 1, 2021 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Claiborn-Pinto, Shawnee | OPUC |  |
| Cochran, Seth | DC Energy |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Greer, Clayton | Morgan Stanley |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Jolly, Emily | Lower Colorado River Authority | Alt. Rep. for Daniel Marr |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Simpson, Lori | Exelon |  |
| Smith, Chase | Southern Power Co |  |
| Staples, Boone | Tenaska Power Services |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

The following proxy was assigned:

# Resmi Surendran to Seth Cochran

| Guests: |  |  |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy |  |
| Barnes, Bill | NRG |  |
| Benson, Mariah | PUCT |  |
| Blackburn, Don | Hunt Energy Network Power |  |
| Burke, Tom | Invenergy |  |
| Burnett, Ben | CenterPoint Energy |  |
| Callaghan, Glenn | CenterPoint Energy |  |
| Chatlani, Varsha | Boston Energy |  |
| Clark, Jack | NextEra Energy |  |
| Coleman, Diana | CPS Energy |  |
| Cook, Tim | CTT |  |
| Coultas, Ann | Enel |  |
| Danielson, Christian | EPE Consulting |  |
| De Arizon, Maria | CenterPoint Energy |  |
| Dewitt, Charles | PEC |  |
| Donohoo, Kenneth | EPE Consulting |  |
| Dreyfus, Mark | MD Energy Consulting |  |
| Firestone, Joel | LCRA |  |
| Floyd, Rickey | Oncor |  |
| Fox, Tom | LP & L |  |
| Greaff, Venona | Oxy |  |
| Goff, Eric |  |  |
| Gross, Blake | AEP |  |
| Guo, Chenyan | Lone Star Transmission |  |
| Haley, Ian | Luminant Generation |  |
| Hanson, Kevin | National Grid |  |
| Harris, Brenda | Oxy |  |
| Henry, Mark | Texas Reliability Entity |  |
| Henson, Martha | Oncor |  |
| Hernandez, Gaby | LCRA |  |
| Hourihan, Mike | CPower Energy |  |
| Jackson, Jimmy | CPS Energy |  |
| Johnson, Anthony | CenterPoint Energy |  |
| Jung, Sam | Oncor |  |
| Khayat, Maribel | CenterPoint Energy |  |
| Liang, Chu | Wind Energy of Texas |  |
| Mathew, Shirley | Austin Energy |  |
| McClellan, Suzi | Good Company Associates |  |
| Mercado, David | CenterPoint Energy |  |
| Miller, Alexandra | EDF Renewables |  |
| Morris, Sandy | Customized Energy Solutions |  |
| Mulholland, Chad | NRG |  |
| Musher, Danny | Key Capture Energy |  |
| Narvarte, John | NBU |  |
| Oberski, Nicholas | LCRA |  |
| Owens, Frank | Rayburn Electric |  |
| Palani, Ananth | Garland Power and Light |  |
| Penney, David | Texas Reliability Entity |  |
| Powell, Christian | PEC |  |
| Preas, Dylan | LCRA |  |
| Price, Chris | 61 Commoodities |  |
| Pyka, Greg | Schneider Engineering |  |
| Rainwater, Kim | LCRA |  |
| Reed, Ronald | CenterPoint Energy |  |
| Reid, Walter | Advanced Power Alliance |  |
| Roberts, Vincent | TNMP |  |
| Sams, Bryan | Calpine |  |
| Schwarz, Brad | Sharyland |  |
| Shumate, Walt |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Sithuraj, Murali | Austin Energy |  |
| Smith, Caitlin | AB Power Advisors |  |
| Smith, Christopher | Austin Energy |  |
| Thiele, Matthew | Karnes Electric Cooperative |  |
| Turner, Mina | AEP |  |
| Varnell, John | Tenaska Power Services |  |
| Velasquez, Ivan | Oncor |  |
| Walke, Pranil | Calpine |  |
| Wall, Perrin | CenterPoint Energy |  |
| Wang, Francis | NextEra Energy |  |
| Williams, Scot | Oncor |  |
| Williams, Wes | BTU |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Woods, Brad | Texas Reliability Entity |  |
| Yater, J-M | CenterPoint Energy |  |
| ERCOT Staff: |  |  |
| Al-Homsi, Alex |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  |  |
| Billo, Jeff |  |  |
| Blevins, Bill |  |  |
| Boren, Ann |  |  |
| Bracy, Phil |  |  |
| Cheng, Yong |  |  |
| Clifton, Suzy |  |  |
| Cyphers, Darrell |  |  |
| Daryabak, Mehdi |  |  |
| Fisher, John |  |  |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  |  |
| Han, Minnie |  |  |
| Hasha, Christine |  |  |
| Huang, Fred |  |  |
| Jowlabar, Nicholas |  |  |
| Kang, Sun Wook |  |  |
| Khodabakhsh, Fred |  |  |
| Lasher, Warren |  |  |
| Li, Weifeng |  |  |
| Mago, Nitika |  |  |
| Miller, Megan |  |  |
| Phillips, Cory |  |  |
| Sanchez, Daniel |  |  |
| Sanchez, Lilia |  |  |
| Schmall, John |  |  |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Thuerwaechter, Kashia |  |  |
| Troublefield, Jordan |  |  |
| Williams, Leslie |  |  |
| Wolf, Craig |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  |  |
| Yan, Ping |  |  |
| Zhang, Wen |  |  |

Unless otherwise indicated, all Market Segments were participating in the votes.

Chase Smith called the April 1, 2021 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

There were no changes to the agenda.

# Approval of Meeting Minutes (see Key Documents)

# March 4, 2021

Market Participants reviewed the March 4, 2021 ROS Meeting minutes.

Bill Barnes moved to approve the March 4, 2021 ROS Meeting minutes as submitted.  Dennis Kunkel seconded the motion.  The motion carried via roll call vote with one abstention from the Consumer (OPUC) Market Segment.  (Please see ballot posted with Key Documents.)

# Technical Advisory Committee (TAC) Update

# Emergency Conditions List

Mr. Smith summarized the discussion of the 2021 Extreme Cold Weather event and prioritization of market issues that fall under the purview of TAC and TAC Subcommittees at the March 5, 2021 TAC meeting, noted the disposition of items considered at the March 24, 2021 meeting, and presented the Emergency Conditions List.  Market Participants reviewed the ROS items and assignments to ROS Working Groups and Task Forces and offered clarifications to the list.

# ERCOT Reports (see Key Documents)

# Operations Report

# Nitika Mago reviewed the February 2021 Operations Report.

# System Planning Report

# Ping Yan presented the February 2021 System Planning Report.

Reliability Standard CIP-012-1 Update (see Key Document)

Christine Hasha provided an update on Critical Infrastructure Protection Reliability Standard CIP-012-01, Cyber Security-Communications Between Control Centers, reviewed the implementation timeline, and summarized roles and responsibilities for ERCOT and Market Participants.

M-A031821-01 Application for Critical Load Serving Electric Generation and Cogeneration

Ivan Velasquez reported on natural gas critical Load issues, noted the discussion at the March 24, 2021 TAC meeting, summarized ERCOT Market Notice M-A031821-01 Application for Critical Load Serving Electric Generation and Cogeneration, and stated that the referenced application is posted on the Gas Electric Working Group (GEWG) landing page on the ERCOT website and some electric utility sites.  Mr. Velasquez noted that the PUCT and the Railroad Commission of Texas (RRC) substantially revised the application from previous years following the February 2021 Extreme Cold Weather event and discussions with Investor Owned Utilities (IOUs), Texas Public Power Association and Texas Electric Cooperatives and expanded communication efforts to increase participation by gas companies.  In response to Market Participants offer of clarifications to the application, Chad Thompson encouraged Market Participants to attend the April 19, 2021 GEWG meeting for further discussion of the application and related issues.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1063, Dynamic Rating Transparency

Bill Blevins presented an alternative solution to NPRR1063 for ROS consideration.  Seth Cochran summarized NPRR1063, expressed support for the efficiencies in the alternate solution proposed by ERCOT that provides Market Participants increased transparency and understanding of the risks, and offered to provide clarifications to NPRR1063.  ROS took no action on this item.

System Protection Working Group (SPWG) (see Key Documents)

Vincent Roberts reviewed SPWG activities.

Review of ROS Revision Requests (see Key Documents)

Impact Analyses

Resource Registration Glossary Revision Request (RRGRR) 028, Transformer Impedance Clarifications

Mr. Smith reminded Market Participants of the March 4, 2021 ROS discussion on the 3/3/21 ERCOT comments to RRGRR028 and the alternative schedule for development of the Impact Analysis for RRGRR028 as noted in the additional 3/3/21 ERCOT comments.  Glenn Callaghan summarized the 3/4/21 SPWG comments to RRGRR028, noting they were developed prior to the 3/3/21 ERCOT comments but were submitted after they were posted.  Mr. Roberts stated SPWG was in consensus to recommend ROS advance RRGRR028 with the 3/4/21 SPWG comments.  ERCOT Staff summarized the necessary system changes and potential cost impacts to implement RRGRR028 with the 3/4/21 SPWG comments.  Market Participants requested additional time to review the issues.  ROS took no action on this item.

Nodal Operating Guide Revision Request (NOGRR) 199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Language Review

Planning Guide Revision Request (PGRR) 089, Planning Data and Information Updates for Planning Posting

Sun Wook Kang summarized PGRR089.  Market Participants requested review of the issues by the Planning Working Group (PLWG).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

ROS took no action on this item.

PGRR088, Include Financial Security Amount in the Monthly Generator Interconnection Status Report

Mr. Barnes summarized PGRR088 and the 3/26/21 Joint Commenters 2 comments.  Market Participants offered clarifications to PGRR088.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

PLWG (see Key Documents)

NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification

Charles DeWitt reviewed PLWG activities, including NPRR1056 and the related issues in NPRR1070, Planning Criteria for GTC Exit Solutions.  Market Participants expressed support to maximize efficiencies and review the issues in a joint forum for ROS and the Wholesale Market Subcommittee (WMS) working groups.   ROS took no action on this item.

Operations Working Group (OWG) (see Key Documents)

Rickey Floyd reviewed OWG activities.

NOGRR215, Limit Use of Remedial Action Schemes

NOGRR223, Add Phasor Measurement Recording Equipment Requirement to Modified Generating Facilities in Interconnection Process

ROS took no action on these items.

NPRR1064, Identification of Chronic Congestion

Mr. Floyd summarized NPRR1064 and the 3/24/21 ERCOT comments and stated that OWG was in consensus to recommend ROS advance NPRR1064 as amended by the 3/24/21 ERCOT comments.

Network Data Support Working Group (NDSWG) (see Key Documents)

J-M Yatar reviewed NDSWG activities and stated that NDSWG was in consensus to recommend ROS advance NPRR1064 as amended by the 3/24/21 ERCOT comments.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Mr. Kunkel moved to approve the Combined Ballot as follows:

- To endorse and forward to TAC the 3/4/21 ROS Report and Impact Analysis for NOGRR199

- To table PGRR089 and refer the issue to PLWG

- To recommend approval of PGRR088 as amended by the 3/26/21 Joint Commenters 2 comments as revised by ROS

- To endorse NPRR1064 as amended by the 3/24/21 ERCOT comments

Bill Valagura seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities.

Dynamic Working Group (DWG) (see Key Documents)

Sam Jung reviewed DWG activities.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Chu Liang reviewed PGDTF activities.

Operations Training Working Group (OTWG)

There was no update or report for this item.

Steady State Working Group (SSWG) (see Key Documents)

Chenyan Guo reviewed SSWG activities.

Voltage Profile Working Group (VPWG) (see Key Documents)

Scot Williams reviewed VPWG activities.

Notice of Withdrawal

Other Binding Document Revision Request (OBDRR) 025, Clarification for the RRS Limit on Individual Non-Thermal Generation Resources.

Mr. Smith noted the withdrawal of OBDRR025.

Other Business

Review Open Action Items List

Market Participants reviewed the Open Action Items and removed the completed items;

- Inverter-Based Resource Issue 4, Dynamic Models (DWG)

- Directive 9, Ancillary Services (DWG)

No Report

- Black Start Working Group (BSWG)

Adjournment

Mr. Smith adjourned the April 1, 2021 ROS meeting 12:42 p.m.