Date:	April 28, 2021

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols [ERCOT] - NPRR1062, Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report [ERCOT] - NPRR1073, Market Participant Application Changes – URGENT [Morgan Stanley Capital Group] - NPRR1074, “mp” Definition Revision – URGENT [Morgan Stanley Capital Group]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols [ERCOT] Proposed Effective Date: July 1, 2021 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR incorporates the “State Estimator Standards” and “Telemetry Standards” Other Binding Documents into the Protocols. PRS Decision: On 3/11/21, PRS unanimously voted via roll call to recommend approval of NPRR979 as amended by the 2/3/21 CenterPoint LCRA comments. The Independent Retail Electric Provider (IREP) Market Segment did not participate in the vote. On 4/15/21, PRS unanimously voted via roll call to endorse and forward to TAC the 3/11/21 PRS Report and Impact Analysis for NPRR979. - NPRR1062, Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR changes the metering requirement for Premises connected at transmission voltage and/or having a peak Demand greater than 700kW/700kVA. Currently an Interval Data Recorder (IDR) Meter is required. This change modifies the requirement to be an IDR which includes IDR Meters and Advanced Meters. This NPRR also eliminates the IDR Meter Requirement Report. PRS Decision: On 3/11/21, PRS unanimously voted via roll call to recommend approval of NPRR1062 as submitted. The IREP Market Segment did not participate in the vote. On 4/15/21, PRS unanimously voted via roll call to endorse and forward to TAC the 3/11/21 PRS Report and Impact Analysis for NPRR1062. - NPRR1073, Market Participant Application Changes – URGENT [Morgan Stanley Capital Group] Proposed Effective Date: To be determined ERCOT Impact Analysis: To be determined Revision Description: This NPRR strengthens ERCOT’s market entry qualification for ERCOT Counter-Parties i.e., Qualified Scheduling Entities (QSEs) and Congestion Revenue Right (CRR) Account Holders, classifies information provided in the background check and credit scoring process as Protected Information, modifies application forms for QSEs and CRR Account Holders, and adds a new background check fee to the ERCOT Fee Schedule. This NPRR makes the following modifications to Section 16, Registration and Qualification of Market Participants: (1) Creates a new background check process as a part of ERCOT’s review of current and prospective Counter-Parties; (2) Authorizes ERCOT to review current and prospective Counter-Parties to determine whether they pose an unreasonable credit risk to ERCOT; (3) Authorizes ERCOT to suspend a QSE or CRR Account Holder if it poses an unreasonable credit risk to; and (4) Authorizes ERCOT to terminate the registration of a Counter-Party if it is deemed an unreasonable credit risk that cannot be remedied. Further, this NPRR formalizes processes for ERCOT’s assessment of Counter-Party creditworthiness. PRS Decision: On 4/15/21, PRS unanimously voted via roll call to grant NPRR1073 Urgent status; to recommend approval of NPRR1073 as amended by the 4/14/21 DC Energy comments; and to forward to TAC NPRR1073. Credit WG: See 4/21/21 Credit WG Comments - NPRR1074, “mp” Definition Revision – URGENT [Morgan Stanley Capital Group] Proposed Effective Date: To be determined ERCOT Impact Analysis: To be determined Revision Description: This NPRR changes the definition of “mp” in the credit default allocation calculations by changing “non-defaulting” to “existing”. PRS Decision: On 4/15/21, PRS unanimously voted via roll call to grant NPRR1074 Urgent status; to recommend approval of NPRR1074 as submitted; and to forward to TAC NPRR1074. Credit WG: See 4/21/21 Credit WG Comments Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1064, Identification of Chronic Congestion [ERCOT] - NPRR1071, Minor Revisions to the Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage [Broad Reach Power] - NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB) [ERCOT] - NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification [Invenergy] - NPRR1058, Resource Offer Modernization for Real-Time Co-Optimization [Reliant, Luminant, STEC, LCRA, Calpine] - NPRR1063, Dynamic Rating Transparency [DC Energy] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1072, Post Pre-Assigned Congestion Revenue Right (PCRR) Allocation Results to the ERCOT Website [Yes Energy] - SCR813, NMMS Jointly-Rated Equipment Coordination Confirmation [ERCOT] New Revision Requests Scheduled for Consideration at PRS None at this time. These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr