## Slide 1
Item 7: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
April 28, 2021

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols [ERCOT]
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1062, Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report [ERCOT]
  IA: Less than $10k (O&M) Priority N/A; Rank N/A
(* denotes no impact)

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed (Vote):
NPRR1073, Market Participant Application Changes – URGENT [Morgan Stanley Capital Group]
  IA: To be determined
NPRR1074, “mp” Definition Revision – URGENT [Morgan Stanley Capital Group]
  IA: To be determined

## Slide 4: Appendix

## Slide 5: NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols [ERCOT]
Proposed Effective Date: July 1, 2021
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR incorporates the “State Estimator Standards” and “Telemetry Standards” Other Binding Documents into the Protocols.
PRS Decision: On 3/11/21, PRS unanimously voted via roll call to recommend approval of NPRR979 as amended by the 2/3/21 CenterPoint LCRA comments. The Independent Retail Electric Provider (IREP) Market Segment did not participate in the vote. On 4/15/21, PRS unanimously voted via roll call to endorse and forward to TAC the 3/11/21 PRS Report and Impact Analysis for NPRR979.

## Slide 6: NPRR1062, Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report [ERCOT]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR changes the metering requirement for Premises connected at transmission voltage and/or having a peak Demand greater than 700kW/700kVA. Currently an Interval Data Recorder (IDR) Meter is required. This change modifies the requirement to be an IDR which includes IDR Meters and Advanced Meters. This NPRR also eliminates the IDR Meter Requirement Report.
PRS Decision: On 3/11/21, PRS unanimously voted via roll call to recommend approval of NPRR1062 as submitted. The IREP Market Segment did not participate in the vote. On 4/15/21, PRS unanimously voted via roll call to endorse and forward to TAC the 3/11/21 PRS Report and Impact Analysis for NPRR1062.

## Slide 7: NPRR1073, Market Participant Application Changes – URGENT [Morgan Stanley Capital Group]
Proposed Effective Date: To be determined
ERCOT Impact Analysis: To be determined
Revision Description: This NPRR strengthens ERCOT’s market entry qualification for ERCOT Counter-Parties i.e., Qualified Scheduling Entities (QSEs) and Congestion Revenue Right (CRR) Account Holders, classifies information provided in the background check and credit scoring process as Protected Information, modifies application forms for QSEs and CRR Account Holders, and adds a new background check fee to the ERCOT Fee Schedule. This NPRR makes the following modifications to Section 16, Registration and Qualification of Market Participants: (1) Creates a new background check process as a part of ERCOT’s review of current and prospective Counter-Parties; (2) Authorizes ERCOT to review current and prospective Counter-Parties to determine whether they pose an unreasonable credit risk to ERCOT; (3) Authorizes ERCOT to suspend a QSE or CRR Account Holder if it poses an unreasonable credit risk to; and (4) Authorizes ERCOT to terminate the registration of a Counter-Party if it is deemed an unreasonable credit risk that cannot be remedied. Further, this NPRR formalizes processes for ERCOT’s assessment of Counter-Party creditworthiness.
PRS Decision: On 4/15/21, PRS unanimously voted via roll call to grant NPRR1073 Urgent status; to recommend approval of NPRR1073 as amended by the 4/14/21 DC Energy comments; and to forward to TAC NPRR1073.
Credit WG: See 4/21/21 Credit WG Comments

## Slide 8: NPRR1074, “mp” Definition Revision – URGENT [Morgan Stanley Capital Group]
Proposed Effective Date: To be determined
ERCOT Impact Analysis: To be determined
Revision Description: This NPRR changes the definition of “mp” in the credit default allocation calculations by changing “non-defaulting” to “existing”.
PRS Decision: On 4/15/21, PRS unanimously voted via roll call to grant NPRR1074 Urgent status; to recommend approval of NPRR1074 as submitted; and to forward to TAC NPRR1074.
Credit WG: See 4/21/21 Credit WG Comments

## Slide 9: 2021 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/2 – 2/4 | April 3/30 – 4/1 | May 5/25 – 5/27 | July 7/27 – 7/29 | October 10/5 – 10/7 | December 12/7 – 12/9
NPRR902(a) NOGRR195 NPRR1055 OBDRR023(a) NPRR1020 | NPRR902(b) NPRR971 NPRR986 NPRR998 NPRR1024 NPRR1043 NOGRR213 VCMRR027 NPRR974 NPRR978(c) | NPRR905 SCR811 | NPRR902(b) NPRR905 SCR789 NPRR867 | NPRR484 NPRR829 OBDRR023(b) SCR781(b) | FFR Advancement (NPRR863 FFR) NPRR1015 NPRR863 ECRS NPRR1015
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
NPRR902(a) – ECEII Market Participant MPIM role
NPRR902(b) – MIS links updated for ECEII reports
NPRR978(c) – Forecast Zone scope
SCR781(b) – “Add” capability
OBDRR023(a) – ERS Expenditure Limit
OBDRR023(b) – 4 Standard Contract Terms/Year
TBD Items | NPRRs: 484, 825(b), 826, 829, 841, 857, 867, 879, 885, 918, 935(b), 936, 939, 941, 945, 962, 965, 1030, 1032, 1034, 1040, 1051 SCRs: 789, 799, 800, 805, 809, 812 Market Guides: PGRR066
E
E
E
2024 Go-Lives
RIOO – Q4 2021
RARF Add Functionality Go-Live
TBD Go-Live
E
SCR804
Go-Live – 4/22/2021
TO training in April
ECMS – May
Market Info & Grid Info to new platform
Improved dashboards and displays
Replace NoticeBuilder
ECMS – Nov.
Combine ERCOT.com and MIS
Improved search
New navigation
TBD Go-Lives Due to MMS/OS Delay
NPRR904, NPRR1006, OBDRR009
NPRR930
NPRR1019
1/1
ü
June
ü
ü
2/1
10/1
5/1
3/15
ü
ü
ü
ü
ü
ü
ü
ü
ü
E
E
E