# BSWG Report to ROS

# Tony Kroskey, Chair

# April 2021

**BSWG last met on April 21st**

21 participants

Discussed Selected BS Resources for 2022-2023

20 units bid, 13 selected

Discussed Emergency Conditions List item #34

*Review availability of blackstart units during February 2021 winter weather event and potential process improvements, including priority for non-curtailment of gas supply, to ensure availability during extreme weather events.*

ERCOT to prepare a list of BS Resource unit availability information for next meeting

\*Alternate Fuel – no requirements for onsite alternate fuel, approx. 1/2 of BS fleet not alternate fuel capable

\*Firm Gas Contract to address non-curtailment of gas supply

\*Freeze protection and freeze protection for alternate fuel storage to ensure availability

\*ESR - maintain continuous % charge for BS ESR

Black Start Training requirements

**Next Meeting:** May 18, 2 pm