## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Murali Sithuraj
May 5, 2021
From April 26 WMWG Meeting

## Slide 2: Emergency Conditions Issues List
WMWG reviewed the issues assigned to WMWG
  Near Term Items
  Long Term Items
General agreement on the issues assigned
  Work with appropriate ROS WG such as PDCWG – encourage open meeting time for participation
  Align on working the issues in order, determine reliability impacts before market impacts
  Ancillary service issues including FFR can be worked on together
Would like to add an MP champion and the ERCOT SME to each item on the spreadsheet

## Slide 3: Issue 99 - Review converge of ORDC & PRC during the event
ERCOT presentation on the RTOLCAP and PRC during the event
  Under generation drove RTOLCAP below PRC
    BP under generation is due to SCED awarding to the PBP curve
    This is per design
Question if it is possible to cap the gas resources HSL based on fuel availability
MP’s asked for more detail – that was posted to the WMWG meeting page
This will be on next month’s agenda to see if there are any more comments or recommended action

## Slide 4: Issue 100 - How did batteries providing FFR perform?
Batteries did not carry FFR during this event
Discussion on if FFR would have helped during the event to arrest frequency decay
  How much FFR would have helped
  Should FFR capacity be recovered to be ready for the next frequency event
ERCOT is studying the performance of ESR
Work with PDCWG on this issue
Issue will remain on WMWG agenda

## Slide 5: SCR 811 and Intra Hour Solar Forecast
ERCOT presented that they re on track to complete the software changes associated with SCR811 in the 2021 R3 release (scheduled to be implemented in Production systems between May 25 and May 27).
SCR811 will incorporate a intra-hour solar forecast based ramp into Generation To Be Dispatched (GTBD) to give Security Constrained Economic Dispatch (SCED) a indication of how the solar units may ramp.
This SCR will improve the dispatch of Base Points to Resources to account for the ramping of uncurtailed solar generation and will reduce the amount of Regulation Service deployed.
ERCOT will analyze the five-minute out forecast performance and accuracy of projected solar generation ramp direction before the intra-hour solar ramp forecast component is activated in the GTBD formula.

## Slide 6: Participation in SCED and AS – Behind-The-Meter (BTM) resources
ERCOT presented the list of policy issues - Policy Questions for WMS related to BTM 04262021 WMWG.DOCX
Main policy question - Should we change the current practice of limiting eligible AS quantity for ESR/GR to only the net capability that can be delivered at the POI or SDP?
  To based on gross capability
  CLR is based on gross capability
Can these sites register as a CLR
  Would also require system changes
  Duration limited CLR
Any NPRR for this would be significant undertaking based on the list of issues discussed and will take ERCOT resources from the Passport and Winter Storm Issues
Proposer does not wish to pursue this at this time. No vote required.
Possibly compare the CLR and R solutions in the future

## Slide 7: Day-Ahead Market (DAM) Performance Issue (DAM Delays)
ERCOT recommends establishing DAM daily submission limits for PTPs based on PTP Intervals
Request a vote from WMS for endorsing a System Change Request
ERCOT to present to WMS the summary of findings and recommendation
This should close the action item

## Slide 8: Next meeting
WMWG May 17
Also a Joint OWG, PLWG and WMWG at 1:00 on May 17
  NPRR 1056 Market Impact Generic Transmission Constraint (GTC) Notification
  NPRR 1070 Planning Criteria for GTC Exit Solutions
Any questions?