## Slide 1
Day-Ahead Market (DAM) Performance Issue (DAM Delays)
Alfredo Moreno
May 5, 2021 WMS

## Slide 2: Recap
On October 28, 2020, ERCOT introduced and presented on DAM performance delays at TAC; TAC requested WMS review
On January 5, 2021, WMS referred discussion to WMWG
From the regression analysis, Total PTP intervals was identified to be the most significant variable affecting the Total DAM Run time
Top 34 CPs (20% of CPs) make up ~83% of PTP intervals on average
Top 37 make up ~85% and submit over 1k PTP intervals on average
Top 6 make up ~37% and submit over 6k PTP intervals on average
Top 2 make up ~15% and submit over 10k PTP intervals on average
The Top10 CPs are responsible for 47% of total PTP interval submissions on average
  The Top 10 CPs are not affiliated with other CPs
  Today we have daily CP limit of 1500 submissions which can translate to 36,000 PTP interval submissions from a single CP
  Putting a daily submission limit at holding company level may not curtail the Top 10 CPs that are not affiliated
PTP intervals have doubled in the last 5 years

## Slide 3: Options for mitigating DAM performance
Create a PTP interval limit
Introduce submission fees
  PTP fee
  PTP fee after a pre-determined number
  PTP fee on un-awarded intervals
  Extend fee to Energy-only Offer and Energy Bids

## Slide 4: PTP interval proposal
On any given Operating Day CPs participating (with PTPs) in the DAM range from 75 to 120, with ~100 CPs on average
ERCOT proposes 12,000 as the initial PTP interval limit, while preserving the ability to reduce the limit as necessary to ensure DAM performance is optimized
Chart: Percentile of Daily Percentiles
| 0.99 | 0.98 | 0.95 | 0.9 | 0.85 | 0.8 | 0.75 | 0.7 | 0.65 | 0.6 | 0.55000000000000004 | 0.5
Percentile of Daily Percentile | 17241.564 | 13796.98 | 8127.8 | 4831.1 | 3217.925 | 2350 | 1683.5 | 1180.5 | 798.8875 | 564 | 444.125 | 360
PTP interval limit | 12000 | 12000 | 12000 | 12000 | 12000 | 12000 | 12000 | 12000 | 12000 | 12000 | 12000 | 12000

## Slide 5: ERCOT Recommendation
Following the discussions at WMWG, ERCOT recommends establishing DAM daily submission limits for PTPs based on PTP Intervals
  ERCOT will continue to use this limit to control the volume of PTP Intervals
  To resolve DAM performance issues, ERCOT would tune this limit and communicate any updates to the market
  In the event, PTP Intervals based limit becomes too constraining for CPs to fully participate in the DAM, ERCOT recommends establishing a submission fee so that market participants who value these instruments more are not limited by daily PTP Interval limits
ERCOT will file System Change Request (SCR) to establish submission limits based on PTP intervals following WMS endorsement
ERCOT will continue to monitor DAM submissions and any behavior change (Energy-only Offer and Energy Bid volumes) with the proposed solution

## Slide 6: Questions?

## Slide 7: PTP interval proposal analysis
During the March 22nd WMWG meeting, Market Participants suggested PTP interval limit per CP
ERCOT identified percentiles for OD 4/6/2019 to 12/31/2020 and analyzed numbers to propose the initial PTP interval limit
 | Percentile |  |  |  |  |  | 
Runtime | Average of 95th | 95th of 95th | Average of 98th | 98th of 98th | Average of 99th | 99th of 99th | Max PTP Interval
Long | 7,284 | 8,786 | 10,484 | 13,900 | 12,181 | 18,299 | 20,753
Normal | 5,992 | 8,075 | 9,528 | 13,742 | 11,119 | 17,057 | 23,139
Overall | 6,063 | 8,128 | 9,580 | 13,797 | 11,177 | 17,242 | 23,139

## Slide 8: Comparison of Un-awarded and Awarded PTP Percentage
Median : 50.02 % or 87,481
Average: 49.76 % or 86,551
Median: 40.48 % or 55,641
Average: 40.25 % or 56,053

## Slide 9: Comparison of PTP Submissions among Top 10 CP*
*Top 10 CP is determined by the median of daily PTP submissions.