## Slide 1: Congestion Management Working Group
May 5, 2021
Katie Rich, Chair
Andy Nguyen, VC

## Slide 2: TAC Emergency Conditions Item No. 86
Review constraint management process during EEA3: How much generation was curtailed for congestion including GTCs during EEA3?
  ERCOT to determine amount of curtailed generation
  Better understand curtailments at the time interrupting firm load
  Determine tie to NERC-EOP-011

## Slide 3: OBDRR 026, Change Shadow Price Caps to Curves and Remove Shift Factor Threshold
CMWG focused on three points related to the transmission demand curve:
  Review the impact on irresolvable constraints
  Review the language on the irresolvable constraint threshold
  Review the impact on congestion
At the May meeting, ERCOT will provide data on how often post contingency overloads would exceed $1000 but not exceed 102%
Comments were filed by DC Energy on April 28 stating that:
  Constraints under a 102% flow exceedance may become and stay violated when there is a market solution available under the now existing Shadow Price Caps
  As a result, the increase in constraint violations would in turn lead to more frequent triggering of the irresolvable constraint threshold in current Section 3.6.1 of the Methodology for Setting Maximum Shadow Prices for Network and Power Balance Constraints

## Slide 4: NPRR 1063, Dynamic Rating Transparency
CMWG discussed the need for language revisions to align the NPRR language with the sample report provided by ERCOT
Following the meeting, DC Energy filed comments on April 21
ROS endorsed the NPRR with DC Energy’s comments on April 29

## Slide 5: Next Meeting: May 10
Item No. 86 - Review constraint management process during EEA3: How much generation was curtailed for congestion including GTCs during EEA3?
  Request at TAC to also understand how load shed may have contributed to congestion limitations
OBDRR 026, Change Shadow Price Caps to Curves and Remove Shift Factor Threshold
Spatial granularity of solar production and forecasts
  Currently at the system-wide level, but there’s been a request to breakout by load zone

## Slide 6: Questions?