## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for April 2021

## Slide 2: Non-IRR GREDP < 85% – April 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 282 | 71 | 186 | 1.15 | 38.17
Unit 313 | 7 | 9 | 1.01 | 77.78

## Slide 3: IRR Summary – April 2021
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.67 | 77.77 | 82.53
GREDP Median (%) | 94.75 | 86.67 | 90.33
Average MW Error | 4.08 | 4.34 | 4.61
Median MW Error | 3.80 | 4.33 | 4.45
Total Intervals Scored | 125,870 | 52,751 | 51,688
100+ Intervals Scored | 125 | 141 | 60
Total Intervals Scored Average | 473.19 | 532.84 | 861.47

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 3,722 | 3,745 | 3.09 | 99.39
Unit 3 | 3,589 | 3,591 | 6.32 | 99.94
Unit 4 | 3,390 | 3,425 | 4.30 | 98.98
Unit 5 | 3,197 | 3,203 | 2.95 | 99.81
Unit 6 | 2,684 | 2,773 | 3.10 | 96.79
Unit 7 | 2,697 | 2,726 | 3.04 | 98.94
Unit 8 | 2,598 | 2,599 | 4.07 | 99.96
Unit 9 | 2,359 | 2,364 | 2.57 | 99.79
Unit 12 | 1,981 | 2,017 | 3.11 | 98.22
Unit 13 | 1,909 | 1,970 | 2.65 | 96.90
Unit 14 | 1,901 | 1,957 | 2.39 | 97.14
Unit 15 | 1,850 | 1,872 | 3.97 | 98.82
Unit 16 | 1,774 | 1,815 | 3.10 | 97.74
Unit 19 | 1,723 | 1,724 | 4.29 | 99.94
Unit 22 | 1,679 | 1,679 | 3.55 | 100.00
Unit 23 | 1,679 | 1,679 | 3.06 | 100.00
Unit 24 | 1,617 | 1,628 | 3.83 | 99.32
Unit 25 | 1,483 | 1,491 | 2.30 | 99.46

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 26 | 1,384 | 1,434 | 3.80 | 96.51
Unit 28 | 1,366 | 1,414 | 4.29 | 96.61
Unit 29 | 1,364 | 1,413 | 3.62 | 96.53
Unit 30 | 1,376 | 1,407 | 8.30 | 97.80
Unit 31 | 1,360 | 1,376 | 5.46 | 98.84
Unit 38 | 1,103 | 1,147 | 2.82 | 96.16
Unit 39 | 1,101 | 1,141 | 7.24 | 96.49
Unit 41 | 1,083 | 1,118 | 1.33 | 96.87
Unit 42 | 1,068 | 1,107 | 2.77 | 96.48
Unit 43 | 1,060 | 1,104 | 0.72 | 96.01
Unit 46 | 1,037 | 1,044 | 6.00 | 99.33
Unit 47 | 990 | 1,037 | 2.86 | 95.47
Unit 48 | 1,012 | 1,030 | 1.89 | 98.25
Unit 50 | 909 | 936 | 4.39 | 97.12
Unit 51 | 880 | 908 | 0.69 | 96.92
Unit 53 | 871 | 903 | 5.60 | 96.46
Unit 54 | 867 | 892 | 2.31 | 97.20
Unit 65 | 712 | 723 | 8.61 | 98.48

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 66 | 707 | 710 | 7.04 | 99.58
Unit 68 | 664 | 682 | 3.59 | 97.36
Unit 70 | 631 | 662 | 4.80 | 95.32
Unit 71 | 649 | 655 | 9.44 | 99.08
Unit 73 | 640 | 645 | 1.27 | 99.22
Unit 76 | 583 | 593 | 4.24 | 98.31
Unit 82 | 508 | 508 | 4.06 | 100.00
Unit 85 | 470 | 478 | 7.49 | 98.33
Unit 86 | 450 | 464 | 5.50 | 96.98
Unit 87 | 461 | 464 | 4.56 | 99.35
Unit 88 | 443 | 460 | 5.77 | 96.30
Unit 89 | 415 | 421 | 1.58 | 98.57
Unit 92 | 371 | 380 | 7.04 | 97.63
Unit 96 | 352 | 354 | 4.81 | 99.44
Unit 99 | 315 | 323 | 1.88 | 97.52
Unit 101 | 310 | 311 | 3.27 | 99.68
Unit 102 | 263 | 265 | 3.07 | 99.25
Unit 109 | 203 | 209 | 3.66 | 97.13

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 110 | 207 | 207 | 2.44 | 100.00
Unit 111 | 193 | 193 | 3.62 | 100.00
Unit 112 | 186 | 189 | 3.80 | 98.41
Unit 113 | 175 | 184 | 3.86 | 95.11
Unit 116 | 165 | 170 | 5.81 | 97.06
Unit 117 | 159 | 160 | 3.77 | 99.38
Unit 118 | 156 | 160 | 1.14 | 97.50
Unit 119 | 158 | 159 | 3.30 | 99.37
Unit 121 | 136 | 140 | 3.75 | 97.14
Unit 122 | 133 | 135 | 3.30 | 98.52
Unit 124 | 111 | 113 | 4.02 | 98.23

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – April 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 5,153 | 6,651 | 3.84 | 77.48
Unit 10 | 1,893 | 2,054 | 3.57 | 92.16
Unit 11 | 1,692 | 2,034 | 1.66 | 83.19
Unit 17 | 1,645 | 1,747 | 2.44 | 94.16
Unit 18 | 1,609 | 1,740 | 7.54 | 92.47
Unit 20 | 502 | 1,697 | 4.49 | 29.58
Unit 21 | 1,606 | 1,695 | 4.44 | 94.75
Unit 27 | 556 | 1,426 | 9.00 | 38.99
Unit 32 | 1,248 | 1,317 | 1.52 | 94.76
Unit 33 | 1,167 | 1,234 | 2.74 | 94.57
Unit 34 | 1,069 | 1,231 | 4.77 | 86.84
Unit 35 | 1,095 | 1,225 | 1.97 | 89.39
Unit 36 | 1,000 | 1,181 | 6.19 | 84.67
Unit 37 | 1,106 | 1,180 | 4.47 | 93.73
Unit 40 | 1,070 | 1,131 | 7.08 | 94.61
Unit 44 | 999 | 1,094 | 1.76 | 91.32
Unit 45 | 1,029 | 1,087 | 7.44 | 94.66
Unit 49 | 955 | 1,010 | 6.88 | 94.55

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – April 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 52 | 277 | 903 | 6.92 | 30.68
Unit 55 | 746 | 872 | 2.95 | 85.55
Unit 56 | 818 | 871 | 2.29 | 93.92
Unit 57 | 708 | 842 | 6.12 | 84.09
Unit 58 | 687 | 819 | 8.36 | 83.88
Unit 59 | 564 | 815 | 4.33 | 69.20
Unit 60 | 655 | 787 | 6.26 | 83.23
Unit 61 | 725 | 773 | 8.72 | 93.79
Unit 62 | 715 | 764 | 3.08 | 93.59
Unit 63 | 674 | 759 | 1.75 | 88.80
Unit 64 | 671 | 734 | 5.83 | 91.42
Unit 67 | 590 | 700 | 5.35 | 84.29
Unit 69 | 633 | 676 | 4.56 | 93.64
Unit 72 | 564 | 651 | 5.09 | 86.64
Unit 74 | 573 | 607 | 3.94 | 94.40
Unit 75 | 568 | 603 | 4.05 | 94.20
Unit 77 | 491 | 581 | 3.92 | 84.51
Unit 78 | 367 | 552 | 5.13 | 66.49

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – April 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 79 | 471 | 536 | 5.58 | 87.87
Unit 80 | 416 | 535 | 3.42 | 77.76
Unit 81 | 492 | 533 | 4.97 | 92.31
Unit 83 | 469 | 497 | 4.38 | 94.37
Unit 84 | 300 | 479 | 4.37 | 62.63
Unit 90 | 384 | 413 | 2.63 | 92.98
Unit 91 | 382 | 409 | 3.49 | 93.40
Unit 93 | 329 | 375 | 3.47 | 87.73
Unit 94 | 300 | 375 | 3.10 | 80.00
Unit 95 | 233 | 357 | 6.42 | 65.27
Unit 97 | 240 | 354 | 5.34 | 67.80
Unit 98 | 314 | 334 | 2.47 | 94.01
Unit 100 | 131 | 315 | 3.33 | 41.59
Unit 103 | 239 | 255 | 2.04 | 93.73
Unit 104 | 230 | 247 | 5.27 | 93.12
Unit 105 | 230 | 247 | 2.09 | 93.12
Unit 106 | 166 | 238 | 3.53 | 69.75
Unit 107 | 173 | 218 | 9.62 | 79.36

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – April 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 108 | 201 | 212 | 3.80 | 94.81
Unit 114 | 166 | 181 | 5.79 | 91.71
Unit 115 | 157 | 172 | 4.95 | 91.28
Unit 120 | 11 | 142 | 5.11 | 7.75
Unit 123 | 93 | 114 | 5.58 | 81.58
Unit 125 | 100 | 107 | 5.60 | 93.46