## Slide 1
2021 Update to Rooftop Solar PV Growth Projections
Supply Analysis Working Group
May 18, 2021

## Slide 2: S-Curve Growth Projections
Initial Methodology Proposed at April 12, 2019 SAWG Meeting
  http://www.ercot.com/calendar/2019/4/12/172702-SAWG
Adoption of conservative, moderate, and high renewables scenarios at the April 17, 2020 13, 2019 meeting
  AWS rooftop projections used
  Consensus 3 curves adopted adjusted to match 2015-2019 baseline data
  http://www.ercot.com/content/wcm/key_documents_lists/195745/SAWG_April_2020_Solar_PV_Growth_Projection_Discussion.pptx
Curves revised for 2020
  2020 installed capacity data now available
  2020 Updated UL (previously AWS) rooftop capacity values
    Available capacity increases from 23 GW to 30 GW
    Accounts for advances in Solar panel power output
    Average installed system size increasing
    Result in Increased values for all scenarios

## Slide 3: 2020 Rooftop Solar PV Summary
Total of 990 MW for NOIES plus Competitive Choice areas
  2019 moderate curve projection was 1047 MW (pre-Covid)

## Slide 4: Observations
Scenarios deviate significantly
  Conservative reaches ~2500 by 2024 and ~4500 MW by 2030
  Moderate reaches ~4200 MW by 2024 and ~5900 MW by 2030
  Aggressive reaches ~7100 MW by 2024 and ~7500 MW by 2030
2016-2020 Data matches the “Moderate” profile best (so far).
Discussion?