Date:	May 26, 2021

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR1064, Identification of Chronic Congestion [ERCOT] - NPRR1071, Minor Revisions to the Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities [ERCOT] - NPRR1075, Update Telemetered HSL and/or MPC for ESRs in Real-Time to Meet Ancillary Service Resource Responsibility – URGENT [Key Capture Energy]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1064, Identification of Chronic Congestion [ERCOT] Proposed Effective Date: July 1, 2021 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR better conforms Protocol language to ERCOT’s as-built systems with respect to the evaluation and reporting of chronic congestion. This NPRR also clarifies ERCOT’s expectations and processes regarding the verification of modeling information for elements that are included in the chronic congestion report. PRS Decision: On 4/15/21, PRS unanimously voted via roll call to recommend approval of NPRR1064 as amended by the 3/24/21 ERCOT comments. On 5/13/21, PRS unanimously voted via roll call to endorse and forward to TAC the 4/15/21 PRS Report and Impact Analysis for NPRR1064. - NPRR1071, Minor Revisions to the Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities [ERCOT] Proposed Effective Date: July 1, 2021 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR modifies the threshold for participation by Retail Electric Providers (REPs) from 95% to 98%; the timing requirement for REPs to provide information to ERCOT regarding Demand response deployments from October 15 to October 31; and the posting date for the final report from December 15 to December 31. PRS Decision: On 4/15/21, PRS unanimously voted via roll call to recommend approval of NPRR1071 as submitted. On 5/13/21, PRS unanimously voted via roll call to endorse and forward to TAC the 4/15/21 PRS Report and Impact Analysis for NPRR1071. - NPRR1075, Update Telemetered HSL and/or MPC for ESRs in Real-Time to Meet Ancillary Service Resource Responsibility – URGENT [Key Capture Energy] Proposed Effective Date: To be determined ERCOT Impact Analysis: To be determined Revision Description: This NPRR allows Energy Storage Resource (ESRs) to update their High Sustained Limit (HSL) and/or Maximum Power Consumption (MPC) in Real-Time for the purposes of maintaining sufficient energy to meet an Ancillary Service Resource Responsibility. The ability for ESRs to update their Real-Time HSL and/or MPC would expire at the earlier of system implementation of Real-Time Co-Optimization (RTC) or implementation of a Mitigated Offer Cap (MOC) for ESRs other than the System-Wide Offer Cap (SWCAP). PRS Decision: On 5/13/21, PRS voted via roll call vote to grant NPRR1075 Urgent status; to recommend approval of NPRR1075 as amended by the 4/30/21 ERCOT comments; and to forward NPRR1075 to TAC. There were three abstentions from the Consumer (2) (Nucor and Occidental Chemical) and Independent Generator (Calpine) Market Segments. Credit WG: Pending review Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB) [ERCOT] - NPRR1063, Dynamic Rating Transparency [DC Energy] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage [Broad Reach Power] - NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification [Invenergy] - NPRR1058, Resource Offer Modernization for Real-Time Co-Optimization [Reliant, Luminant, STEC, LCRA, Calpine] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1072, Post Pre-Assigned Congestion Revenue Right (PCRR) Allocation Results to the ERCOT Website [Yes Energy] - NPRR1076, Deadlines for Alternative Dispute Resolution (ADR) Requests Related to Winter Storm Uri [Luminant] - SCR813, NMMS Jointly-Rated Equipment Coordination Confirmation [ERCOT] New Revision Requests Scheduled for Consideration at PRS None at this time. These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr