## Slide 1: Supply Analysis Working Group Report to WMS
June 2, 2021
Caitlin Smith, Chair
Ian Haley, Vice Chair (is in charge today)
Pete Warnken, Vice Chair

## Slide 2: May SAWG Topics
Battery RFI
  Data fields for Batteries, Self-Limiting Facilities (NPRR1026) and DC-coupled Resources (NPRR1029) included in RRGRR023, but not yet available in RIOO
  ERCOT sent RFIs in early February
    Transmission connected projects
    DGRs that submitted RARF
  The template can be downloaded at http://www.ercot.com/content/wcm/lists/168307/Battery_RFI_Template.xlsx
  IEs with planned storage projects that have signed IAs should complete the template and upload to RIOO-IS as an “Other” file type

## Slide 3: May SAWG Topics
Battery RFI – Results to Date

## Slide 4: May SAWG Topics
Battery RFI – Next Steps:
  RFI information is needed for resource adequacy assessments (so turn those in!)
  Julia Matevosyan is the ERCOT lead if you have questions. Julia.Matevosyan@ercot.com
  ERCOT will come back to October SAWG with:
    Update on RFIs
    Analysis of capacity contribution over peak summer hours

## Slide 5: May SAWG Topics
Distributed Generation Trends Update

## Slide 6: May SAWG Topics
Distributed Generation Trends Update

## Slide 7: May SAWG Topics
Proposed NPRR language for DG in the CDR
  Found here: http://www.ercot.com/calendar/2021/5/18/215938-SAWG
    Firm Peak Load
      ERCOT is proposing to add a new variable to the Firm Peak Load calculation that incorporates incremental forecasted peak load reductions from DG solar
      Note – ERCOT is already separating out rooftop solar on the CDR and this would just memorialize it
    Total Capacity Estimate
      Add a new variable to report total DG capacity, along with categorization of DG types in the detailed unit capacities tabs (a current practice)
    Plan to discuss language at June 18th SAWG Meeting

## Slide 8: May SAWG Topics
Wind/Solar Capacity Contributions:
  Proposal to develop a separate summer Summary tab for consideration of possible multi-hour reporting. The tab has the following elements:
    Displays summer 2022 forecast year
    Multiple columns representing the current summer highest-risk hours, HE 1600, 1700, 1800
    Use the associated hourly peak load forecasts
    Develop separate renewable capacity contribution percentages for each of the three hours using several approaches for comparison purposes
  This is currently just a discussion item and not being proposed at this time to replace or augment the current CDR
Probabilistic SARA
  Plan to run again for Summer 2021 like for Summer 2020
  Waiting for updated wind/solar output profiles
  Progress report at June 18th SAWG Meeting

## Slide 9: May SAWG Topics
Solar Regions Capacity Contributions

## Slide 10: May SAWG Topics
Solar Regions Capacity Contributions
Planned solar units are significantly more geographically diverse than operational units
Noticeable difference in summer capacity contribution between West and Non-West
Little difference between West and Far West
Downsides to analysis
  Capacity contribution calculations heavily influenced by the current fleet’s concentration in Far West
  Did not look at the possibility of subdividing Non-West rather than West
Will further look at analysis after new vendor profiles

## Slide 11: Emergency Conditions List from TAC/WMS
*Not discussed at May meeting*
Three Categories of items for SAWG:
  1. Efforts to include risk, extreme weather and impacts of Winter Storm Uri into CDR, SARA and reserve margin reports
    Plan: Address through ongoing efforts at SAWG
  2. Planning items including load forecast methodology and transmission planning studies
    Plan: Possible joint meeting with PLWG
  3. Gas item: “How should capacity reports be modified to include gas market coincident and offsetting risks with electric system?”
    Plan: Continue to coordination with ERCOT and GEWG
    SAWG plan likely limited in scope to adding a reserve margin report scenario with a certain percentage of fuel unavailable over events of certain amounts of time (hours or days)