## Slide 1: DWG Report to ROS
Sam Jung – DWG Chair
June 3rd, 2021

## Slide 2: DWG Update
DWG WebEx meeting held on 5/3/2021
GIC case build responsibility
Off-Peak Case Replacement Request
MOD-026/027 update
DWG Procedure Manual update

## Slide 3: GIC Case Build Responsibility
DWG is opposed to taking on the GIC case build responsibility
GIC case and associated data are of steady-state nature, not dynamic

## Slide 4: Off-Peak Case Replacement Request
DWG would like to replace the current HWLL case with a High Renewable case
DWG will make necessary requests to SSWG and provide specific details such as generation dispatch, penetration, and load level
Timeline would need to be determined in conjunction with SSWG

## Slide 5: MOD-026/027 Update
Per Planning Guide and DWG Procedure Manual, a Resource Entity shall submit new or updated dynamic data within 30 days of the update
Per NERC MOD-26/27, Generator Owners need to verify the models and data and provide the data to its Transmission Planner
With support from TSPs, ERCOT tracks the MOD-026/27 verifications/updates and the corresponding RARF updates
For 2021 Q1, only 1 out of 6 model updates were submitted to RARF/RIOO

## Slide 6: DWG Procedure Manual Update
Language added for the transition to PSSE v35
MOD-026/027, NERC is now responsible for the maintenance of acceptable/unacceptable model list, instead of SAMS
Dynamic models for distributed generation (DG)
  In-service SODG greater than 5 MW will be modeled with dynamic models