## Sheet1
|  | OWG Topics from the Emergency Conditions List |  | 5/27/21 Notes
Item Number | Originating Entity | Item Description
4 | ERCOT/ROS | Load Shed Practices: Coordinate with Transmission Operators to understand the practical and operational limitations of Transmission Operators and related Distribution Service Providers to facilitate rotating Load shed practices when faced with an extreme magnitude of firm Load shed instructions. The extraordinary amount of Load shed, which resulted in outages that could not rotate from one area to another, was an extremely difficult issue during February 15-19. Upon feedback, consider adjusting operational practices between ERCOT and Transmission Operators to achieve effective rotating Load shed objectives. This objective will likely require industry-wide commitment to develop solutions, but after what occurred here, that effort must begin immediately.* | Review load shed practices between ERCOT and TOs to establish effecting rotating load shed objectives | High | Blake Gross
5 | ERCOT/ROS | Outage Scheduler: Explore overall reporting and timing requirement changes to the ERCOT Outage Scheduler to ensure more specific, complete, and accurate information for Forced Outages of Resources during Real-Time operational conditions. Make appropriate system changes to the ERCOT Outage Scheduler to achieve enhanced situational awareness objective.* | Timely and accurate reporting of real-time outages in the ERCOT outage schedule that could include changes to the O.S. | High | Ian Haley
6 | ERCOT/ROS | Resource Telemetry: Ensure accurate exchange of Resource telemetry information related to Physical Responsive Capability (available operating reserves in real time) to enhance situational awareness during EEA events.* | Ensure accurate exchange of Resource telemetry information related to Physical Responsive Capability (available operating reserves in real time) to enhance situational awareness during EEA events.* |  | Lori Simpson - NDSWG re: Telemetry? - Jimmy Jackson/PDCWG
33 | ROS | Load Shed Table: Review the methodology currently used for determining load shed obligations for each Transmission Operator and consider modifications to ensure fair and equitable allocation that prioritizes maintaining service for critical load circuits and enables the ability to rotate outages in future extreme weather events. This review should consider constraints created by requirements for under-frequency relaying. This review should also consider creating separate Load shed tables for winter and summer. There is also calrity needed to ensure only one DSP is counting the Load for meeting the required allocation. Consider excluding auxilary Load from generation within NOIE territory from Load shed obligation. (GSEC/Katie Rich) | Review methodology for determining load shed obligation. Fair and equitable allocations that maintains critical loads, ablility to rotate and constraints caused by UF relays. Possible different LS table for winter and summer | High | Blake Gross/Katie Rich
41 | ROS | DC Ties: Review performance of DC ties during the event and consideration of how this impacts planning assumptions and other policies related to DC ties. | Same as 106. DC Tie performance and its impact to planning assumptions |  | Chad Thompson
49 | ROS | Energy Emergency Alert: Review EEA rules and assess if any changes are warranted. | Energy Emergency Alert: Review EEA rules and assess if any changes are warranted. |  | OWG
51 | ROS | Review GTC Management Process during EEA3: Analyze how much generation was curtailed behind GTCs during EEA3 and assess if changes are warranted around GTC management during emergency conditions. | Changes to GTC management during EEA to prevent generation curtailment |  | Coordinate w/CMWG???
73 | WMS | Should there be different PRC EEA trigger point & ORDC minimum reserves levels for winter and summer given potential for different events? | Should there be different PRC EEA trigger point & ORDC minimum reserves levels for winter and summer given potential for different events? |  | OWG
106 | WMS | How did DC ties perform during the event? Are there any impacts to planning assumptions and other DC tie policies as a result of this event? | Same as 41 |  | Chad Thompson
122 | Eric Easton (CNP) | Review the use of dynamic load shed ratios which more closely align with the specific event and changes in load density by comparing the static load shed table to the dynamic (actual) load ratio shares during the winter event. |  |  | Blake Gross