## Slide 1
2021 February Winter Event Analysis of Load Reductions
Carl L Raish
Principal Load Profiling and Modeling
Demand Side Working Group – May 28, 2021

## Slide 2: Overview
NOIE Load response
Load reductions for NIDR, NMLIGHT, NMFLAT ESIIDs
  NIDR outages extrapolated from matching TDSP, weather zone, profile type
  Non-metered outages extrapolated from matching TDSP, weather zone, Residential with AMS
Response from ESIIDs
  Deployed for ERS
  Deployed as Load Resources providing RRS
  Price Response (including 4CP responders)
Additional Subgroup break outs
  Various combinations
  Weather Zones
  TDSP (competitive)
Settlement Only Generators/Puns (analysis not started)

## Slide 3: ESI ID Attributes in Data
Profile Type
Weather Zone
TDSP
Load Resource
ERS Site
Outage during event
Indexed pricing (based on 2020 survey)
4CP responder (based on 2020 analysis)
Analysis of many combinations possible
Reporting on several … feedback requested on any additional

## Slide 4: Load Reductions (Competitive/NOIE)
Includes NIDR and Non-Metered Reduction Estimates

## Slide 5: Load Reductions (Competitive/NOIE)
Includes NIDR and Non-Metered Reduction Estimates

## Slide 6: Deployed Load Resources

## Slide 7: All Deployed Load Resources
ESI ID-level reductions

## Slide 8: Load Resource – Only
ESI ID-level reductions

## Slide 9: Load Resources - Indexed Pricing
ESI ID-level reductions

## Slide 10: Load Resources – 4CP Responders
ESI ID-level reductions

## Slide 11: Load Resources – Outage ESIIDs
ESI ID-level reductions

## Slide 12: ERS Load

## Slide 13: All Deployed ERS ESIIDs
Load response … excludes ERS Generators and co-located load

## Slide 14: Deployed ERS Only ESIIDs
Load response … excludes ERS Generators and co-located load

## Slide 15: Deployed ERS Indexed Pricing ESIIDs
Load response … excludes ERS Generators and co-located load

## Slide 16: Deployed ERS 4CP Responders
Load response … excludes ERS Generators and co-located load

## Slide 17: Deployed ERS Outage ESI IDs
Load response … excludes ERS Generators and co-located load

## Slide 18: Outage ESIIDs

## Slide 19: All Outage ESIIDs

## Slide 20: Outage Only ESIIDs

## Slide 21: Weather Zone Load Reductions

## Slide 22: COAST

## Slide 23: EAST

## Slide 24: FWEST

## Slide 25: NCENT

## Slide 26: NORTH

## Slide 27: SCENT

## Slide 28: SOUTH

## Slide 29: WEST

## Slide 30: TDSPs

## Slide 31: AEP Central

## Slide 32: AEP North

## Slide 33: Centerpoint

## Slide 34: Nueces

## Slide 35: Oncor

## Slide 36: TNMP

## Slide 37: Next Steps
Other combinations – feedback appreciated
Settlement Only Generators/Puns

## Slide 38: Questions?
ON
OFF
craish@ercot.com 512/248-3876