| Date: | May 31, 2021 |
| --- | --- |
| To: | Board of Directors |
| From: | Clif Lange, Technical Advisory Committee (TAC) Chair |
| Subject: | Non-Unanimous Nodal Protocol Revision Request (NPRR) Recommended by TAC for Approval |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date: June 7-8, 2021 Item No.: 10.1

##### Issue: ##### Consideration of Nodal Protocol Revision Request (NPRR) 1075, Update Telemetered HSL and/or MPC for ESRs in Real-Time to Meet Ancillary Service Resource Responsibility, recommended for approval by TAC (with opposing votes recorded).

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote; (ii) for NPRRs, ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability; and (iii) ERCOT supports the revision request. - NPRR1075, Update Telemetered HSL and/or MPC for ESRs in Real-Time to Meet Ancillary Service Resource Responsibility – URGENT [Key Capture Energy] Revision Description: This NPRR allows Energy Storage Resources (ESRs) to update their High Sustained Limit (HSL) and/or Maximum Power Consumption (MPC) in Real-Time for the purposes of maintaining sufficient energy to meet an Ancillary Service Resource Responsibility. The ability for ESRs to update their Real-Time HSL and/or MPC would expire at the earlier of system implementation of Real-Time Co-Optimization (RTC) or implementation of a Mitigated Offer Cap (MOC) for ESRs other than the System-Wide Offer Cap (SWCAP). Proposed Effective Date: June 9, 2021 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. (There are no additional budget or system impacts beyond what was captured in Real-Time Co-Optimization (RTC) and NPRR1014, BESTF-4 Energy Storage Resource Single Model.) TAC Decision: On 5/26/21, TAC voted via roll call to recommend approval of NPRR1075 as recommended by PRS in the 5/13/21 PRS Report, and the Impact Analysis for NPRR1075, with a recommended effective date of upon ERCOT Board approval. There were two opposing votes from the Consumer (CMC Steel Texas, Air Liquide) Market Segment and one abstention from the Independent Generator (Calpine) Market Segment. The TAC Report and Impact Analysis for NPRR1075 are included in the ERCOT Board meeting materials. In addition, NPRR1075 and supporting materials are posted on the ERCOT website.

##### Key Factors Influencing Issue: The PRS discussed the issues, and submitted a report to TAC regarding NPRR1075.

##### Conclusion/Recommendation: As more specifically described above, TAC recommends that the ERCOT Board approve NPRR1075.

ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

BOARD OF DIRECTORS RESOLUTION

WHEREAS, after due consideration of the alternatives, the Board of Directors (Board) of Electric Reliability Council of Texas, Inc. (ERCOT) deems it desirable and in the best interest of ERCOT to approve Nodal Protocol Revision Requests (NPRR) 1075, Update Telemetered HSL and/or MPC for ESRs in Real-Time to Meet Ancillary Service Resource Responsibility, recommended for approval by TAC:

THEREFORE, BE IT RESOLVED, that the ERCOT Board hereby approves NPRR1075.

CORPORATE SECRETARY’S CERTIFICATE

I, Vickie G. Leady, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its June 7-8, 2021 urgent meeting by teleconference, the ERCOT Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ___ day of June 2021.

______________________________

Vickie G. Leady

Assistant Corporate Secretary