## Slide 1
2021 February UFE Review
Randy Roberts
July 2021 WMS

## Slide 2: February 2021 Daily Average % UFE - Initial & Final

## Slide 3: Daily Average % UFE & TLF

## Slide 4: Potential Improvements to UFE
Improvement for “all” settlements
Use of EMS-calculated transmission losses vs. calculated seasonal base case losses in settlements
Improvement for “initial” settlement
Continued transition of “BUSIDRRQ” to standard “AMS” profile type codes (and LPGRR068 profile type codes once available)
Improvement for “initial” settlement during wide-spread outage
ERCOT system modification to “turn off estimation” during wide-spread outage events (possibly by weather zone)
TDSP system modifications to better address wide-spread outages as related to AMS meter data
Above two items captured at the Retail Emergency Conditions Task Force

## Slide 5: UFE Allocation Review
There are three UFE allocation categories
  NIDR Premises (< 1% of ERCOT load)
  Distribution IDR Premises (almost every AMS Premise is in this category)
  Transmission IDR Premises (transmission connected BUSIDRRQ or AMS)
Allocation is Load-Weighted (not a straight load ratio share)
  NIDR Factor = 1
  Distribution IDR Factor = 0.5
  Transmission IDR Factor = 0.1
After UFE category summation and UFE factor is applied, each category’s load ratio share is calculated to determine how much UFE will be allocated to each category
Final step allocates UFE to each load segment on a load ratio share basis
  Load segment volume/category total volume * category UFE

## Slide 6: UFE Category Load Volume/UFE Percentage Shift During February Event
The next four charts are included to show why there was an increase in the UFE percentage allocated to distribution IDR load volumes

## Slide 7: UFE Category Load Volumes (prior to UFE)

## Slide 8: NIDR Load and UFE Percentage

## Slide 9: Transmission IDR Load and UFE Percentage

## Slide 10: Distribution Load and UFE Percentage