## Slide 1: Congestion Management Working Group
June 2, 2021

## Slide 2: TAC Emergency Conditions Item No. 86
Review constraint management process during EEA3: How much generation was curtailed for congestion including GTCs during EEA3?
ERCOT provided a presentation on generation curtailment by constraints
Stakeholders also asked ERCOT to review how load shed may have contributed to congestion limitations
  Will bring this back in June to also look at more targeted load shed
  Joint meeting with OWG following discussion of Item No. 51 at the May 27 meeting (similar to Item No. 86)

## Slide 3: OBDRR 026, Change Shadow Price Caps to Curves and Remove Shift Factor Threshold
ERCOT provided a presentation on historical constraint shadow prices and loading levels
  The results showed the percent violation of the constraint (100 – 102%) and shadow price between $500/MWh and $1000/MWh for each year and voltage level
Stakeholders also wanted to understand how often high overloads (above 125%) are found to be cascading

## Slide 4: Spatial Granularity of Solar Production and Forecasts
There was a stakeholder proposal to provide more granular solar data given the increase in solar facilities
Currently, have defined wind regions and would like to do something similar for solar
ERCOT will be bringing more information to the June meeting
  Want to ensure there is sufficient solar in an area to prevent release of unit data

## Slide 5: Next Meeting: June 14
Item No. 86 - Review constraint management process during EEA3: How much generation was curtailed for congestion including GTCs during EEA3?
  Request at TAC to also understand how load shed may have contributed to congestion limitations
  Joint meeting with OWG
OBDRR 026, Change Shadow Price Caps to Curves and Remove Shift Factor Threshold
Spatial granularity of solar production and forecasts
  Currently at the system-wide level, but there’s been a request to breakout by load zone
ERCOT’s process for managing constraints when beginning and ending transmission outages

## Slide 6: Questions?