## Slide 1
PUC Project No. 46304 Directive Status Summary
Janice Ayson
Strategic Advisor
WMS and ROS Meetings
June 2021

## Slide 2: PUC Project No. 46304 Directive Status Summary
Directive | Details | Status Description | Status
Directive #1 Determine market participation category | NPRR857 and NOGRR177 approved on 10/09/2018. Language grey-boxed until implementation is complete. | Target implementation start and go-live dates are not yet determined. | On Hold
Directive #1 Determine appropriate market segment | Proposed bylaw segment definition amendment withdrawn at this time. | Expected to reinitiate at a later date. | On Hold
Directive #2 Execution of any necessary coordination agreements |  | Scheduled target start following DC Tie construction start. | Not Started
Directive #3 Determination regarding ramp rate restrictions | Board approved on 12/08/2020 |  | Complete
Directive #4 Development of methodology for outage coordination | Board approved on 10/08/2019 |  | Complete
Directive #5 Determination of planning model assumptions and considerations | Board approved on 04/09/2019 |  | Complete
Link to Dashboard on ERCOT.com: http://www.ercot.com/mktrules/puctDirectives/southernCross

## Slide 3: PUC Project No. 46304 Directive Status Summary
Directive Determination | Details | Status Description | Status
Directive #6 Determination regarding any needed transmission upgrades | Study complete. Findings and recommendation tied to Directive #8 Voltage Support. | No Revision Request(s) are anticipated. Whitepaper planned to run in parallel with Directive #8 Voltage Support whitepaper following Directive #8 Revision Request(s) approvals. | In Progress
Directive #7 Determination as to how to manage congestion caused by DC tie | Board approved 02/11/2020 |  | Complete
Directive #8 Determination regarding Primary Frequency Response | Board approved 08/07/2018 |  | Complete
Directive #8 Determination regarding Voltage Support | Interconnection studies conducted as part of Directive #6 considered whether voltage support is needed. Proposal to require 0.95 power factor endorsed by ROS and TAC. | Revision Request(s) in progress internally at ERCOT. Expected to be posted with IAs when ready. | In Progress
Directive #9 Determination regarding modifications to Ancillary Services | NPRR999 Board approved on 02/09/2021. Whitepaper is in progress. | Whitepaper reviewed by PDCWG on 5/13/2021. Expected to be reviewed again on 6/16/2021. Following PDCWG’s endorsement, whitepaper will move to ROS for endorsement. | In Progress

## Slide 4: PUC Project No. 46304 Directive Status Summary
Directive Determination | Details | Status Description | Status
Directive #10 Determination regarding price formation under emergency conditions | Board approved on 10/09/2018 |  | Complete
Directive #11 Determination regarding allocation of costs identified in PUC Docket No. 45624 | Target start for Stakeholder discussions not yet scheduled. | Planning to begin Stakeholder discussions after resolution of Directives #6, #8 and #9. | Not Started
Directive #12 Determination regarding possible allocation of export-related costs to QSEs | Target start for Stakeholder discussions not yet scheduled. | Planning to begin Stakeholder discussions after resolution of Directives #6, #8 and #9. | Not Started
Directive #13 ERCOT reporting of status of work on Directives to PUCT | ERCOT periodic reporting of status of work on Directives to PUCT is ongoing. |  | In Progress
Directive #14 ERCOT updates to PUCT regarding completion dates for Directives 1 to 12 | ERCOT periodic reporting of status of work on Directives to PUCT is ongoing. |  | In Progress