## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Murali Sithuraj
June 2, 2021
From May 17 WMWG Meeting

## Slide 2: Emergency Conditions Issues List
Follow-up on Ancillary Services discussion from PDCWG
  PDCWG would like to know what product changes WMWG would recommend
  ERCOT is assessing the performance of A/S providers during the event
  Will plan on a joint meeting in July to review the results
  Volunteers have agreed to work on the issues off line
Opportunities on Ancillary Services include
  Changing FFR design to get better participation in this service
  Change the EE procedures around RRS deployments and recall
  Review Non-spin and ECRS

## Slide 3: Emergency Conditions Issues List
Issue 99 - Review converge of ORDC & PRC during the event
  No further comments.
  Only recommendation - Load curtailment should be accounted in ORDC calculation – This is a separate item waiting on PUCT direction
  Item can remain open while the longer term issues are being reviewed for possible impacts
Issue 100 - How did batteries providing FFR perform?
  ERCOT presented on the output of ESR’s during the event compared to the expected output.
    Preliminary observation shows
      ESR-Gen were not at expected level most of the intervals.
      ESR-CLR provided more response most of the intervals - meaning charging higher than expected during the low frequency event.
    ERCOT will review these differences with the QSE’s
    Discussed the charging restrictions during emergencies – unless directed by ERCOT
Noted that telemetry issues factored into both items 99 and 100
  Item #6 covers telemetry –CPS Energy volunteered for this item

## Slide 4: SCR 811 and Intra Hour Solar Forecast
ERCOT presented that the software changes associated with SCR811 will go live May 27 with the constant set to zero.
SCR811 will incorporate a intra-hour solar forecast based ramp into Generation To Be Dispatched (GTBD) to give Security Constrained Economic Dispatch (SCED) a indication of how the solar units may ramp.
The constant will be set to non zero values beginning June 1.
ERCOT sent a market notice concerning increased regulation amounts on June 1 -3
After that, the regulation quantities will go to the post 811 values published in the AS methodology

## Slide 5: Remaining Near-Term items from the Emergency Conditions Issues List
#7 - DER Registration
  ERCOT, Clayton Stice, will submit an NPRR concerning increased telemetry requirements
    Noted that DER is not defined in ERCOT
    NPRR1077 will be taken up following the normal process
#49 - Energy Emergency Alert: Review EEA rules and assess if any changes are warranted
  Will work with OWG on this item
#35 - Procedures during Natural Gas Supply Emergency
  Interested parties should follow the work of the GEWG
  I will report progress to WMWG

## Slide 6: Joint Meeting on GTC NPRR’s
NPRR1056 Market Impact Generic Transmission Constraint (GTC) Notification
  ERCOT request the specific information that market wants released be listed
  NPRR author will issue comments to address the ERCOT comments
NPRR1070 Planning Criteria for GTC Exit Solutions
  Needs further discussion
These NPRR’s should remain tabled

## Slide 7: Assignments/volunteers on the Emergency Issues List
Item # | Title | Groups | Assigned
6 | Resource Telemetry | PDC/OWG | Jimmy Jackson/CPS
30 | Frequency Relay Points/Load Shed | PDC/SPWG | Percy Galliguez/Brazos
44 | Review existing AS | PDC/WMWG | Emily Black-Huynh & Kevin Bunch/EDF
45 | Analyze frequency leading to EEA | PDC | Bracy Nesbit/LCRA
90 | Same topic as #44? |  | 
91 | Role for FFR | PDC/WMWG | Marty Downey/? & Ian Haley/Vistra
100 | ESRs providing FFR | PDC | Marty Downey/? & Ian Haley/Vistra
10X | ESR qualification for AS & duration impacts | Marty Downey/? & Ian Haley/Vistra | 
10Y | Assess dynamic stability & UFRs | Stewart Rake/Luminant | 

## Slide 8: Next meeting
WMWG June 21
Any questions?