## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
June 3, 2021

## Slide 2: TAC Emergency List Review
Item Number | Owner | Item Description | Priority | Action Taken/Planned
29 | ROS | Load Impact to GTCs: Determine the impact of load shed on generation curtailments for generation tied to a GTC. | Med | Coordinate with developments in critical load definitions. Review in conjunction with item 51
41 | ROS | DC Ties: Review performance of DC ties during the event and consideration of how this impacts planning assumptions and other policies related to DC ties. | Med | Info requested from ERCOT
47 | ROS | Transmission Planning Studies: Review existing transmission planning study assumptions and processes and determine if any adjustments are needed to adequately prepare for future extreme weather events including changes in assumptions for demand, generation, dispatch, and system constraints. | High | Case building info requested Review of Planning Guide Section 3 Investigate need to develop parameters to define extreme events
49 | ROS | Energy Emergency Alert: Review EEA rules and assess if any changes are warranted. | Med | OWG expected to lead.
51 | ROS | Review GTC Management Process during EEA3: Analyze how much generation was curtailed behind GTCs during EEA3 and assess if changes are warranted around GTC management during emergency conditions. | Med | Info requested from ERCOT
93 | ROS/WMS | Are adjustments to the load forecasting methodology, scenario analysis and trend analysis needed in light of this event? | High | Requesting information on developing ERCOT-wide load forecast for planning.
94 | ROS/WMS | How should we revise extreme winter cases for planning assessments? | High | See comments on 47.
105 | ERCOT | How did SODG perform? | Med | 
106 | ROS/WMS | How did DC ties perform during the event? Are there any impacts to planning assumptions and other DC tie policies as a result of this event? | Info Requested from ERCOT | Info Requested from ERCOT

## Slide 3: TAC Emergency List Review
Item Number | Originating Entity | Item Description | PLWG Notes
 | Eric Easton (CNP) | Assessment of dynamic stability had the under frequency relays asserted during the winter storm event. Given the amount of non-under frequency load shed, the percentage of under frequency load in-service had increased. If the increased percentage of under frequency load had been shed would generation remain stable? | Monitor and incorporate outcomes into planning requirements
 | Eric Easton (CNP) | Review the use of dynamic load shed ratios which more closely align with the specific event and changes in load density by comparing the static load shed table to the dynamic (actual) load ratio shares during the winter event. | Monitor and incorporate outcomes into planning requirements
43 | ROS | Reliability Studies for Proposed Resource Retirements: Review existing reliability must run (RMR) and must-run alternative (MRA) study and processes and determine if any changes to study parameters are needed, including winter peak and planned and forced outage scenarios and generation resource dispatch. Consider extension of RMR process to units proposed for seasonal mothball. | Monitor and incorporate outcomes into planning requirements
92 | WMS | Should the Reliability Must Run (RMR) processes be extended to units proposed for seasonal mothball? Are the RMR and Must Run Alternative study and processes sufficient or are changes to study parameters, such as winter peak-, planned/forced outage-, or resource dispatch-scenarios, needed? | Monitor and incorporate outcomes into planning requirements
77 | WMS | Should there be a set reliability requirement? | Need more information
Items reported at last meeting now assigned to other groups

## Slide 4: Other Business
Discussion of P6 Overlapping Single Contingencies
  LCRA TSC reviewed Draft PGRR
  LCRA TSC received comments and will consider them for next draft.
  Discussion centered around:
    Inclusion of double-circuit contingencies as a single contingency
    Implementation date.
PGRR 090 – Additional Flexibility for Updates to Net Max Sustainable Rating (no discussion this month)
KTC 15-6 RMR and MRA Services for Battery Energy Storage
  Current protocols do not include BES for RMR and MRA designation.
  ERCOT to have additional input at next meeting.

## Slide 5: PLWG/OWG/CMWG meeting
May 17
NPRR 1056 - Market Impact Generic Transmission Constraint (GTC) Notification
  No consensus to move forward.
  ERCOT stressed the need to retain integrity of ECEII.
NPRR 1070 - Planning Criteria for GTC Exit
  Consensus to remain tabled
  Need to review in light of legislative outcomes

## Slide 6: Questions?