## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: Jimmy Jackson, CPS
ROS
June 03, 2021

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-2 FMEs & IMFR
    2 FMEs in the month of April
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 04/08/2021
  Review of emergency conditions list from ROS
  February cold weather event follow up discussion
  Review of Southern Cross Directive 9 White Paper
  SCR-811 Incorporation of PVGR in GTBD for Summer 2021
  ERCOT reports

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There were 2 FMEs in April
  4/28/2021 21:03:22
    Loss of 529 MW
    Interconnection Frequency Response: 1080 MW/0.1 Hz
    12 of 66 Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    13 of 66 Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.
  4/30/2021 22:14:50
    Loss of load of 780 MW
    Interconnection Frequency Response: 867 MW/0.1 Hz
    8 of 42 Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    7 of 42 Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 471 MW/0.1 Hz

## Slide 7: Frequency Control Report
March 2021

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections

## Slide 12: ERCOT Total Energy
Notes: 28,071,084 MWh

## Slide 13: ERCOT Total Energy from Wind Generation
Notes: 8,907,804 MWh

## Slide 14: ERCOT % Energy from Wind Generation
Notes: 31.73%

## Slide 15: ERCOT Total Energy from Solar Generation
Notes: 982,403 MWh

## Slide 16: ERCOT % Energy from Solar Generation
Notes: 3.50%

## Slide 17
Questions?