## Slide 1
RLR Reminder
Mario Alberto de la Garza
6/9/2021

## Slide 2: Topics
Background
Modeling Expectations
Next Steps

## Slide 3: Background
NPRR 953 required for TSPs and REs to provide the Relay Loadability Rating (RLR) for the Network Operations Model (NOM).
ERCOT assisted TSPs and REs in the initial modeling of the RLR in the NOM.
ERCOT RLR implementation in Real Time Analysis went live on September 2020.

## Slide 4: Modeling Expectations
After discussions at the Jan 2020 RLR Workshops and at NDSWG meetings, the following criteria was agreed by TSPs and ERCOT on when to submit RLR updates.
Included in the Modeling Expectations document on ERCOT.com
 | Criteria | Submission Type
Actively Maintained | Value < 150% of Static Emergency Rating (2 Hour Rating) for all Transmission Facilities. Or Value < 125% of Static 15 Minute Rating. | Standard or Interim Submission.
Periodically Maintained | Any Transmission Facility not meeting the Actively Maintained criteria. | At least annually.

## Slide 5: Next Steps
Review your periodically maintained list.
  Reports are available in the NMMS_REPORT folder in the NMMS_POSTINGS (Citrix).
Submit NOMCRs as needed.

## Slide 6
QUESTIONS?