## Slide 1: Emergency Conditions List
ROS & WMS Update to TAC
June 23, 2021

## Slide 2: OVERVIEW
Status Updates
Assignment Updates
Proposed Deletions

## Slide 3: STATUS UPDATES
ROS
Item #30 (Frequency Relay Points): NOGRR226 has been filed and referred to OWG & PDCWG
Item #34 (Black Start Units): BSWG has reviewed resource availability and continues to discuss proposed rule changes

## Slide 4: STATUS UPDATES
WMS
Item #99 (ORDC, PRC Convergence): WMWG has completed its review of the reasons for difference between PRC and ORDC. Recommends to account load curtailment in ORDC; ERCOT has submitted NPRR1081; will keep this item open while longer term items continue to be reviewed
Item #101(ERS $ spend for Uri ): DSWG review completed – Spend $12,455,453 for Feb1-23 and Spend $7,675,163 for Feb 24- May
Item #102 (ERS performance): DSWG review completed - ERS Loads generally over-provided 30%-35% above the combined fleet-level obligation during the Winter Event. ERS Generators generally failed to meet their combined obligation during the Winter Event - 50%-55% below the combined fleet-level obligation due to forced outage

## Slide 5: STATUS UPDATES, cont.
Joint ROS/WMS Items
Item #7 (DER Registration): ERCOT has submitted NPRR1077 (referred to OWG); WMWG continues to review this item
WMWG/PDCWG joint meeting being planned for July to discuss item #44 (AS products, AS amounts, market impacts)
CMWG/OWG joint discussion was held at CMWG’s June 14th meeting to review item #86 (GTC/constraint management during EEA3)

## Slide 6: ASSIGNMENT UPDATES
Several list items have been updated to reflect the correct ROS, WMS, or joint ownership along with the appropriate working group assignments
Lead contacts have been assigned to several items being reviewed at OWG
Recent additions to the list have been assigned to appropriate working groups
  Item #121 (Dynamic Stability Assessment of UF scenario – DWG), Item #122 (Dynamic Load Shed Ratios – OWG), Item #124 (NFRC vs. PRC Reserves when RRS is released – PDCWG)
(See appendix for details)

## Slide 7: PROPOSED DELETIONS
Several items are essentially duplicates or have been combined for ease of review
ROS, WMS leadership have reviewed each item to ensure the full intent of each proposed deletion is captured in the item to keep
With TAC’s approval, we will delete the following items:
Description Summary | Item # to Keep | Item # to Delete
Review blackstart unit availability; consider potential improvements | 34 | 60
Review DC tie performance, consider planning assumptions and policies | 41 | 106
Review RMR and MRA study processes; consider potential improvements | 43 | 92
Review the suite of AS products and amounts; consider potential improvements | 44 | 90
Review GTC Management process during EEA3; assess if changes are warranted | 86 | 51

## Slide 8
QUESTIONS?

## Slide 9: APPENDIX – UPDATE DETAILS
Item | Owner | Update | Comment
4 | ROS | Update Comment | Added "Lead OWG Contact: Blake Gross"
5 | ROS | Update Comment | 1. Added "Lead OWG Contact: Ian Haley" 2. Removed "ROS"
6 | ROS | Update Comment | Added "Lead OWG Contact: Lori Simpson"
7 | ROS/WMS | Update Comment, Update Status | 1. Changed status to "In Progress“ 2. Added Other Comment "ERCOT has submitted NPRR1077” 3. Removed “ROS WG?” and added OWG to review
29 | ROS | Update Comment, Update Status | 1. Added "Joint OWG / CMWG discussion at 6/14 meeting" 2. Changed status to "In Progress"
30 | ROS | Update Comment, Update Status | 1. Added "NOGRR 226 filed" 2. Changed status to "In Progress"
33 | ROS | Update Comment | Added "Lead OWG Contact: Blake Gross"
34 | ROS | Update Comment, Update Status | 1. Added "Reviewed BS resource availability during winter storm; proposed rule changes discussed" 2. Changed status to "In Progress"
41 | ROS/WMS | Update Comment, Update Status | 1. Added SAWG to review 2. Changed ownership to "ROS/WMS" 3. Changed status to "In Progress" 4. Added "Lead OWG Contact: Chad Thompson"

## Slide 10: APPENDIX – UPDATE DETAILS
Item | Owner | Update | Comment
43 | ROS/WMS | Update Comment | 1. Added WMWG to review 2. Changed ownership to "ROS/WMS"
44 | ROS/WMS | Update Comment, Update Status | 1. Changed status to "In Progress" 2. Added WMS comment "planning for a joint meeting with PDCWG in July"
47 | ROS | Update Status | Changed status to "In Progress"
48 | ROS/WMS | Update Status | Changed status to “In Progress”
50 | ROS/WMS | Update Status | Changed status to “In Progress”
51 | ROS | Delete Item | Deleted Item 51 (review of congestion management during EEA3 covered in Item 86)
60 | ROS | Delete Item | Deleted Item 60 (review of blackstart resources covered in Item 34)
86 | ROS/WMS | Update Comment, Update Status | 1. Added "Joint OWG / CMWG discussion at 6/14 CMWG meeting" 2. Added "and assess if changes are warranted" to Item Description 3. Changed ownership to "ROS/WMS" 4. Changed status to "In Progress"

## Slide 11: APPENDIX – UPDATE DETAILS
Item | Owner | Update | Comment
87 | WMS | Update Status | Changed status to “In Progress”
90 | WMS | Delete Item | Deleted Item 90 (review of Ancillary Services covered in Item 44)
92 | ROS/WMS | Delete Item | Deleted Item 92 (review of RMR and MRA processes covered in Item 43)
93 | ROS/WMS | Update Status | Changed status to "In Progress"
94 | ROS/WMS | Update Status | Changed status to "In Progress"
96 | WMS | Update Status | Changed status to "In Progress"
99 | WMS | Update Comment, Update Status | 1. Changed status to "In Progress" 2. Added "Review complete with recommendation to account for load curtailment in ORDC calculation; item will remain open while longer term items continue to be reviewed"
100 | ROS/WMS | Update Comment, Update Status | 1. Changed status to "In Progress" 2. Changed ownership to “ROS/WMS”
101 | ERCOT | Update Comment, Update Status | Changed status to “Completed” Added WMS note “Spend $12,455,453 for Feb1-23 and Spend $7,675,163 for Feb 24- May”

## Slide 12: APPENDIX – UPDATE DETAILS
Item | Owner | Update | Comment
102 | ERCOT | Update Comment, Update Status | Changed status to “Completed” Added WMS note “ERS Loads generally over-provided 30%-35% above the combined fleet-level obligation during the Winter Event. ERS Generators generally failed to meet their combined obligation during the Winter Event - 50%-55% below the combined fleet-level obligation due to forced outage
106 | ROS/WMS | Delete Item | Deleted Item 106 (DC Tie Performance review plus policy considerations covered in Item 41)
107 | WMS | Update Status | Changed status to “In Progress”
121 | ROS | Update Comment | Added DWG to review
122 | ROS | Update Comment | Added OWG to review
123 | WMS | Update Status | Changed status to “In Progress”
124 | ROS | Update Comment | Added PDCWG to review