## Slide 1: TAC Load Shed Conditions Update to OWG
June 17, 2021

## Slide 2: TAC Load Shed Conditions Update to OWG
#4 Load Shed Practices:
  This issue identified in memo from Bill Magness
  ERCOT has issued and is compiling the results of a survey of Transmission Operators. This information will be used to inform the commission.
  Further work will be under the commission’s authority under Project 51888.
  Review section 4 of the Operating Guides in light of the experience and, in particular, to determine and clarify the treatment of UFLS load during EEA3.

## Slide 3: TAC Load Shed Conditions Update to OWG
#33 Load Shed Table: Review methodology currently used.
  SB 3 requires a transition to seasonal load shed tables.
  PUCT Rulemaking in Project 51888
  Questions and considerations:
    Consider excluding auxiliary Load from generation within NOIE territory from Load shed obligation.
      Do we want to consider transitioning to a “curtailable load allocation” by considering what is “shed-able” load since GR auxiliary load is not?
    Should the loads affecting a GTC be included in the load shed table? (#51 CMWG)

## Slide 4: TAC Load Shed Conditions Update to OWG
  #122 Review the use of dynamic load shed ratios which more closely align with the specific event and changes in load density.
    Discuss further. Cannot be confusing and cannot delay load shed. Need to be careful of overcorrections.
    Requires analysis.