## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for May 2021

## Slide 2: Non-IRR GREDP < 85% – May 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 308 | 19 | 23 | 4.46 | 82.61

## Slide 3: IRR Summary – May 2021
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 84.70 | 71.18 | 82.64
GREDP Median (%) | 95.59 | 85.71 | 89.43
Average MW Error | 5.86 | 6.08 | 6.40
Median MW Error | 5.50 | 5.61 | 5.68
Total Intervals Scored | 75,370 | 40,716 | 40,356
100+ Intervals Scored | 113 | 156 | 67
Total Intervals Scored Average | 280.19 | 419.75 | 602.33

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – May 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,112 | 2,123 | 5.93 | 99.48
Unit 5 | 1,616 | 1,685 | 5.48 | 95.91
Unit 7 | 1,600 | 1,643 | 3.14 | 97.38
Unit 8 | 1,528 | 1,574 | 4.97 | 97.08
Unit 9 | 1,563 | 1,570 | 7.20 | 99.55
Unit 11 | 1,407 | 1,417 | 3.91 | 99.29
Unit 12 | 1,326 | 1,342 | 4.47 | 98.81
Unit 13 | 1,339 | 1,341 | 3.66 | 99.85
Unit 14 | 1,333 | 1,334 | 5.49 | 99.93
Unit 16 | 1,221 | 1,245 | 5.84 | 98.07
Unit 17 | 1,157 | 1,188 | 5.63 | 97.39
Unit 18 | 1,114 | 1,162 | 5.11 | 95.87
Unit 22 | 986 | 1,011 | 4.34 | 97.53
Unit 24 | 905 | 914 | 9.57 | 99.02
Unit 26 | 850 | 887 | 1.82 | 95.83
Unit 32 | 807 | 807 | 6.48 | 100.00
Unit 35 | 768 | 773 | 2.76 | 99.35
Unit 37 | 734 | 769 | 2.76 | 95.45

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – May 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 44 | 613 | 645 | 9.85 | 95.04
Unit 46 | 642 | 643 | 5.08 | 99.84
Unit 49 | 613 | 624 | 4.74 | 98.24
Unit 50 | 604 | 620 | 3.36 | 97.42
Unit 52 | 567 | 575 | 2.32 | 98.61
Unit 53 | 566 | 568 | 8.10 | 99.65
Unit 55 | 555 | 563 | 6.08 | 98.58
Unit 57 | 540 | 545 | 1.40 | 99.08
Unit 58 | 523 | 542 | 8.10 | 96.49
Unit 59 | 533 | 541 | 8.82 | 98.52
Unit 61 | 523 | 535 | 6.33 | 97.76
Unit 62 | 517 | 524 | 6.44 | 98.66
Unit 63 | 487 | 507 | 1.79 | 96.06
Unit 69 | 435 | 438 | 2.22 | 99.32
Unit 79 | 310 | 319 | 7.33 | 97.18
Unit 80 | 290 | 303 | 2.50 | 95.71
Unit 81 | 289 | 302 | 7.25 | 95.70
Unit 82 | 298 | 299 | 12.31 | 99.67

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – May 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 90 | 230 | 238 | 7.47 | 96.64
Unit 93 | 226 | 233 | 4.10 | 97.00
Unit 94 | 226 | 232 | 4.21 | 97.41
Unit 97 | 194 | 202 | 4.73 | 96.04
Unit 98 | 193 | 196 | 8.07 | 98.47
Unit 99 | 192 | 192 | 7.43 | 100.00
Unit 100 | 185 | 190 | 7.08 | 97.37
Unit 104 | 177 | 178 | 6.78 | 99.44
Unit 109 | 148 | 155 | 5.85 | 95.48
Unit 112 | 105 | 108 | 4.52 | 97.22

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – May 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 1,757 | 2,074 | 4.19 | 84.72
Unit 3 | 1,656 | 1,783 | 3.15 | 92.88
Unit 4 | 1,613 | 1,781 | 5.64 | 90.57
Unit 6 | 1,558 | 1,650 | 7.67 | 94.42
Unit 10 | 1,338 | 1,433 | 1.77 | 93.37
Unit 15 | 833 | 1,286 | 12.21 | 64.77
Unit 19 | 971 | 1,142 | 2.10 | 85.03
Unit 20 | 699 | 1,070 | 5.18 | 65.33
Unit 21 | 840 | 1,063 | 5.12 | 79.02
Unit 23 | 767 | 955 | 7.28 | 80.31
Unit 25 | 826 | 892 | 3.87 | 92.60
Unit 27 | 808 | 885 | 3.41 | 91.30
Unit 28 | 749 | 868 | 6.68 | 86.29
Unit 29 | 789 | 865 | 3.16 | 91.21
Unit 30 | 780 | 865 | 3.74 | 90.17
Unit 31 | 789 | 832 | 2.90 | 94.83
Unit 33 | 650 | 779 | 9.85 | 83.44
Unit 34 | 694 | 776 | 7.22 | 89.43

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – May 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 36 | 725 | 772 | 6.25 | 93.91
Unit 38 | 689 | 742 | 7.62 | 92.86
Unit 39 | 646 | 709 | 6.49 | 91.11
Unit 40 | 305 | 704 | 13.08 | 43.32
Unit 41 | 385 | 699 | 10.66 | 55.08
Unit 42 | 651 | 691 | 2.72 | 94.21
Unit 43 | 610 | 648 | 7.23 | 94.14
Unit 45 | 295 | 645 | 12.59 | 45.74
Unit 47 | 574 | 638 | 1.71 | 89.97
Unit 48 | 506 | 637 | 1.49 | 79.43
Unit 51 | 529 | 606 | 6.55 | 87.29
Unit 54 | 487 | 565 | 11.83 | 86.19
Unit 56 | 411 | 547 | 2.91 | 75.14
Unit 60 | 461 | 538 | 3.06 | 85.69
Unit 64 | 428 | 495 | 20.14 | 86.46
Unit 65 | 430 | 471 | 6.51 | 91.30
Unit 66 | 354 | 470 | 5.61 | 75.32
Unit 67 | 389 | 460 | 5.86 | 84.57

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – May 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 68 | 396 | 440 | 11.10 | 90.00
Unit 70 | 410 | 435 | 2.26 | 94.25
Unit 71 | 399 | 428 | 1.18 | 93.22
Unit 72 | 363 | 395 | 4.54 | 91.90
Unit 73 | 373 | 395 | 1.43 | 94.43
Unit 74 | 343 | 391 | 7.86 | 87.72
Unit 75 | 357 | 387 | 8.54 | 92.25
Unit 76 | 44 | 365 | 10.44 | 12.05
Unit 77 | 268 | 354 | 2.78 | 75.71
Unit 78 | 301 | 323 | 5.21 | 93.19
Unit 83 | 254 | 294 | 8.08 | 86.39
Unit 84 | 251 | 288 | 10.19 | 87.15
Unit 85 | 258 | 280 | 3.62 | 92.14
Unit 86 | 222 | 278 | 5.47 | 79.86
Unit 87 | 163 | 264 | 4.94 | 61.74
Unit 88 | 236 | 260 | 5.51 | 90.77
Unit 89 | 231 | 257 | 6.92 | 89.88
Unit 91 | 176 | 236 | 5.68 | 74.58

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – May 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 92 | 210 | 234 | 6.11 | 89.74
Unit 95 | 190 | 230 | 6.65 | 82.61
Unit 96 | 204 | 216 | 3.44 | 94.44
Unit 101 | 176 | 188 | 8.57 | 93.62
Unit 102 | 168 | 182 | 5.86 | 92.31
Unit 103 | 140 | 180 | 4.71 | 77.78
Unit 105 | 167 | 178 | 4.70 | 93.82
Unit 106 | 137 | 178 | 21.19 | 76.97
Unit 107 | 149 | 162 | 9.26 | 91.98
Unit 108 | 51 | 159 | 3.67 | 32.08
Unit 110 | 107 | 124 | 8.04 | 86.29
Unit 111 | 111 | 118 | 5.35 | 94.07
Unit 113 | 43 | 101 | 8.27 | 42.57