## Slide 1
NPRR1077--Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs

## Slide 2: Background on Self-Limiting Facility Concept
NPRR1026 introduced Self-Limiting Facility concept
  http://www.ercot.com/mktrules/issues/NPRR1026
  Framework developed at BESTF
  Provides definitions, COP/telemetry requirements, and compliance reporting obligations
  Limited to Generation Resources and Energy Storage Resources
NPRR1026 and PGRR081 approved by ERCOT BOD on 12/8/20
Market Participants requested that the Self Limiting concept be extended to SOG at the DGR Workshops
  http://www.ercot.com/content/wcm/key_documents_lists/219190/Self_limiting_SODG__v6.pptx

## Slide 3: Changes to the INR Process
Current Planning Guide section 5.1.1(a) Language
  Any Entity proposing a Generation Resource or Settlement Only Generator (SOG), including a storage device, with an aggregate power output (gross power output minus auxiliary Load directly related to the generator) of ten MW or greater, planning to interconnect to the ERCOT Transmission Grid;
PGRR082 introduced “Small Gen Process” and modified the conditions to reflect “aggregate nameplate capacity” instead of “aggregate power output”
  Any Entity proposing to interconnect any generator with an aggregate nameplate capacity of one MW or greater, including but not limited to any Generation Resource or Energy Storage Resource (ESR), to the ERCOT System;
This could impact systems which now would fall into the “Large Gen” process, that previously were below 10 MW.

## Slide 4: Summary of Proposed NPRR Changes
Extend Self-Limiting Facility concept to include SOGs/SOESSs
  definition of “Self-Limiting Facility”
  Section 3.8.7, Self-Limiting Facility
Proposes real-time telemetry of injection/withdrawal values for Self-Limiting Facilities with SOGs/SOESSs (Section 6.5.5.2)
No COP or VSS requirements for SOGs or SOESSs
Modify MW Injection/MW Withdrawal definitions to include both Point of Interconnection (POI) and Point of Common Coupling (POCC), and introduce POCC definition (unique to distribution-level generators)
  NPRR1026 already contemplated distribution-level generation

## Slide 5: Telemetry requirements
NPRR829 (passed in 2017 and currently in development stage) proposed by Market Participants would apply RTL if QSE provided telemetry
This NPRR would require telemetry for those seeking Self-Limited designation.
Winter Storm event highlighted the need for Telemetry from SOG for Operations awareness.
Decision was made to include telemetry requirements for all SOG into NPRR1077.