Date:	June 23, 2021

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage [Broad Reach Power] - NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB) [ERCOT] - NPRR1063, Dynamic Rating Transparency [DC Energy] - NPRR1078, Clarification of Potential Uplift – URGENT [Reliant Energy Retail Services] - NPRR1080, Limiting Ancillary Service Price to System-Wide Offer Cap – URGENT [ERCOT] - NPRR1081, Revisions to Real-Time Reliability Deployment Price Adder to Consider Firm Load Shed – URGENT [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage [Broad Reach Power] Proposed Effective Date: Upon system implementation – Priority 2025; Rank 4500 ERCOT Impact Analysis: Between $800k and $1.2M; no impacts to ERCOT staffing; impacts to Resource Integration, Market Settlements (S&B), Market Management Systems (MMS), Data and Information Products (DAIP), Energy Management System (EMS), Network Model Management System (NMMS), CRM & Registration System (REG), and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR provides a definition for the term Settlement Only Energy Storage System (SOESS) and further defines them as transmission-connected or distribution-connected; relocates the definition for Settlement Only Generator (SOG) from underneath Resource to stand alone as its own unrelated term; and incorporates the relevant SOESS terms into the Market Information System (MIS) reporting created for SOGs via NPRR917, Nodal Pricing for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs). PRS Decision: On 11/11/20, PRS unanimously voted via roll call to recommend approval of NPRR995 as amended by the 10/28/20 ERCOT comments. On 6/10/21, PRS unanimously voted via roll call to endorse and forward to TAC the 1/14/21 PRS Report as amended by the 5/26/21 ERCOT comments and the Impact Analysis for NPRR995 with a recommended priority of 2025 and rank of 4500. - NPRR1005, Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB) [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Resource Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises the definition of Point of Interconnection (POI) to refer to any physical location where a Generation Entity’s Facilities connect to a Transmission Service Provider’s (TSP’s) Facilities, and removes references to Load interconnections, since the only relevant Load connection points are those associated with the Generation Entity’s generators, which are included in the term “Generation Entity’s Facilities”; introduces the term “Point of Interconnection Bus (POIB)” to refer to the Electrical Bus in the substation that is closest to the Generation Resource’s POI, or any electrically equivalent Electrical Bus in that substation, for each TSP-owned substation to which the Generation Resource interconnects; changes POI to POIB throughout the Protocols in appropriate cases based on the above clarifications; removes the reference to POI in Section 2.1, Definitions, in the definition of Aggregate Generation Resource because having a common Generator Step Up (GSU) transformer would aggregate output before the POI, and the generators’ separate outputs do not have separate POIs; clarifies Section 10.3.2.3, Generation Netting for ERCOT-Polled Settlement Meters, to specify that, at a given Generation Resource Facility, generation and associated Load must either be physically metered at each POI or Service Delivery Point, or loss-compensated to the applicable POI in accordance with Section 10.3.2.2, Loss Compensation of EPS Meter Data; unboxes NPRR917, Nodal Pricing for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs), grey-boxed language in Section 10.3.2.3, as there is no system implementation required for this language; and removes POI from Section 23, Form K: Wide Area Network (WAN) Agreement, because it is used there incorrectly. PRS Decision: On 5/13/21, PRS unanimously voted via roll call to recommend approval of NPRR1005 as amended by the 4/7/21 Longhorn Power comments as revised by PRS. On 6/10/21, PRS unanimously voted via roll call to endorse and forward to TAC the 5/13/21 PRS Report and Impact Analysis for NPRR1005. - NPRR1063, Dynamic Rating Transparency [DC Energy] Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3330 ERCOT Impact Analysis: Between $15k and $25k; no impacts to ERCOT staffing; impacts to ERCOT Website and Market Information System (MIS) Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires ERCOT to post information related to Dynamic Rating approvals to the MIS Secure Area. PRS Decision: On 5/13/21, PRS unanimously voted via roll call to recommend approval of NPRR1063 as amended by the 4/21/21 DC Energy comments. On 6/10/21, PRS unanimously voted via roll call to endorse and forward to TAC the 5/13/21 PRS Report and Impact Analysis for NPRR1063 with a recommended priority of 2021 and rank of 3330. - NPRR1078, Clarification of Potential Uplift – URGENT [Reliant Energy Retail Services] Proposed Effective Date: To be determined ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies the definition of potential uplift within the calculation of a Counter-Party’s “Total Potential Exposure Any” (TPEA). PRS Decision: On 6/10/21, PRS unanimously voted to grant NPRR1078 Urgent status; to recommend approval of NPRR1078 as revised by PRS; and to forward to TAC NPRR1078. Credit WG: See 6/16/21 Credit WG Comments - NPRR1080, Limiting Ancillary Service Price to System-Wide Offer Cap – URGENT [ERCOT] Proposed Effective Date: July 1, 2021 ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR limits the Ancillary Service Market Clearing Prices for Capacity (MCPCs) to the effective System-Wide Offer Cap (SWCAP). This limitation will be achieved by reducing the Ancillary Service penalty factors (ASPFs) used in Day-Ahead Market (DAM) and Supplementary Ancillary Service Market (SASM) to values equal to or immediately below the SWCAP. PRS Decision: On 6/10/21, PRS voted via roll call to grant NPRR1080 Urgent status. There was one opposing vote from the Independent Generator (Exelon) Market Segment. PRS then voted via roll call to recommend approval of NPRR1080 as revised by PRS; and to forward to TAC NPRR1080 and the Impact Analysis with a recommended effective date of upon ERCOT Board approval. There were four abstentions from the Consumer (Occidental Chemical), Cooperative (STEC), Independent Generator (Luminant), and Independent Power Marketer (IPM) (Tenaska) Market Segments. Credit WG: See 6/16/21 Credit WG Comments - NPRR1081, Revisions to Real-Time Reliability Deployment Price Adder to Consider Firm Load Shed – URGENT [ERCOT] Proposed Effective Date: July 1, 2021 – Priority 2021; Rank 3340 ERCOT Impact Analysis: Between $25k and $45k; no impacts to ERCOT staffing; impacts to Market Operation Systems, Data Management & Analytic Systems, and EMS; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR modifies the calculation of the Real-Time On-Line Reliability Deployment Price Adder so that the combination of System Lambda, the Real-Time On-Line Reserve Price Adder, and the Real-Time On-Line Reliability Deployment Price Adder will be equal to the Value of Lost Load (VOLL) when ERCOT is directing firm Load shed during Energy Emergency Alert (EEA) Level 3. PRS Decision: On 6/10/21, PRS unanimously voted via roll call to grant NPRR1081 Urgent status. PRS then voted via roll call to recommend approval of NPRR1081 as submitted; and to forward to TAC NPRR1081 and the Impact Analysis with a recommended priority of 2021 and rank of 3340 and a recommended effective date of upon ERCOT Board approval. There were three abstentions from the Consumer (Occidental Chemical), Cooperative (LCRA), and Independent Generator (Luminant) Market Segments. Credit WG: See 6/16/21 Credit WG Comments Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1079, Day-Ahead Market RRS / ECRS 48-Hour Report Clarification [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification [Invenergy] - NPRR1058, Resource Offer Modernization for Real-Time Co-Optimization [Reliant, Luminant, STEC, LCRA, Calpine] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1072, Post Pre-Assigned Congestion Revenue Right (PCRR) Allocation Results to the ERCOT Website [Yes Energy] - NPRR1076, Deadlines for Alternative Dispute Resolution (ADR) Requests Related to Winter Storm Uri [Luminant] - NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs [ERCOT] - SCR813, NMMS Jointly-Rated Equipment Coordination Confirmation [ERCOT] New Revision Requests Scheduled for Consideration at PRS None at this time. These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr