APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, April 29, 2021 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Claiborn-Pinto, Shawnee | OPUC |  |
| Cochran, Seth | DC Energy |  |
| Coleman, Diana | CPS Energy | Alt. Rep. for Kenneth Bowen |
| Donovan, Patrick | City of Dallas |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Marr, Daniel | Lower Colorado River Authority |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Simpson, Lori | Exelon |  |
| Smith, Chase | Southern Power Co |  |
| Staples, Boone | Tenaska Power Services |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

| Guests: |  |  |
| --- | --- | --- |
| Ahn, Sirius | Oncor |  |
| Aldridge, Ryan | AB Power Advisors |  |
| Alford, Anthony | CenterPoint Energy |  |
| Anderson, Kevin | Customized Energy Solutions |  |
| Barnes, Bill | NRG |  |
| Bell, Brad | Solar Proponent |  |
| Benson, Mariah | PUCT |  |
| Borkar, Sandeep | Lower Colorado River Authority |  |
| Bruce, Mark | Cratylus Advisors |  |
| Bunch, Kevin | EDF Energy |  |
| Burnett, Ben | CenterPoint Energy |  |
| Calcagni, Anthony | DC Energy |  |
| Callaghan, Glenn | CenterPoint Energy |  |
| Chan, Vanessa | Enel Green Power |  |
| Chatlani, Varsha | Boston Energy |  |
| Cloninger, Ross | Texas New Mexico Power |  |
| Cook, Tim | CTT |  |
| Dewitt, Charles | PEC |  |
| Donohoo, Kenneth | EPE Consulting |  |
| Downey, Marty | Jupiter Power |  |
| Dreyfus, Mark | MD Energy Consulting |  |
| Felhofer, Alexander | Oncor |  |
| Floyd, Rickey | Oncor |  |
| Galliguez, Percy | Brazos Electric Cooperative |  |
| Gross, Blake | AEP |  |
| Guo, Chenyan | Lone Star Transmission |  |
| Harris, Brenda | Oxy |  |
| Henry, Mark | Texas Reliability Entity |  |
| Henson, Martha | Oncor |  |
| Hernandez, Jessica | CenterPoint Energy |  |
| Huynh, Thuy | Potomac Economics |  |
| Jablonski, Edward | CenterPoint Energy |  |
| Jackson, Jimmy | CPS Energy |  |
| Johnson, Anthony | CenterPoint Energy |  |
| Jung, Sam | Oncor |  |
| Karlik, John | Austin Energy |  |
| Khayat, Maribel | CenterPoint Energy |  |
| King, Kenesha | Oncor |  |
| Kota, Naga | National Grid Renewables |  |
| Levine, Norman | Direct Energy |  |
| Lindstrom, Clay | BTU |  |
| Martin, Collin | Oncor |  |
| Mathew, Shirley | Austin Energy |  |
| McCamant, Frank | McCamant Consulting |  |
| McClellan, Suzi | Good Company Associates |  |
| Miller, Alexandra | EDF Renewables |  |
| Morris, Chandler | Woodlands Energy Management |  |
| Morris, Sandy | Customized Energy Solutions |  |
| Mulholland, Chad | NRG |  |
| Nagarajan, Ramya | LS Power |  |
| Penney, David | Texas Reliability Entity |  |
| Powell, Christian | PEC |  |
| Preas, Dylan | LCRA TSC |  |
| Pressler, Glenn | CPS Energy |  |
| Rainwater, Kim | LCRA |  |
| Reid, Walter | Advanced Power Alliance |  |
| Reinhart, Patrick | CenterPoint Energy |  |
| Roberts, Vincent | TNMP |  |
| Romack, Emma | EDF Renewables |  |
| Roth, Werner | PUCT |  |
| Sams, Bryan | Calpine |  |
| Santos, Juan | Garland Power and Light |  |
| Sauter, Megan | Oncor |  |
| Shumate, Walt |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Sithuraj, Murali | Austin Energy |  |
| Smith, Caitlin | AB Power Advisors |  |
| Smith, Christopher | Austin Energy |  |
| Snyder, John | Clearway Energy |  |
| Striedel, James | GDS Associates |  |
| Tovar, Mathew | Oncor |  |
| Trimble, Randy | BTU |  |
| Turner, Mina | AEP |  |
| Turner, Lucas | South Texas Electric Cooperative |  |
| Varnell, John | Tenaska Power Services |  |
| Velasquez, Ivan | Oncor |  |
| Walke, Pranil | Calpine |  |
| Wall, Perrin | CenterPoint Energy |  |
| White, Lauri | AEP |  |
| Williams, Beau | Grayson Collin Electric Cooperative |  |
| Williams, Scot | Oncor |  |
| Williams, Wes | BTU |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Zarnikau, Jay | Frontier Energy |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Connor |  |  |
| Anderson, Troy |  |  |
| Bernecker, John |  |  |
| Boren, Ann |  |  |
| Bracy, Phil |  |  |
| Cheng, Yong |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Daryabak, Mehdi |  |  |
| De la Garza, Mario |  |  |
| Devadhas Mohanadha, Thinesh |  |  |
| Garcia, Freddy |  |  |
| Geer, Ed |  |  |
| Gnanam, Prabhu |  |  |
| Guiyab, Rochie |  |  |
| Huang, Fred |  |  |
| Kang, Sun Wook |  |  |
| Knapp, Ethan |  |  |
| Koepke, Joel |  |  |
| Lasher, Warren |  |  |
| Li, Weifeng |  |  |
| Mago, Nitika |  |  |
| Meier, Eric |  |  |
| Miller, Megan |  |  |
| Phillips, Cory |  |  |
| Reich, Zach |  |  |
| Sanchez, Daniel |  |  |
| Schmall, John |  |  |
| Solis, Stephen |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Thuerwaechter, Kashia |  |  |
| Troublefield, Jordan |  |  |
| Williams, Leslie |  |  |
| Wolf, Craig |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  |  |
| Yan, Ping |  |  |

Unless otherwise indicated, all Market Segments were participating in the votes.

Chase Smith called the April 29, 2021 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

There were no changes to the agenda.

# Approval of Meeting Minutes (see Key Documents)

# April 1, 2021

Market Participants reviewed the April 1, 2021 ROS Meeting minutes.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

# Technical Advisory Committee (TAC) Update (see Key Documents)

# Emergency Conditions List

Mr. Smith reviewed the disposition of items considered at the April 28, 2021 TAC meeting, including the 2021 TAC Goals, and summarized the Emergency Conditions List discussion on prioritization and process for modifications to the list.  Market Participants reviewed the ROS items and assignments to ROS Working Groups and Task Forces and offered clarifications to the list.

Remaining Key Topic Concepts (KTCs) from Battery Energy Storage Task Force (BESTF)

KTC 15-3 Switchable Resources

KTC 15-4 Provisions Associated with Delayed Outages

KTC 15-5 Black Start Service

KTC 15-6 Reliability-Must-Run (RMR) and Must Run Alternative (MRA) Services

KTC 15-9 Governor Dead-band Telemetry as a Concept

Market Participants discussed the TAC assignment to review the remaining KTCs outside the scope of BESTF in consideration of current priorities, and requested the following review of the issues:

- KTC 15-3 Switchable Resources (Operations Working Group (OWG))

- KTC 15-4 Provisions Associated with Delayed Outages (OWG)

- KTC 15-5 Black Start Service (Black Start Working Group (BSWG))

- KTC 15-6 RMR and MRA Services (Planning Working Group (PLWG))

- KTC 15-9 Governor Dead-band Telemetry as a Concept (Performance Disturbance Compliance Working Group (PDCWG) and Dynamic Working Group (DWG))

# 2021 ROS Goals (see Key Documents)

Market Participants reviewed the 2021 TAC Goals and Strategic Initiatives and offered clarifications to the draft 2021 ROS Goals.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.  Market Participants requested ERCOT provide an update on the Southern Cross Transmission Directives at the June 3, 2021 ROS meeting.

# ERCOT Reports (see Key Documents)

# Operations Report

# Nitika Mago reviewed the March 2021 Operations Report.

# System Planning Report

# Ping Yan presented the March 2021 System Planning Report.

Generic Transmission Constraint (GTC) Update

Yunzhi Cheng summarized updates for the Valley GTC and current Panhandle GTC, reviewed the proposed new Panhandle GTC interface with the integration of Lubbock Power and Light, and noted that ERCOT will post the Panhandle GTL methodology to the ERCOT Market Information System (MIS) and distribute a Market Notice in May 2021.

Transient Security Assessment Tool (TSAT) models update

Mehdi Daryabak summarized the Real-Time TSAT user-defined model development status, reminded Market Participants that Resource Entities (REs) must submit models by November 1, 2021 and that ERCOT requested submittals be in advance of this date to complete the model validation.  Market Participants requested ERCOT consider distributing a Market Notice to provide greater transparency of the issues.

Urgency Vote (see Key Documents)

Planning Guide Revision Request (PGRR) 090, Additional Flexibility for Updates to Seasonal Net Max Sustainable Rating

Chandler Morris summarized the request for Urgent Status for PGRR090 in consideration of implementation prior to Summer 2021.  Market Participants and ERCOT Staff discussed the 4/28/21 Temple Generation comments, current process for a Generation Resource to upgrade their Seasonal Net Max Sustainable Rating, and the Revision Request timeline.  Market Participants took no action on this item.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1070, Planning Criteria for GTC Exit Solutions

Alexandra Miller summarized NPRR1070, requested review of the issues by the OWG and PLWG, and encouraged Market Participants to attend the May 17, 2021 Joint PLWG, OWG and Wholesale Market Working Group (WMWG) Meeting to review the issues.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

System Change Request (SCR) 813, NMMS Jointly-Rated Equipment Coordination Confirmation

ERCOT Staff summarized SCR813.  Market Participants requested review of the issues by the Network Data Support Working Group (NDSWG).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents)

NPRR1063 1063, Dynamic Rating Transparency

Seth Cochran summarized NPRR1063 and the 4/21/21 DC Energy comments.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Review of ROS Revision Requests (see Key Documents)

Impact Analyses Review

Resource Registration Glossary Revision Request (RRGRR) 028, Transformer Impedance Clarifications

Market Participants reviewed the history of comments to RRGRR028 and previous discussions at ROS and System Protection Working Group (SPWG) meetings.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

PGRR088, Include Financial Security Amount in the Monthly Generator Interconnection Status Report

Market Participants reviewed the Impact Analysis and priority and rank for PGRR088.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

ROS took no action on this item.

PLWG (see Key Documents)

PGRR089, Planning Data and Information Updates for Planning Posting

Charles DeWitt reviewed PLWG activities, including PGRR089.  Market Participants offered clarifications to correct an acronym in the table of Section 7.1, Planning Data and Information.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification

Mr. DeWitt encouraged Market Participants to attend the May 17, 2021 Joint PLWG, OWG and WMWG Meeting to review NPRR1056 issues.  ROS took no action on this item.

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities, including NPRR1056.

Nodal Operating Guide Revision Request (NOGRR) 215, Limit Use of Remedial Action Schemes

NOGRR223, Add Phasor Measurement Recording Equipment Requirement to Modified Generating Facilities in Interconnection Process

ROS took no action on these items.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the April 1, 2021 ROS Meeting Minutes as submitted

- To approve the 2021 ROS Goals as revised by ROS

- To request PRS continue to table NPRR1070 for review by OWG and PLWG

- To request PRS continue to table SCR813 for review by NDSWG

- To endorse NPRR1063 as amended by the 4/21/21 DC Energy Texas comments

- To recommend approval of RRGRR028 as amended by the 3/4/21 SPWG comments

- To endorse and forward to TAC the 4/1/21 ROS Report and the Impact Analysis for PGRR088 with a suggested Priority of 2022 and Rank of 3510

- To recommend approval of PGRR089 as revised by ROS

Daniel Marr seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

PDCWG (see Key Documents)

Chad Mulholland reviewed PDCWG activities.

Network Data Support Working Group (NDSWG) (see Key Documents)

Kenesha King reviewed NDSWG activities.

Steady State Working Group (SSWG) (see Key Documents)

Chenyan Guo reviewed SSWG activities.

Voltage Profile Working Group (VPWG) (see Key Documents)

Scot Williams reviewed VPWG activities.

BSWG (see Key Documents)

Tony Kroskey reviewed BSWG activities.

Other Business

Review Open Action Items List

Market Participants reviewed the Open Action Items list.

No Report

- DWG

- Operations Training Working Group (OTWG)

- Planning Geomagnetic Disturbance Task Force (PGDTF)

- SPWG

Adjournment

Mr. Smith adjourned the April 29, 2021 ROS meeting 12:40 p.m.