## Legend
Worksheet Name | Description
2021 Regulation-up | Current Jan thru Dec 2021 Regulation Up quantities posted on ercot.com (link below)
2021_RRS_table | Current Jan thru Dec 2021 Responsive Reserve quantities posted on ercot.com (link below)
2021 NSRS | Current Jan thru Dec 2021 Non-Spin Reserve quantities posted on ercot.com (link below)
July-RRS | New Jul 12 - 31, 2021 Responsive Reserve quantities
July-NSRS | New Jul 12 - 31, 2021 Non-Spin Reserve quantities
Aug-RRS | New Aug 1 - 31, 2021 Responsive Reserve quantities
Aug-NSRS | New Aug 1 - 31, 2021 Non-Spin Reserve quantities
ercot.com link | http://www.ercot.com/content/wcm/key_documents_lists/89135/Zip_to_be_posted.zip

## 2021 Regulation-up
2021 Regulation-up (this reflects the impact of SCR 811 after June 1st, 2021)
HE | Jan | Feb | Mar | Apr | May | Jun* | Jul | Aug | Sep | Oct | Nov | Dec
1 | 184 | 220 | 194 | 246 | 220 | 322 | 196 | 254 | 172 | 158 | 177 | 158
2 | 257 | 258 | 178 | 211 | 233 | 212 | 155 | 148 | 143 | 167 | 193 | 194
3 | 291 | 245 | 236 | 253 | 221 | 222 | 145 | 140 | 164 | 174 | 219 | 190
4 | 294 | 291 | 241 | 265 | 229 | 238 | 178 | 193 | 183 | 197 | 261 | 243
5 | 365 | 366 | 320 | 284 | 308 | 272 | 222 | 239 | 257 | 261 | 315 | 328
6 | 576 | 540 | 439 | 431 | 423 | 371 | 303 | 375 | 392 | 421 | 471 | 516
7 | 668 | 732 | 616 | 596 | 596 | 417 | 355 | 471 | 492 | 530 | 523 | 593
8 | 362 | 388 | 398 | 344 | 333 | 377 | 370 | 361 | 347 | 338 | 297 | 311
9 | 249 | 327 | 341 | 338 | 384 | 420 | 422 | 433 | 421 | 371 | 328 | 269
10 | 331 | 364 | 422 | 439 | 490 | 522 | 510 | 502 | 502 | 411 | 366 | 279
11 | 313 | 391 | 456 | 468 | 584 | 571 | 572 | 618 | 518 | 480 | 350 | 359
12 | 364 | 389 | 455 | 493 | 611 | 542 | 569 | 593 | 541 | 501 | 325 | 339
13 | 324 | 460 | 459 | 472 | 562 | 487 | 491 | 521 | 505 | 558 | 346 | 292
14 | 320 | 384 | 414 | 492 | 559 | 430 | 447 | 467 | 457 | 432 | 328 | 304
15 | 340 | 403 | 437 | 455 | 497 | 383 | 372 | 434 | 405 | 418 | 376 | 319
16 | 399 | 496 | 439 | 493 | 493 | 362 | 318 | 357 | 380 | 356 | 363 | 315
17 | 509 | 544 | 463 | 510 | 463 | 301 | 295 | 314 | 333 | 386 | 413 | 486
18 | 667 | 607 | 541 | 533 | 432 | 319 | 289 | 258 | 306 | 384 | 452 | 567
19 | 415 | 524 | 604 | 465 | 428 | 325 | 239 | 257 | 305 | 347 | 212 | 289
20 | 200 | 235 | 426 | 459 | 429 | 230 | 199 | 286 | 232 | 235 | 202 | 188
21 | 206 | 201 | 250 | 352 | 316 | 207 | 216 | 202 | 170 | 264 | 157 | 148
22 | 213 | 204 | 161 | 351 | 449 | 198 | 148 | 117 | 136 | 179 | 153 | 153
23 | 221 | 217 | 265 | 190 | 218 | 235 | 218 | 165 | 177 | 189 | 160 | 137
24 | 210 | 192 | 215 | 239 | 187 | 207 | 109 | 175 | 167 | 161 | 196 | 129
Total | 8278 | 8978 | 8970 | 9379 | 9665 | 8170 | 7338 | 7880 | 7705 | 7918 | 7183 | 7106
*The minimum amount of Reg-up shown here for June is only effective on June 4th, 2021. The minimum amount of Reg-up requirement between June 1st, 2021 and June 3rd, 2021 is provided in a separate sheet.

## 2021_RRS_table
2021 RRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
2 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
3 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
4 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
5 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
6 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
7 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
8 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
9 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
10 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
11 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
12 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
13 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
14 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
15 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2300 | 2383 | 2712 | 3002 | 2880
16 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2300 | 2383 | 2712 | 3002 | 2880
17 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2300 | 2383 | 2712 | 3002 | 2880
18 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2300 | 2383 | 2712 | 3002 | 2880
19 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2959
20 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2959
21 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2959
22 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2959
23 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
24 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
Total | 71136 | 72564 | 72564 | 73424 | 67048 | 61148 | 57616 | 56724 | 60972 | 69372 | 73596 | 70820

## 2021 NSRS
2021 NSRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 1183 | 1026 | 1158 | 1268 | 1047
2 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 1183 | 1026 | 1158 | 1268 | 1047
3 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 1409 | 1255 | 1555 | 1347 | 1292
4 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 1409 | 1255 | 1555 | 1347 | 1292
5 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 1409 | 1255 | 1555 | 1347 | 1292
6 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 1409 | 1255 | 1555 | 1347 | 1292
7 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 1607 | 1633 | 2012 | 1854 | 1873
8 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 1607 | 1633 | 2012 | 1854 | 1873
9 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 1607 | 1633 | 2012 | 1854 | 1873
10 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 1607 | 1633 | 2012 | 1854 | 1873
11 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 1814 | 2031 | 1695 | 1508 | 1637
12 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 1814 | 2031 | 1695 | 1508 | 1637
13 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 1814 | 2031 | 1695 | 1508 | 1637
14 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 1814 | 2031 | 1695 | 1508 | 1637
15 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 1385 | 1437 | 1555 | 1782 | 1936
16 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 1385 | 1437 | 1555 | 1782 | 1936
17 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 1385 | 1437 | 1555 | 1782 | 1936
18 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 1385 | 1437 | 1555 | 1782 | 1936
19 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 1230 | 1146 | 1144 | 1294 | 1281
20 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 1230 | 1146 | 1144 | 1294 | 1281
21 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 1230 | 1146 | 1144 | 1294 | 1281
22 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 1230 | 1146 | 1144 | 1294 | 1281
23 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 1183 | 1026 | 1158 | 1268 | 1047
24 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 1183 | 1026 | 1158 | 1268 | 1047
Total | 36836 | 38500 | 35996 | 36732 | 35532 | 36644 | 32852 | 34512 | 34112 | 36476 | 36212 | 36264
* The NSRS quantities have been calculated based on the historical data from 2018, 2019 and 2020.

## July-RRS
Applicable July 12, 2021 through July 31, 2021 | [5 empty] | Min. Total RRS Target | 2800
|  |  | Incremental Increase | Total RRS
HE | Current | Quantity to be Adjusted | Updated | Updated | Current
1 | 2469 | No | 0 | 2469 | 0
2 | 2469 | No | 0 | 2469 | 0
3 | 2566 | No | 0 | 2566 | 0
4 | 2566 | No | 0 | 2566 | 0
5 | 2566 | No | 0 | 2566 | 0
6 | 2566 | No | 0 | 2566 | 0
7 | 2469 | No | 0 | 2469 | 0
8 | 2469 | No | 0 | 2469 | 0
9 | 2469 | No | 0 | 2469 | 0
10 | 2469 | No | 0 | 2469 | 0
11 | 2300 | No | 0 | 2300 | 0
12 | 2300 | No | 0 | 2300 | 0
13 | 2300 | No | 0 | 2300 | 0
14 | 2300 | No | 0 | 2300 | 0
15 | 2300 | Yes | 500 | 2800 | 0
16 | 2300 | Yes | 500 | 2800 | 0
17 | 2300 | Yes | 500 | 2800 | 0
18 | 2300 | Yes | 500 | 2800 | 0
19 | 2300 | Yes | 500 | 2800 | 0
20 | 2300 | Yes | 500 | 2800 | 0
21 | 2300 | Yes | 500 | 2800 | 0
22 | 2300 | Yes | 500 | 2800 | 0
23 | 2469 | No | 0 | 2469 | 0
24 | 2469 | No | 0 | 2469 | 0

## July-NSRS
Applicable July 12, 2021 through July 31, 2021
|  |  |  | Incremental NSRS |  | Total NSRS
|  |  |  | 6500 | 7500
HE | Current | Quantity to be Adjusted | New RRS + Current Reg Up | Non High Variability Days | High Variability Days* | Non High Variability Days | High Variability Days* | Current
1 | 1110 | Yes | 2665 | 2725 | 3725 | 3835 | 4835 | 0
2 | 1110 | Yes | 2624 | 2766 | 3766 | 3876 | 4876 | 0
3 | 1245 | Yes | 2711 | 2544 | 3544 | 3789 | 4789 | 0
4 | 1245 | Yes | 2744 | 2511 | 3511 | 3756 | 4756 | 0
5 | 1245 | Yes | 2788 | 2467 | 3467 | 3712 | 4712 | 0
6 | 1245 | Yes | 2869 | 2386 | 3386 | 3631 | 4631 | 0
7 | 1577 | Yes | 2824 | 2099 | 3099 | 3676 | 4676 | 0
8 | 1577 | Yes | 2839 | 2084 | 3084 | 3661 | 4661 | 0
9 | 1577 | Yes | 2891 | 2032 | 3032 | 3609 | 4609 | 0
10 | 1577 | Yes | 2979 | 1944 | 2944 | 3521 | 4521 | 0
11 | 1599 | Yes | 2872 | 2029 | 3029 | 3628 | 4628 | 0
12 | 1599 | Yes | 2869 | 2032 | 3032 | 3631 | 4631 | 0
13 | 1599 | Yes | 2791 | 2110 | 3110 | 3709 | 4709 | 0
14 | 1599 | Yes | 2747 | 2154 | 3154 | 3753 | 4753 | 0
15 | 1406 | Yes | 3172 | 1922 | 2922 | 3328 | 4328 | 0
16 | 1406 | Yes | 3118 | 1976 | 2976 | 3382 | 4382 | 0
17 | 1406 | Yes | 3095 | 1999 | 2999 | 3405 | 4405 | 0
18 | 1406 | Yes | 3089 | 2005 | 3005 | 3411 | 4411 | 0
19 | 1276 | Yes | 3039 | 2185 | 3185 | 3461 | 4461 | 0
20 | 1276 | Yes | 2999 | 2225 | 3225 | 3501 | 4501 | 0
21 | 1276 | Yes | 3016 | 2208 | 3208 | 3484 | 4484 | 0
22 | 1276 | Yes | 2948 | 2276 | 3276 | 3552 | 4552 | 0
23 | 1110 | Yes | 2687 | 2703 | 3703 | 3813 | 4813 | 0
24 | 1110 | Yes | 2578 | 2812 | 3812 | 3922 | 4922 | 0
*The quantity shown here is an example of how high Non-Spin procurement may be on a day with increased potential of high forecast variability. Non-Spin requirements for a day with increased potential of high forecast variability will be determined two days in advance and posted in the DAM AS Plan report (https://mis.ercot.com/public/data-products/grid/forecasts?id=NP4-33-CD).

## Aug-RRS
[6 empty] | Min. Total RRS Target | 2800
|  |  | Incremental Increase | Total RRS
HE | Current | Quantity to be Adjusted | Updated | Updated | Current
1 | 2429 | No | 0 | 2429 | 0
2 | 2429 | No | 0 | 2429 | 0
3 | 2469 | No | 0 | 2469 | 0
4 | 2469 | No | 0 | 2469 | 0
5 | 2469 | No | 0 | 2469 | 0
6 | 2469 | No | 0 | 2469 | 0
7 | 2383 | No | 0 | 2383 | 0
8 | 2383 | No | 0 | 2383 | 0
9 | 2383 | No | 0 | 2383 | 0
10 | 2383 | No | 0 | 2383 | 0
11 | 2300 | No | 0 | 2300 | 0
12 | 2300 | No | 0 | 2300 | 0
13 | 2300 | No | 0 | 2300 | 0
14 | 2300 | No | 0 | 2300 | 0
15 | 2300 | Yes | 500 | 2800 | 0
16 | 2300 | Yes | 500 | 2800 | 0
17 | 2300 | Yes | 500 | 2800 | 0
18 | 2300 | Yes | 500 | 2800 | 0
19 | 2300 | Yes | 500 | 2800 | 0
20 | 2300 | Yes | 500 | 2800 | 0
21 | 2300 | Yes | 500 | 2800 | 0
22 | 2300 | Yes | 500 | 2800 | 0
23 | 2429 | No | 0 | 2429 | 0
24 | 2429 | No | 0 | 2429 | 0

## Aug-NSRS
|  |  |  | Incremental NSRS |  | Total NSRS
|  |  |  | 6500 | 7500
HE | Current | Quantity to be Adjusted | New RRS + Current Reg Up | Non High Variability Days | High Variability Days* | Non High Variability Days | High Variability Days* | Current
1 | 1183 | Yes | 2683 | 2634 | 3634 | 3817 | 4817 | 0
2 | 1183 | Yes | 2577 | 2740 | 3740 | 3923 | 4923 | 0
3 | 1409 | Yes | 2609 | 2482 | 3482 | 3891 | 4891 | 0
4 | 1409 | Yes | 2662 | 2429 | 3429 | 3838 | 4838 | 0
5 | 1409 | Yes | 2708 | 2383 | 3383 | 3792 | 4792 | 0
6 | 1409 | Yes | 2844 | 2247 | 3247 | 3656 | 4656 | 0
7 | 1607 | Yes | 2854 | 2039 | 3039 | 3646 | 4646 | 0
8 | 1607 | Yes | 2744 | 2149 | 3149 | 3756 | 4756 | 0
9 | 1607 | Yes | 2816 | 2077 | 3077 | 3684 | 4684 | 0
10 | 1607 | Yes | 2885 | 2008 | 3008 | 3615 | 4615 | 0
11 | 1814 | Yes | 2918 | 1768 | 2768 | 3582 | 4582 | 0
12 | 1814 | Yes | 2893 | 1793 | 2793 | 3607 | 4607 | 0
13 | 1814 | Yes | 2821 | 1865 | 2865 | 3679 | 4679 | 0
14 | 1814 | Yes | 2767 | 1919 | 2919 | 3733 | 4733 | 0
15 | 1385 | Yes | 3234 | 1881 | 2881 | 3266 | 4266 | 0
16 | 1385 | Yes | 3157 | 1958 | 2958 | 3343 | 4343 | 0
17 | 1385 | Yes | 3114 | 2001 | 3001 | 3386 | 4386 | 0
18 | 1385 | Yes | 3058 | 2057 | 3057 | 3442 | 4442 | 0
19 | 1230 | Yes | 3057 | 2213 | 3213 | 3443 | 4443 | 0
20 | 1230 | Yes | 3086 | 2184 | 3184 | 3414 | 4414 | 0
21 | 1230 | Yes | 3002 | 2268 | 3268 | 3498 | 4498 | 0
22 | 1230 | Yes | 2917 | 2353 | 3353 | 3583 | 4583 | 0
23 | 1183 | Yes | 2594 | 2723 | 3723 | 3906 | 4906 | 0
24 | 1183 | Yes | 2604 | 2713 | 3713 | 3896 | 4896 | 0
*The quantity shown here is an example of how high Non-Spin procurement may be on a day with increased potential of high forecast variability. Non-Spin requirements for a day with increased potential of high forecast variability will be determined two days in advance and posted in the DAM AS Plan report (https://mis.ercot.com/public/data-products/grid/forecasts?id=NP4-33-CD).