## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Murali Sithuraj
June 2, 2021
From May 17 WMWG Meeting

## Slide 2: NPRR1070 Planning Criteria for GTC Exit Solutions
NPRR author agrees to remove bid price language from this NPRR
  Will wait for PUCT project
Main discussion will be on the remaining four topics in the NPRR
  Reflect the typical limit derate due to transmission outages or model an expected outage case
  Reflect derates of limits for safety margins as applied by Operations
  Include the avoided cost of all avoided reliability projects
  Estimate the value of avoiding curtailment of generation due to GTCs during load shedding events
Participants agreed the PLWG is the proper place for this discussion
NPRR can remain tabled at WMS awaiting ROS approved language to review the market impact

## Slide 3: Emergency Conditions Issue #7 - DER Registration
NPRR1077 Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs
  Clayton Stice reviewed this NPRR submitted by ERCOT
  Initially developed by DGR Workshop attendees for SODGs wanting to Self Limit along the same lines as ESRs http://www.ercot.com/calendar/2021/1/13/219189
  Telemetry requirement for all SOGs was included due to winter event
  Updates some NPRR829 language and extends RTL application to all SOGs.
  Corresponding revisions to Planning guide and Resource Registration Glossary are being reviewed by ROS/PLWG
Discussion on the telemetry requirements that will apply to all SOG’s – 10 second level data desired
  May add cost burden to some SODGs to implement (already required by transmission connected SOGs)
  How to get the word out to SOGs for awareness
  Telemetry will not be used for the GTDB calculation
WMWG recommends a workshop to include SOG owners
Workshop scheduled for July 22nd

## Slide 4: Emergency Conditions Issue # 91 Could fast frequency response play a bigger role?
Presentation on two proposals to increase participation from ESR’s
  Emphasizes the importance of FFR
  #1 - Set FFR offer floor at $0.01/MWh below LR_RRS floor in DAM engine
  #2 - Enable batteries to provide RRS using ONSC status
  Direction from WMS, explore further or wait for NPRRs?
  PDCWG and ERCOT may want to review the proposals to provide input on the reliability impacts
Review of opinion paper from market participants who volunteered to work on the issue
  “The February storm was not an issue of the under procurement of single AS product but rather an inability of generation to meets the needs of load. While there may be other reasons to change the procurement of FFR, the February storm would not have benefited from a different procurement of the product.”
  Authors are seeking comments
  Will be reviewed at PDCWG

## Slide 5: Updates Emergency Conditions Issues List Actions
#44 - Ancillary Service Products: Review existing ancillary service products
  Lori Simpson working with Nitika Mago
  ERCOT sent out RFIs for the PRC telemetry errors and currently expect the last batch of responses to be returned by 7/13.
  Also sent out RFIs to some ESRs on their performance during the event and currently expect the last batch of responses to returned by 7/12.
#49 - Energy Emergency Alert: Review EEA rules and assess if any changes are warranted
  David Detelich will work with OWG on this item and reach out to Dan Woodfin for ERCOT input
#35 - Procedures during Natural Gas Supply Emergency
  GEWG will meet in the fall to take up this issue
  Will have the outcomes from the legislative process to guide their activities

## Slide 6: Next meeting
WMWG July 12
Any questions?