## Slide 1: Congestion Management Working Group
July 7, 2021

## Slide 2: TAC Emergency Conditions Item No. 51/86
Review constraint management process during EEA3: How much generation was curtailed for congestion including GTCs during EEA3?
ERCOT provided an analysis on the amount of capacity curtailed by transmission constraints
  This included:
    New methodology for calculating constraint curtailment
    Comparison of monthly IRR Forecast report curtailment values to SCED curtailment values

## Slide 3: OBDRR 026, Change Shadow Price Caps to Curves and Remove Shift Factor Threshold
No further action from CMWG

## Slide 4: Spatial Granularity of Solar Production and Forecasts
There was a stakeholder proposal to provide more granular solar data given the increase in solar facilities
Currently, have defined wind regions and would like to do something similar for solar
ERCOT provided a presentation on potential solar regions
  There was a preference towards the option that provided 5 “forecast” regions due to the need to combine regions that did not have a threshold number of QSEs in the region

## Slide 5: Next Meeting: July 19
Item No. 86 - Review constraint management process during EEA3: How much generation was curtailed for congestion including GTCs during EEA3?
  Joint meeting with OWG
Spatial Granularity of Solar Production and Forecasts

## Slide 6: Questions?