## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
July , 2021

## Slide 2: TAC Emergency Conditions List Transmission Planning Studies and Winter Cases (#47, 93, 94)
History of Extreme Weather Event Analysis
  2016 Drought and Water Stress Conditions Impacting Synchronous Gen
  2020 Extreme Event associated with disruption of gas pipelines – limited information was available on common source failures.
Additional Information Needed
  To identify common mode failures
  To develop new Planning Criteria, as needed
  Definitions for Extreme Event Scenarios (load, resources, contingencies…)
  Determine how often to perform studies
    Part of LTSA
    Repeated study of a sequence of scenarios in RTP (i.e. one scenario per year)

## Slide 3: TAC Emergency Conditions List DC Tie Perfomance(#41, 106)
ERCOT referred PLWG to presentation to OWG
Key takeaways for planning
  DC Ties did not export during the event
  Imports across the DC ties were curtailed during event due to situation in other ISOs.
Insights for Planning Scenarios
  DC Ties may be set to zero flow for stressed cases.
  Extreme cold weather tends to move from north to south and west to east.
  Extreme Tropical Events (i.e. Hurricanes) move inland from Gulf then north and east.

## Slide 4: TAC Emergency Conditions List GTC Management (#29, 51)
ERCOT provided references to prior workshop presentations
  July 2020 – Use of GTCs in ERCOT
  August 2020 – FAQ
  May 2021 – RPG Presentation – Consideration of GTCs in Planning Studies
  May 2021 CMWG Presentations
  January 2021 Transmission Constraint Workshop
Planning Studies identify constraints that could lead to future GTCs
  Outages during operations are more numerous than modeled during planning assessments. GTCs commonly established for a stability limit associated with a contingency following the prior outage of a line.
  These events are more severe thus tend to allow for curtailments or load shedding in planning studies and so do not generate recommendations for transmission upgrades
  New Commission rules around economic assessments may provide guidance.

## Slide 5: NPRR 1070 – Planning Criteria for GTC Exit Solutions
Consensus to remain tabled at PLWG
Key issues
  Rule making at PUCT needed before analysis can move from production cost test.
  Current assumption that minimum point on production cost curve does not reflect costs if production tax credits are taken into account.
  Proposal to shift to analysis based on bidding behavior raises questions:
    Is past bidding behavior indicative of future behavior?
    Does ERCOT have the data needed to analyze past bidding behavior?
    Is a more robust probabilistic outage analysis in economic studies possible?

## Slide 6: PGRR 090 – Additional Flexibility for Updates to Seasonal Net Max Sustainable Ratings
PLWG recommends rejection of PGRR 090.
Proposes to allow existing generators to revise the net max summer rating more than 10 MW without going through the interconnection process provided the rating for other seasons was the same as or higher than the rating sought.
Concerns raised include:
  Market impact of generators able to “jump the cue” for interconnections.
  Planning assessments for the summer peak would not have taken additional generation into account.
  No one spoke in favor of approving the PGRR.

## Slide 7: RGRR 029 – Extension of Self-Limiting Facility to SOGs
PLWG recommends ROS vote to recommend approval.
Needed to Align the Resource Registration Glossary with PGRR 092 and NPRR 1077, NPRR 1002 and BESTF-5.

## Slide 8: Other Business
KTC 15-6 RMR and MRA Services for Battery Energy Storage
  Current protocols do not include BES for RMR and MRA designation.
  ERCOT provided the following input.
    This is a long-term task
    Today RMR and MRA services do not have duration requirements.
    Need to understand the effect of the discharging-charging-discharging cycle of battery technology to be able to set requirements.
    Can aggregate distributed resources having individual units with different shift factors be considered as a single resource?
    Recommended to PLWG to limit consideration to Batteries for now.

## Slide 9: Questions?

## Slide 10: TAC Emergency List Review
Item Number | Owner | Item Description | Priority
29 | ROS | Load Impact to GTCs: Determine the impact of load shed on generation curtailments for generation tied to a GTC. | Med
41 | ROS | DC Ties: Review performance of DC ties during the event and consideration of how this impacts planning assumptions and other policies related to DC ties. | Med
47 | ROS | Transmission Planning Studies: Review existing transmission planning study assumptions and processes and determine if any adjustments are needed to adequately prepare for future extreme weather events including changes in assumptions for demand, generation, dispatch, and system constraints. | High
49 | ROS | Energy Emergency Alert: Review EEA rules and assess if any changes are warranted. | Med
51 | ROS | Review GTC Management Process during EEA3: Analyze how much generation was curtailed behind GTCs during EEA3 and assess if changes are warranted around GTC management during emergency conditions. | Med
93 | ROS/WMS | Are adjustments to the load forecasting methodology, scenario analysis and trend analysis needed in light of this event? | High
94 | ROS/WMS | How should we revise extreme winter cases for planning assessments? | High
105 | ERCOT | How did SODG perform? | Med
106 | ROS/WMS | How did DC ties perform during the event? Are there any impacts to planning assumptions and other DC tie policies as a result of this event? | Info Requested from ERCOT

## Slide 11: TAC Emergency List Review
Item Number | Originating Entity | Item Description
 | Eric Easton (CNP) | Assessment of dynamic stability had the under frequency relays asserted during the winter storm event. Given the amount of non-under frequency load shed, the percentage of under frequency load in-service had increased. If the increased percentage of under frequency load had been shed would generation remain stable?
 | Eric Easton (CNP) | Review the use of dynamic load shed ratios which more closely align with the specific event and changes in load density by comparing the static load shed table to the dynamic (actual) load ratio shares during the winter event.
43 | ROS | Reliability Studies for Proposed Resource Retirements: Review existing reliability must run (RMR) and must-run alternative (MRA) study and processes and determine if any changes to study parameters are needed, including winter peak and planned and forced outage scenarios and generation resource dispatch. Consider extension of RMR process to units proposed for seasonal mothball.
92 | WMS | Should the Reliability Must Run (RMR) processes be extended to units proposed for seasonal mothball? Are the RMR and Must Run Alternative study and processes sufficient or are changes to study parameters, such as winter peak-, planned/forced outage-, or resource dispatch-scenarios, needed?
77 | WMS | Should there be a set reliability requirement?
Items reported at last meeting now assigned to other groups