## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
07/08/2021

## Slide 2: NOGRR215 – Limited Use of RAS
Tabled pending new comments from ERCOT

## Slide 3: NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification
Tabled

## Slide 4: NOGRR223 - Add Phasor Measurement Recording Equipment Requirement to Modified Generating Facilities in Interconnection Process.
ERCOT comments filed on 6/10/2021 were reviewed and discussed
Stakeholders are reviewing comments presented by ERCOT
Tabled

## Slide 5: NOGRR227 - Add Phasor Measurement Recording Equipment Location for Main Power Transformer for Intermittent Renewable Resource (IRR)
Consensus to endorse

## Slide 6: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
ERCOT gave a presentation on some of the impact of this change.
Nikita to present information to ROS

## Slide 7: Emergency Conditions List Review
The following Emergency Conditions List items were assigned on a voluntary basis for small group discussions. The results of these discussion will be presented at OWG for discussion.
Item # Assignments
4, 33 and 106 - Blake Gross
  4 - Load Shed Practices, 33 Load Shed Tables - PUC directives are expected to determine actions
  122 - Dynamic Load Shed - will require additional data analysis to determine if it is feasible to adjust load shed tables dynamically prior to or during event
5 - Outage Scheduler – Ian Haley – No update
6 - Resource Telemetry – Lori Simpson – No update

## Slide 8: Emergency Conditions List Review
41 and 106 - Performance of DC Ties – Chad Thompson
  It was determined that the DC Ties were available and functional during the event, but schedules were curtailed due to loss of generation on both sides of the ties.
  OWG completed the review of these items and determined no changes are needed
49 - Energy Emergency Alert Review
  David Detelich has volunteered to lead discussions on this item
51 - Review GTC Management During EEA
  Joint discussions with CMWG will continue
73 - Review PRC EEA Trigger and ORDC Min. Reserve Levels – No update