## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for June 2021

## Slide 2: Non-IRR GREDP < 85% – June 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 340 | 58 | 74 | 0.75 | 78.38
Unit 346 | 12 | 30 | 0.72 | 40.00
Unit 347 | 12 | 24 | 0.65 | 50.00
Unit 351 | 0 | 7 | 0.52 | 0.00
Unit 355 | 1 | 2 | 0.34 | 50.00

## Slide 3: IRR Summary – June 2021
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 84.40 | 68.92 | 81.99
GREDP Median (%) | 96.47 | 80.00 | 86.69
Average MW Error | 4.63 | 4.84 | 4.90
Median MW Error | 4.25 | 4.53 | 4.28
Total Intervals Scored | 32,535 | 20,423 | 19,684
100+ Intervals Scored | 76 | 201 | 48
Total Intervals Scored Average | 117.03 | 255.29 | 410.08

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 5 | 1,219 | 1,231 | 5.14 | 99.03
Unit 6 | 1,001 | 1,006 | 4.69 | 99.50
Unit 9 | 803 | 836 | 4.44 | 96.05
Unit 11 | 676 | 680 | 5.88 | 99.41
Unit 12 | 643 | 652 | 2.21 | 98.62
Unit 14 | 573 | 583 | 3.97 | 98.28
Unit 15 | 541 | 541 | 3.28 | 100.00
Unit 16 | 503 | 504 | 3.83 | 99.80
Unit 18 | 487 | 487 | 6.44 | 100.00
Unit 20 | 476 | 477 | 2.64 | 99.79
Unit 21 | 460 | 477 | 8.10 | 96.44
Unit 24 | 448 | 448 | 4.15 | 100.00
Unit 27 | 401 | 412 | 4.27 | 97.33
Unit 28 | 382 | 393 | 3.44 | 97.20
Unit 36 | 259 | 262 | 1.58 | 98.85
Unit 37 | 248 | 257 | 2.09 | 96.50
Unit 39 | 230 | 230 | 3.72 | 100.00
Unit 43 | 216 | 218 | 6.81 | 99.08

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 52 | 183 | 191 | 8.12 | 95.81
Unit 54 | 182 | 186 | 3.92 | 97.85
Unit 56 | 177 | 181 | 7.60 | 97.79
Unit 58 | 158 | 166 | 5.18 | 95.18
Unit 66 | 143 | 143 | 4.25 | 100.00
Unit 70 | 126 | 126 | 2.63 | 100.00
Unit 73 | 115 | 116 | 4.68 | 99.14
Unit 74 | 114 | 115 | 2.22 | 99.13
Unit 75 | 113 | 114 | 0.84 | 99.12

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – June 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,801 | 2,265 | 1.71 | 79.51
Unit 2 | 1,414 | 1,581 | 4.89 | 89.44
Unit 3 | 1,416 | 1,522 | 3.16 | 93.04
Unit 4 | 1,271 | 1,349 | 2.33 | 94.22
Unit 7 | 912 | 978 | 18.11 | 93.25
Unit 8 | 566 | 890 | 1.88 | 63.60
Unit 10 | 410 | 698 | 2.07 | 58.74
Unit 13 | 450 | 634 | 4.60 | 70.98
Unit 17 | 460 | 500 | 2.32 | 92.00
Unit 19 | 451 | 478 | 3.61 | 94.35
Unit 22 | 332 | 466 | 5.53 | 71.24
Unit 23 | 430 | 458 | 1.17 | 93.89
Unit 25 | 404 | 426 | 5.39 | 94.84
Unit 26 | 318 | 414 | 5.28 | 76.81
Unit 29 | 318 | 365 | 4.21 | 87.12
Unit 30 | 297 | 329 | 2.50 | 90.27
Unit 31 | 298 | 327 | 4.95 | 91.13
Unit 32 | 282 | 318 | 2.43 | 88.68

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – June 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,801 | 2,265 | 1.71 | 79.51
Unit 2 | 1,414 | 1,581 | 4.89 | 89.44
Unit 3 | 1,416 | 1,522 | 3.16 | 93.04
Unit 4 | 1,271 | 1,349 | 2.33 | 94.22
Unit 7 | 912 | 978 | 18.12 | 93.25
Unit 8 | 566 | 890 | 1.88 | 63.60
Unit 10 | 410 | 698 | 2.07 | 58.74
Unit 13 | 450 | 634 | 4.60 | 70.98
Unit 17 | 460 | 500 | 2.32 | 92.00
Unit 19 | 451 | 478 | 3.61 | 94.35
Unit 22 | 332 | 466 | 5.53 | 71.24
Unit 23 | 430 | 458 | 1.17 | 93.89
Unit 25 | 404 | 426 | 5.39 | 94.84
Unit 26 | 318 | 414 | 5.29 | 76.81
Unit 29 | 318 | 365 | 4.22 | 87.12
Unit 30 | 297 | 329 | 2.50 | 90.27
Unit 31 | 298 | 327 | 4.95 | 91.13
Unit 32 | 282 | 318 | 2.43 | 88.68

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – June 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 33 | 183 | 299 | 5.37 | 61.20
Unit 34 | 261 | 288 | 5.56 | 90.63
Unit 35 | 234 | 270 | 11.57 | 86.67
Unit 38 | 88 | 243 | 12.50 | 36.21
Unit 40 | 192 | 223 | 10.06 | 86.10
Unit 41 | 206 | 221 | 7.27 | 93.21
Unit 42 | 207 | 221 | 5.63 | 93.67
Unit 44 | 179 | 210 | 4.35 | 85.24
Unit 45 | 163 | 210 | 6.97 | 77.62
Unit 46 | 171 | 207 | 4.49 | 82.61
Unit 47 | 170 | 206 | 7.41 | 82.52
Unit 48 | 173 | 205 | 10.11 | 84.39
Unit 49 | 189 | 202 | 1.61 | 93.56
Unit 50 | 142 | 200 | 3.51 | 71.00
Unit 51 | 143 | 193 | 3.26 | 74.09
Unit 53 | 125 | 190 | 11.65 | 65.79
Unit 55 | 171 | 185 | 3.79 | 92.43
Unit 57 | 160 | 177 | 4.02 | 90.40

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – June 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 59 | 153 | 163 | 2.97 | 93.87
Unit 60 | 113 | 162 | 3.43 | 69.75
Unit 61 | 137 | 158 | 5.49 | 86.71
Unit 62 | 137 | 153 | 1.88 | 89.54
Unit 63 | 135 | 153 | 6.49 | 88.24
Unit 64 | 130 | 151 | 2.16 | 86.09
Unit 65 | 129 | 144 | 2.07 | 89.58
Unit 67 | 122 | 138 | 1.10 | 88.41
Unit 68 | 105 | 137 | 5.13 | 76.64
Unit 69 | 114 | 132 | 2.08 | 86.36
Unit 71 | 105 | 125 | 2.24 | 84.00
Unit 72 | 31 | 120 | 4.93 | 25.83
Unit 76 | 68 | 100 | 1.99 | 68.00