## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: Jimmy Jackson, CPS
ROS
July 08, 2021

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-2 FMEs & IMFR
    0 FME in the month of May
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 06/16/2021
  Review of Southern Cross Directive 9 White Paper (including NPRR1034)
  Review of emergency conditions list from ROS
  NOGRR226 discussion - Change UFLS Setting from 59.3 Hz to 59.4 Hz
  Generator Modeling Discussion - Updates from ERCOT/LCRA Discussions
  February cold weather event follow up discussion
  ERCOT reports

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There was 0 FME in May

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 471 MW/0.1 Hz
IMFR Performance currently 1016.54 MW/0.1Hz

## Slide 7: Frequency Control Report
May 2021

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections

## Slide 12: Total Energy from Wind Generation
Notes: 9,120,382 MWh

## Slide 13: % Energy from Wind Generation
Notes: 28.68%

## Slide 14: Total Energy From Solar Generation
Notes: 1,358,326 MWh

## Slide 15: % Energy from Solar Generation
Notes: 4.27%

## Slide 16
Questions?