7/8/ROS new items for review – PDCWG

- Review RRS increase to 2800MW

- Assess Impact of Ancillary Service changes over summer/report to TAC

- Analyze methodology for determining non-spin reqs and value provided in non-peak times

- Account for RRS HASL release in non-spin deployment

- How to define high/med/low variability?

From WMS/WMWG list (posted to 7/7 WMS page)

- Should NCLR be allowed to provide Non-Spin?

- Should higher RRS or ECRS be procured?

- Review the impact to cycling resource before it is really needed in peak summer